## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Mar_21
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | 0.02 | 0.03 | OFF | OFF | 0.02 | 0.03
2 | 0.02 | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
3 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
4 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
5 | OFF | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02
6 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
7 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02
8 | OFF | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02
9 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
10 | OFF | 0.05 | OFF | OFF | 0.02 | 0.02 | 0.05
11 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
12 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
13 | OFF | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02
14 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
15 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
16 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02
17 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
18 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
19 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
20 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
21 | 0.02 | 0.02 | 0.02 | OFF | 0.02 | 0.02 | 0.02
22 | 0.02 | OFF | 0.02 | 0.02 | 0 | 0.02 | 0.02
23 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02 | 0.02
24 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
25 | OFF | 0.02 | OFF | OFF | 0.05 | 0.02 | 0.05
26 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
27 | 0 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
28 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
29 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02
30 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
31 | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME: Ricardo R. Saavedra
[5 empty] | SIGNATURE: Ricardo R.Saavedra |  |  | DATE:04/06/2021
[5 empty] | PHONE #: (541) 336-2610 |  |  | CERT #:T-09181
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Mar_21 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 4:00 | 0.79 | 111 | 87.69 | 9.5 | 7.34 | 21.9269 | YES | 879
2 / 8:00 | 0.8 | 111 | 88.8 | 9.6 | 7.65 | 24.3307 | YES | 863
3 / 12:00 | 0.79 | 111 | 87.69 | 9.6 | 7.77 | 25.363 | YES | 869
4 / 16:00 | 0.79 | 111 | 87.69 | 9.5 | 7.69 | 24.8159 | YES | 878
5 / 4:00 | 0.8 | 111 | 88.8 | 9.2 | 7.79 | 26.2688 | YES | 864
6 / 16:00 | 0.82 | 111 | 91.02 | 9 | 7.63 | 25.203 | YES | 812
7 / 20:00 | 0.81 | 111 | 89.91 | 9.1 | 7.46 | 23.5419 | YES | 838
8 / 12:00 | 0.8 | 111 | 88.8 | 9.1 | 7.43 | 23.2669 | YES | 799
9 / 16:00 | 0.81 | 111 | 89.91 | 9 | 7.44 | 23.5316 | YES | 844
10 / 8:00 | 0.8 | 111 | 88.8 | 9 | 7.55 | 24.4398 | YES | 833
11 / 16:00 | 0.8 | 111 | 88.8 | 8.7 | 7.75 | 26.7799 | YES | 837
12 / 20:00 | 0.8 | 111 | 88.8 | 8.8 | 7.75 | 26.6005 | YES | 876
13 / 4:00 | 0.79 | 111 | 87.69 | 8.9 | 7.69 | 25.8321 | YES | 869
14 / 8:00 | 0.82 | 111 | 91.02 | 9 | 7.62 | 25.1133 | YES | 798
15 / 12:00 | 0.76 | 111 | 84.36 | 8.6 | 7.49 | 24.459 | YES | 804
16 / 12:00 | 0.77 | 111 | 85.47 | 8.5 | 7.44 | 24.2168 | YES | 809
17 / 8:00 | 0.78 | 111 | 86.58 | 8.5 | 7.51 | 24.8552 | YES | 807
18 / 8:00 | 0.76 | 111 | 84.36 | 8.7 | 7.54 | 24.7321 | YES | 860
19 / 20:00 | 0.83 | 111 | 92.13 | 8.5 | 7.38 | 23.8695 | YES | 856
20 / 20:00 | 0.82 | 111 | 91.02 | 8.6 | 7.33 | 23.269 | YES | 863
21 / 20:00 | 0.8 | 111 | 88.8 | 8.6 | 7.45 | 24.2243 | YES | 832
22 / 4:00 | 0.77 | 111 | 85.47 | 8.5 | 7.47 | 24.4762 | YES | 795
23 / 16:00 | 0.75 | 111 | 83.25 | 8.5 | 7.36 | 23.4862 | YES | 806
24 / 8:00 | 0.73 | 111 | 81.03 | 8.8 | 7.36 | 22.9712 | YES | 804
25 / 16:00 | 0.73 | 111 | 81.03 | 8.6 | 7.35 | 23.1957 | YES | 800
26 / 8:00 | 0.73 | 111 | 81.03 | 8.6 | 7.36 | 23.2779 | YES | 839
27 / 8:00 | 0.74 | 111 | 82.14 | 8.6 | 7.31 | 22.8962 | YES | 863
28 / 8:00 | 0.78 | 111 | 86.58 | 9 | 7.25 | 21.9316 | YES | 880
29 / 16:00 | 0.79 | 111 | 87.69 | 8.9 | 7.21 | 21.7932 | YES | 833
30 / 20:00 | 0.8 | 111 | 88.8 | 8.8 | 7.34 | 22.9914 | YES | 839
31 / 8:00 | 0.79 | 111 | 87.69 | 8.9 | 7.3 | 22.4942 | YES | 795
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Mar | 999.99 | 0.034387 | 0.045281 | 999.99 | 999.99 | 0.032738 | 8 | 0 | 0.045281 | 999.99 | 0.78973 | 0.79892 | 999.99 | 999.99 | 0.79497 | 4 | 0.78973 | 0.79
2 | Mar | 0.03001 | 999.99 | 0.047048 | 999.99 | 999.99 | 0.030461 | 8 | 0 | 0.087759 | 0.8104 | 999.99 | 0.79568 | 999.99 | 999.99 | 0.79715 | 8 | 0.79568 | 0.8
3 | Mar | 999.99 | 999.99 | 999.99 | 0.03213 | 0.029499 | 0.031502 | 16 | 0 | 0.032562 | 999.99 | 999.99 | 999.99 | 0.78749 | 0.79356 | 0.79956 | 12 | 0.78749 | 0.79
4 | Mar | 999.99 | 999.99 | 0.032895 | 999.99 | 0.033386 | 0.030677 | 16 | 0 | 0.034289 | 999.99 | 999.99 | 0.78749 | 999.99 | 0.78678 | 0.81429 | 16 | 0.78678 | 0.79
5 | Mar | 999.99 | 0.034466 | 999.99 | 0.031816 | 999.99 | 0.034485 | 12 | 0 | 0.035133 | 999.99 | 0.79721 | 999.99 | 0.80804 | 999.99 | 0.80745 | 4 | 0.79721 | 0.8
6 | Mar | 0.035997 | 999.99 | 0.03796 | 0.047421 | 0.032228 | 0.033877 | 12 | 0 | 0.047597 | 0.83101 | 999.99 | 0.82842 | 0.8243 | 0.82877 | 0.8429 | 16 | 0.82 | 0.82
7 | Mar | 999.99 | 0.035094 | 999.99 | 0.037606 | 0.036507 | 0.032895 | 12 | 0 | 0.037606 | 999.99 | 0.83201 | 999.99 | 0.81558 | 0.81487 | 0.81246 | 20 | 0.81246 | 0.81
8 | Mar | 999.99 | 0.035231 | 999.99 | 0.034328 | 999.99 | 0.038234 | 20 | 0 | 0.040433 | 999.99 | 0.8021 | 999.99 | 0.79574 | 999.99 | 0.80422 | 12 | 0.79574 | 0.8
9 | Mar | 0.037194 | 999.99 | 0.037704 | 999.99 | 0.036016 | 0.040001 | 20 | 0 | 0.04218 | 0.81464 | 999.99 | 0.81805 | 999.99 | 0.80887 | 0.81817 | 16 | 0.80887 | 0.81
10 | Mar | 999.99 | 0.073822 | 0.053486 | 999.99 | 0.044457 | 0.037253 | 4 | 0 | 0.073822 | 999.99 | 0.80622 | 0.8031 | 999.99 | 0.8071 | 0.81964 | 8 | 0.8031 | 0.8
11 | Mar | 0.038254 | 999.99 | 0.039432 | 999.99 | 0.038254 | 0.038372 | 20 | 0 | 0.044575 | 0.82689 | 999.99 | 0.81882 | 999.99 | 0.80062 | 0.81075 | 16 | 0.80062 | 0.8
12 | Mar | 0.040904 | 999.99 | 0.039019 | 999.99 | 0.038215 | 0.041689 | 20 | 0 | 0.041787 | 0.82129 | 999.99 | 0.81046 | 999.99 | 0.79344 | 0.7925 | 20 | 0.7925 | 0.79
13 | Mar | 999.99 | 0.041748 | 999.99 | 0.038431 | 999.99 | 0.042219 | 20 | 0 | 0.042553 | 999.99 | 0.7849 | 999.99 | 0.79014 | 999.99 | 0.79609 | 4 | 0.7849 | 0.78
14 | Mar | 0.040943 | 999.99 | 0.043829 | 0.040708 | 999.99 | 0.041964 | 0 | 0 | 0.045105 | 0.81505 | 999.99 | 0.8074 | 0.81635 | 999.99 | 0.81552 | 8 | 0.8074 | 0.81
15 | Mar | 0.040354 | 999.99 | 999.99 | 0.039196 | 0.041532 | 999.99 | 0 | 0 | 0.043142 | 0.81888 | 999.99 | 999.99 | 0.78908 | 0.77041 | 999.99 | 12 | 0.76 | 0.76
16 | Mar | 0.038725 | 999.99 | 999.99 | 0.038784 | 999.99 | 0.043475 | 20 | 0 | 0.04375 | 0.76511 | 999.99 | 999.99 | 0.76506 | 999.99 | 0.78531 | 12 | 0.76506 | 0.77
17 | Mar | 0.041453 | 999.99 | 0.044889 | 999.99 | 0.044398 | 0.051111 | 20 | 0 | 0.051778 | 0.79197 | 999.99 | 0.78284 | 999.99 | 0.79385 | 0.79933 | 8 | 0.78284 | 0.78
18 | Mar | 0.049011 | 999.99 | 0.057333 | 0.044771 | 999.99 | 0.044535 | 8 | 0 | 0.060494 | 0.8137 | 999.99 | 0.77277 | 0.84073 | 999.99 | 0.83737 | 8 | 0.77277 | 0.77
19 | Mar | 0.043024 | 999.99 | 0.047597 | 999.99 | 0.045595 | 0.046714 | 8 | 0 | 0.047597 | 0.84538 | 999.99 | 0.83342 | 999.99 | 0.83119 | 0.83225 | 20 | 0.83119 | 0.83
20 | Mar | 999.99 | 0.050031 | 999.99 | 0.048049 | 0.046459 | 0.047833 | 4 | 0 | 0.050031 | 999.99 | 0.82441 | 999.99 | 0.82288 | 0.8286 | 0.8197 | 20 | 0.8197 | 0.82
21 | Mar | 0.045517 | 999.99 | 0.045497 | 999.99 | 0.050247 | 0.051759 | 20 | 0 | 0.052897 | 0.83107 | 999.99 | 0.81935 | 999.99 | 0.81134 | 0.79974 | 20 | 0.79974 | 0.8
22 | Mar | 999.99 | 0.064027 | 999.99 | 0.050718 | 0.049207 | 0.053152 | 4 | 0 | 0.065244 | 999.99 | 0.7746 | 999.99 | 0.78673 | 0.78755 | 0.79067 | 4 | 0.7746 | 0.77
23 | Mar | 999.99 | 0.049658 | 0.04801 | 999.99 | 0.048402 | 0.055665 | 20 | 0 | 0.056843 | 999.99 | 0.77024 | 0.764 | 999.99 | 0.74539 | 0.75952 | 16 | 0.74539 | 0.75
24 | Mar | 0.049541 | 999.99 | 0.050542 | 999.99 | 0.048088 | 0.048383 | 16 | 0 | 0.052426 | 0.74633 | 999.99 | 0.72884 | 999.99 | 0.73991 | 0.76052 | 8 | 0.72884 | 0.73
25 | Mar | 999.99 | 0.048579 | 999.99 | 999.99 | 0.071702 | 0.050601 | 16 | 0 | 0.075059 | 999.99 | 0.75022 | 999.99 | 999.99 | 0.7309 | 0.74026 | 16 | 0.7309 | 0.73
26 | Mar | 0.052603 | 999.99 | 0.05488 | 0.049678 | 0.0517 | 0.052132 | 0 | 0 | 0.056156 | 0.7372 | 999.99 | 0.72943 | 0.74403 | 0.7498 | 0.74362 | 8 | 0.72943 | 0.73
27 | Mar | 0.048481 | 999.99 | 0.048441 | 999.99 | 0.051366 | 0.04797 | 0 | 0 | 0.052073 | 0.75463 | 999.99 | 0.74456 | 999.99 | 0.74974 | 0.77901 | 8 | 0.74456 | 0.74
28 | Mar | 0.052544 | 999.99 | 0.053525 | 999.99 | 0.048324 | 0.052387 | 8 | 0 | 0.054526 | 0.78708 | 999.99 | 0.78355 | 999.99 | 0.79085 | 0.80186 | 8 | 0.78355 | 0.78
29 | Mar | 999.99 | 0.058629 | 999.99 | 0.054841 | 0.054762 | 0.050031 | 4 | 0 | 0.058629 | 999.99 | 0.79532 | 999.99 | 0.80139 | 0.79526 | 0.81458 | 16 | 0.79526 | 0.8
30 | Mar | 0.049992 | 999.99 | 0.05172 | 0.054703 | 999.99 | 0.052995 | 12 | 0 | 0.055017 | 0.80751 | 999.99 | 0.79786 | 0.80592 | 999.99 | 0.79503 | 20 | 0.79503 | 0.8
31 | Mar | 0.0538 | 999.99 | 0.050365 | 999.99 | 0.053859 | 0.053467 | 16 | 0 | 0.053918 | 0.80027 | 999.99 | 0.78955 | 999.99 | 0.79574 | 0.80363 | 8 | 0.78955 | 0.79