## Sheet1
OR41 PWS ID: 00225 ---- CORVALLIS, CITY OF Cyanotoxin Sample Results
Raw Water Facilities*: | Finished Water Facilities*: | Exceedances only
SRC-AA |  | (entry point and distribution)
CH-A
*Only facilities with cyanotoxin data are listed.
Cyanotoxin Sampling Schedules
No open cyantoxin sampling
schedules found.
See purchasers/sellers for this system
Health Advisory Levels (for entry points and distribution)
Total Microcystins: 0.3 ug/L for vulnerable people; 1.6 ug/L for people aged 6 and older.
Cylindrospermopsin: 0.7 ug/L for vulnerable people; 3 ug/L for people aged 6 and older.
Health advisory level exceedances in entry point and distribution samples are indicated with red text.
ND = Not detected at the minimum reporting level; -- = Not sampled | [6 empty] | 8 results found for selected criteria.
|  |  | Facility ID | Facility Name | Raw Water |  | Entry Points and Distribution
SampleID | SampleDate | ReceivedDate |  |  | Total Microcystins | Cylindrospermopsin | Total Microcystins | Cylindrospermopsin
[5 empty] | (ug/L) | (ug/L) | (ug/L) | (ug/L)
1810287-02 | 10/22/2018 | 12/31/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1810120-02 | 10/08/2018 | 10/12/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1809266-02 | 09/24/2018 | 09/28/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1809100-02 | 09/10/2018 | 09/18/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1808291-02 | 08/27/2018 | 08/31/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1808138-01 | 08/13/2018 | 08/24/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1807253-01 | 08/01/2018 | 08/24/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1807108-01 | 07/18/2018 | 08/24/2018 | SRC-AA | WILLAMETTE RIVER | ND | ND