## Sheet1
OR41 PWS ID: 00837 ---- SPRINGFIELD UTILITY BOARD Cyanotoxin Sample Results
Raw Water Facilities*: | Finished Water Facilities*: | Exceedances only
SRC-BB |  | (entry point and distribution)
CH-A
*Only facilities with cyanotoxin data are listed.
Cyanotoxin Sampling Schedules
SRC-BB - 2 Weeks
CH-A - 2 Weeks
Go to schedule page
See purchasers/sellers for this system
Health Advisory Levels (for entry points and distribution)
Total Microcystins: 0.3 ug/L for vulnerable people; 1.6 ug/L for people aged 6 and older.
Cylindrospermopsin: 0.7 ug/L for vulnerable people; 3 ug/L for people aged 6 and older.
Health advisory level exceedances in entry point and distribution samples are indicated with red text.
ND = Not detected at the minimum reporting level; -- = Not sampled | [6 empty] | 185 results found for selected criteria.
|  |  | Facility ID | Facility Name | Raw Water |  | Entry Points and Distribution
SampleID | SampleDate | ReceivedDate |  |  | Total Microcystins | Cylindrospermopsin | Total Microcystins | Cylindrospermopsin
[5 empty] | (ug/L) | (ug/L) | (ug/L) | (ug/L)
2505161-02 | 05/19/2025 | 05/23/2025 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2505161-01 | 05/19/2025 | 05/23/2025 | SRC-BB | THURSTON WELL #2 | ND | ND
2505035-02 | 05/05/2025 | 05/09/2025 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2505035-01 | 05/05/2025 | 05/09/2025 | SRC-BB | THURSTON WELL #2 | ND | ND
2410184-02 | 10/21/2024 | 10/29/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2410184-01 | 10/21/2024 | 10/29/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2410058-02 | 10/07/2024 | 10/10/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2410058-01 | 10/07/2024 | 10/10/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2409230-02 | 09/23/2024 | 09/27/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2409230-01 | 09/23/2024 | 09/27/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2409089-02 | 09/09/2024 | 09/13/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2409089-01 | 09/09/2024 | 09/13/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2408258-02 | 08/26/2024 | 08/30/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2408258-01 | 08/26/2024 | 08/30/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2408121-02 | 08/12/2024 | 08/16/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2408121-01 | 08/12/2024 | 08/16/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2407309-02 | 07/29/2024 | 08/02/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2407309-01 | 07/29/2024 | 08/02/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2407153-02 | 07/15/2024 | 07/19/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2407153-01 | 07/15/2024 | 07/19/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2407026-02 | 07/01/2024 | 07/09/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2407026-01 | 07/01/2024 | 07/09/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2406163-02 | 06/17/2024 | 06/24/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2406163-01 | 06/17/2024 | 06/24/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2406026-02 | 06/03/2024 | 06/05/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2406026-01 | 06/03/2024 | 06/05/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2405166-02 | 05/20/2024 | 05/24/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2405166-01 | 05/20/2024 | 05/24/2024 | SRC-BB | THURSTON WELL #2 | ND | ND
2405046-02 | 05/06/2024 | 05/10/2024 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2310292-02 | 10/30/2023 | 11/03/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2310292-01 | 10/30/2023 | 11/03/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2310168-02 | 10/16/2023 | 10/20/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2310168-01 | 10/16/2023 | 10/20/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2310026-02 | 10/02/2023 | 10/06/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2310026-01 | 10/02/2023 | 10/06/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2309162-02 | 09/18/2023 | 09/22/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2309162-01 | 09/18/2023 | 09/22/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2309037-02 | 09/05/2023 | 09/11/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2309037-01 | 09/05/2023 | 09/11/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2308158-02 | 08/21/2023 | 08/24/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2308158-01 | 08/21/2023 | 08/24/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2308054-02 | 08/07/2023 | 08/11/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2308054-01 | 08/07/2023 | 08/11/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2307185-02 | 07/24/2023 | 07/31/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2307185-01 | 07/24/2023 | 07/31/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2307069-02 | 07/10/2023 | 07/13/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2307069-01 | 07/10/2023 | 07/13/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2306226-02 | 06/26/2023 | 06/29/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2306226-01 | 06/26/2023 | 06/29/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2306116-02 | 06/12/2023 | 06/16/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2306116-01 | 06/12/2023 | 06/16/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2305265-02 | 05/30/2023 | 06/02/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2305265-01 | 05/30/2023 | 06/02/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2305149-02 | 05/15/2023 | 05/19/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2305149-01 | 05/15/2023 | 05/19/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2305022-02 | 05/01/2023 | 05/08/2023 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2305022-01 | 05/01/2023 | 05/08/2023 | SRC-BB | THURSTON WELL #2 | ND | ND
2210308-02 | 10/31/2022 | 11/04/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2210308-01 | 10/31/2022 | 11/04/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2210201-02 | 10/17/2022 | 10/20/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2210201-01 | 10/17/2022 | 10/20/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2210023-02 | 10/03/2022 | 10/06/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2210023-01 | 10/03/2022 | 10/06/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2209186-02RE1 | 09/19/2022 | 09/26/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | --
2209186-02 | 09/19/2022 | 09/26/2022 | CH-A | COMMON HEADER FOR WTP-A | -- | ND
2209186-01 | 09/19/2022 | 09/26/2022 | SRC-BB | THURSTON WELL #2 | -- | ND
2209186-01RE1 | 09/19/2022 | 09/26/2022 | SRC-BB | THURSTON WELL #2 | ND | --
2209039-02 | 09/06/2022 | 09/09/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2209039-01 | 09/06/2022 | 09/09/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2208218-02 | 08/22/2022 | 08/26/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2208218-01 | 08/22/2022 | 08/26/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2208077-02 | 08/08/2022 | 08/15/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2208077-01 | 08/08/2022 | 08/15/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2207207-02 | 07/25/2022 | 08/01/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2207207-01 | 07/25/2022 | 08/01/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2207077-02 | 07/11/2022 | 07/14/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2207077-01 | 07/11/2022 | 07/14/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2206259-02 | 06/27/2022 | 07/01/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2206259-01 | 06/27/2022 | 07/01/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2206128-02 | 06/13/2022 | 06/16/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2206128-01 | 06/13/2022 | 06/16/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2205277-02 | 05/31/2022 | 06/02/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2205277-01 | 05/31/2022 | 06/02/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2205157-02 | 05/16/2022 | 05/20/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2205157-01 | 05/16/2022 | 05/20/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2205026-02 | 05/02/2022 | 05/06/2022 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2205026-01 | 05/02/2022 | 05/06/2022 | SRC-BB | THURSTON WELL #2 | ND | ND
2110226-02 | 10/18/2021 | 10/22/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2110226-01 | 10/18/2021 | 10/22/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2110045-02 | 10/04/2021 | 10/11/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2110045-01 | 10/04/2021 | 10/11/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2109222-02 | 09/20/2021 | 09/24/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2109222-01 | 09/20/2021 | 09/24/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2109069-02 | 09/07/2021 | 09/15/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2109069-01 | 09/07/2021 | 09/15/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2108256-02 | 08/23/2021 | 08/27/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2108256-01 | 08/23/2021 | 08/27/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2108122-02 | 08/09/2021 | 08/13/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2108122-01 | 08/09/2021 | 08/13/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2107267-02 | 07/26/2021 | 07/30/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2107267-01 | 07/26/2021 | 07/30/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2107134-02 | 07/12/2021 | 07/16/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2107134-01 | 07/12/2021 | 07/16/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2106325-02 | 06/28/2021 | 07/01/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2106325-01 | 06/28/2021 | 07/01/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2106181-02 | 06/14/2021 | 06/18/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2106181-01 | 06/14/2021 | 06/18/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2106028-02 | 06/01/2021 | 06/04/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2106028-01 | 06/01/2021 | 06/04/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2105185-02 | 05/17/2021 | 05/21/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2105185-01 | 05/17/2021 | 05/21/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2105040-02 | 05/03/2021 | 05/07/2021 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2105040-01 | 05/03/2021 | 05/07/2021 | SRC-BB | THURSTON WELL #2 | ND | ND
2010217-02 | 10/19/2020 | 10/23/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2010217-01 | 10/19/2020 | 10/23/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2010162-01 | 10/12/2020 | 10/16/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2010045-02 | 10/05/2020 | 10/09/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2009233-02 | 09/21/2020 | 09/25/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2009233-01 | 09/21/2020 | 09/25/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2009090-02RE1 | 09/08/2020 | 09/11/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | --
2009090-02 | 09/08/2020 | 09/11/2020 | CH-A | COMMON HEADER FOR WTP-A | -- | ND
2009090-01 | 09/08/2020 | 09/11/2020 | SRC-BB | THURSTON WELL #2 | -- | ND
2009090-01RE1 | 09/08/2020 | 09/11/2020 | SRC-BB | THURSTON WELL #2 | ND | --
2008305-02 | 08/24/2020 | 08/28/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2008305-01 | 08/24/2020 | 08/28/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2008147-02 | 08/10/2020 | 08/14/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2008147-01 | 08/10/2020 | 08/14/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2007338-02 | 07/27/2020 | 07/31/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2007338-01 | 07/27/2020 | 07/31/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2007148-02 | 07/13/2020 | 07/17/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2007148-01 | 07/13/2020 | 07/17/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2006382-02 | 06/29/2020 | 07/02/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2006382-01 | 06/29/2020 | 07/02/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2006217-02 | 06/15/2020 | 06/19/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2006217-01 | 06/15/2020 | 06/19/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2006044-02 | 06/01/2020 | 06/25/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2006044-01 | 06/01/2020 | 06/25/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2005139-02 | 05/18/2020 | 05/22/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2005139-01 | 05/18/2020 | 05/22/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
2005036-02 | 05/04/2020 | 05/08/2020 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
2005036-01 | 05/04/2020 | 05/08/2020 | SRC-BB | THURSTON WELL #2 | ND | ND
1910195-02 | 10/21/2019 | 10/25/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | --
1910195-02RE1 | 10/21/2019 | 10/25/2019 | CH-A | COMMON HEADER FOR WTP-A | -- | ND
1910195-01 | 10/21/2019 | 10/25/2019 | SRC-BB | THURSTON WELL #2 | ND | --
1910195-01RE1 | 10/21/2019 | 10/25/2019 | SRC-BB | THURSTON WELL #2 | -- | ND
1910083-02 | 10/07/2019 | 10/11/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1910083-01 | 10/07/2019 | 10/11/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1909207-02 | 09/23/2019 | 09/30/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1909207-01 | 09/23/2019 | 09/30/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1909079-02 | 09/09/2019 | 09/13/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1909079-01 | 09/09/2019 | 09/13/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1908219-02 | 08/26/2019 | 08/30/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1908219-01 | 08/26/2019 | 08/30/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1908104-01 | 08/12/2019 | 08/16/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1908104-02 | 08/12/2019 | 08/16/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1907316-01 | 07/29/2019 | 08/02/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1907316-02 | 07/29/2019 | 08/02/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1907157-02 | 07/15/2019 | 07/19/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1907157-01 | 07/15/2019 | 07/19/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1907030-02 | 07/01/2019 | 07/08/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1907030-01 | 07/01/2019 | 07/08/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1906165-02 | 06/17/2019 | 06/20/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1906165-01 | 06/17/2019 | 06/20/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1906026-02 | 06/03/2019 | 06/07/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1906026-01 | 06/03/2019 | 06/07/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1905160-02 | 05/20/2019 | 05/28/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1905160-01 | 05/20/2019 | 05/28/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1905035-02 | 05/06/2019 | 05/10/2019 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1905035-01 | 05/06/2019 | 05/10/2019 | SRC-BB | THURSTON WELL #2 | ND | ND
1810279-02 | 10/22/2018 | 10/26/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1810279-01 | 10/22/2018 | 10/26/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1810112-02 | 10/08/2018 | 10/12/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1810112-01 | 10/08/2018 | 10/12/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1809259-02 | 09/24/2018 | 09/28/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1809259-01 | 09/24/2018 | 09/28/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1809093-02 | 09/10/2018 | 09/18/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1809093-01 | 09/10/2018 | 09/18/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1808283-02 | 08/27/2018 | 08/31/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1808283-01 | 08/27/2018 | 08/31/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1808130-01 | 08/13/2018 | 08/24/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1808130-02 | 08/13/2018 | 08/24/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1807245-02 | 07/30/2018 | 08/24/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1807245-01 | 07/30/2018 | 08/24/2018 | SRC-BB | THURSTON WELL #2 | ND | ND
1807060-01 | 07/16/2018 | 08/24/2018 | CH-A | COMMON HEADER FOR WTP-A | ND | ND
1807060-02 | 07/16/2018 | 08/24/2018 | SRC-BB | THURSTON WELL #2 | ND | ND