Water Quality Parameter Monitoring Form

# Lead & Copper Rule Corrosion Control

| Day | pH | Alk | Phos | Other |  | Y/N |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 7.96 |  |  |  |  | Y |
| 2 | 8.04 |  |  |  |  | Y |
| 3 | 8.14 |  |  |  |  | Y |
| 4 | 8.01 | 40 |  |  |  | Y |
| 5 | 8.04 |  |  |  |  | Y |
| 6 | 8.24 |  |  |  |  | Y |
| 7 | 8.04 |  |  |  |  | Y |
| 8 | 8.13 |  |  |  |  | Y |
| 9 | 8.06 |  |  |  |  | Y |
| 10 | 8.03 |  |  |  |  | Y |
| 11 | 8.04 |  |  |  |  | Y |
| 12 | 8.06 |  |  |  |  | Y |
| 13 | 8.08 |  |  |  |  | Y |
| 14 | 8.05 |  |  |  |  | Y |
| 15 | 8.15 | 45 |  |  |  | Y |
| 16 | 8.13 |  |  |  |  | Y |
| 17 | 8.08 |  |  |  |  | Y |
| 18 | 7.94 |  |  |  |  | Y |
| 19 | 7.87 |  |  |  |  | Y |
| 20 | 7.77 |  |  |  |  | Y |
| 21 | 7.67 |  |  |  |  | Y |
| 22 | 7.83 |  |  |  |  | Y |
| 23 | 7.86 |  |  |  |  | Y |
| 24 | 7.81 |  |  |  |  | Y |
| 25 | 7.83 |  |  |  |  | Y |
| 26 | 8.04 |  |  |  |  | Y |
| 27 | 7.70 |  |  |  |  | Y |
| 28 | 7.87 |  |  |  |  | Y |
| 29 | 7.91 | 40 |  |  |  | Y |
| 30 | 7.81 |  |  |  |  | Y |
| 31 |  |  |  |  |  |  |
|  |  |  |  |  |  | 0 |

<<Have minimums been met for this day?

ENTRY POINT

| 0 | 0 | 0 | 6 | 3 |
| --- | --- | --- | --- | --- |

PWS ID: 41

System Name:  Wickiup Water District		 Entry Point: B		 Sample Period: September / 2025

Month/Year

Number of excursions* during this month: 0	 (Count the number of days when any WQP was less than the minimum required)

For OHA use only

Minimum Water Quality Parameters as set by

pH

Alk	(Alkalinity)

PO4	(Orthophosphate)

Other	(	)

Total excursions during the previous 5 months: 0	 (Over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative )

7.2

30.0

(No = N = Excursion)

Total N's

# Print Name:  Eric Bufkin	  Signature: 	 Date:   10/09/2025

Send to DWP within 10 days after end of sampling period

OHA Drinking Water Program, PO Box 14350, Portland, OR 97293-0350 Phone (971) 673-0405	Website: http://healthoregon.org/dwp/