Water Quality Parameter Monitoring Form

# Lead & Copper Rule Corrosion Control

| Day | pH | Alk | Phos | Other |  | Y/N |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 7.81 |  |  |  |  | Y |
| 2 | 7.83 |  |  |  |  | Y |
| 3 | 7.85 |  |  |  |  | Y |
| 4 | 7.77 |  |  |  |  | Y |
| 5 | 7.81 |  |  |  |  | Y |
| 6 | 7.88 | 40.0 |  |  |  | Y |
| 7 | 7.98 |  |  |  |  | Y |
| 8 | 8.01 |  |  |  |  | Y |
| 9 | 7.83 |  |  |  |  | Y |
| 10 | 7.82 |  |  |  |  | Y |
| 11 | 7.75 |  |  |  |  | Y |
| 12 | 8.12 |  |  |  |  | Y |
| 13 | 8.27 |  |  |  |  | Y |
| 14 | 8.12 |  |  |  |  | Y |
| 15 | 8.14 |  |  |  |  | Y |
| 16 | 8.03 |  |  |  |  | Y |
| 17 | 8.07 |  |  |  |  | Y |
| 18 | 8.10 |  |  |  |  | Y |
| 19 | 8.03 | 40.0 |  |  |  | Y |
| 20 | 7.92 |  |  |  |  | Y |
| 21 | 7.94 |  |  |  |  | Y |
| 22 | 7.97 |  |  |  |  | Y |
| 23 | 7.91 |  |  |  |  | Y |
| 24 | 7.64 |  |  |  |  | Y |
| 25 | 7.74 |  |  |  |  | Y |
| 26 | 7.65 |  |  |  |  | Y |
| 27 | 7.74 |  |  |  |  | Y |
| 28 | 7.70 | 35.0 |  |  |  | Y |
| 29 | 7.71 |  |  |  |  | Y |
| 30 | 7.71 |  |  |  |  | Y |
| 31 | 7.73 |  |  |  |  | Y |
|  |  |  |  |  |  | 0 |

<<Have minimums been met for this day?

ENTRY POINT

| 0 | 0 | 0 | 6 | 3 |
| --- | --- | --- | --- | --- |

PWS ID: 41

System Name:  Wickiup Water District		 Entry Point: B		 Sample Period: January / 2026

Month/Year

Number of excursions* during this month: 0	 (Count the number of days when any WQP was less than the minimum required)

Total excursions during the previous 5 months: 0	 (Over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative )

For OHA use only

Minimum Water Quality Parameters as set by

pH

Alk	(Alkalinity)

PO4	(Orthophosphate)

Other	(	)

7.2

30.0

(No = N = Excursion)

Total N's

# Print Name:  Eric Bufkin	  Signature: 	 Date:   2/10/2026

Send to DWP within 10 days after end of sampling period

OHA Drinking Water Program, PO Box 14350, Portland, OR 97293-0350 Phone (971) 673-0405	Website: http://healthoregon.org/dwp/