Water Quality Parameter Monitoring Form

Lead & Copper Rule Corrosion Control

<<Have minimums been met for this day?

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Day** | **pH** | **Alk** | **Phos** | **Other** | | **Y/N** |
| 1 |  |  |  |  | |  |
| 2 |  |  |  |  | |  |
| 3 |  |  |  |  | |  |
| 4 |  |  |  |  | |  |
| 5 | 7.7 |  |  |  | | Y |
| 6 |  |  |  |  | |  |
| 7 |  |  |  |  | |  |
| 8 |  |  |  |  | |  |
| 9 |  |  |  |  | |  |
| 10 |  |  |  |  | |  |
| 11 |  |  |  |  | |  |
| 12 | 7.7 |  |  |  | | Y |
| 13 |  |  |  |  | |  |
| 14 |  |  |  |  | |  |
| 15 |  |  |  |  | |  |
| 16 |  |  |  |  | |  |
| 17 |  |  |  |  | |  |
| 18 |  |  |  |  | |  |
| 19 | 7.5 |  |  |  | | Y |
| 20 |  |  |  |  | |  |
| 21 |  |  |  |  | |  |
| 22 |  |  |  |  | |  |
| 23 |  |  |  |  | |  |
| 24 |  |  |  |  | |  |
| 25 |  |  |  |  | |  |
| 26 | 7.5 |  |  |  | | Y |
| 27 |  |  |  |  | |  |
| 28 |  |  |  |  | |  |
| 29 |  |  |  |  | |  |
| 30 |  |  |  |  | |  |
| 31 |  |  |  |  | |  |
|  | | | | |  | 0 |

**ENTRY POINT**

# PWS ID: 41

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 0 | 0 | 3 | 1 | 1 |

**System Name: Garibaldi Entry Point: 1st hydrant before 1st residence Sample Period: May 2025**

*Month/Year*

**Number of excursions\* during this month:** *(Count the number of days when any WQP was less than the minimum required)*

**Total excursions during the previous 5 months:** *(Over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative)*

*For OHA use only*

**Minimum Water Quality Parameters as set by**

pH

Alk *(Alkalinity)*

PO4 *(Orthophosphate)*

Other *( )*

|  |
| --- |
| 7.1 |
|  |
|  |
|  |



(No = N = Excursion)

**Total N's**

# Print Name: Nick Theoharis Signature: Date: 6/2/25

Send to DWP within 10 days after end of sampling period

OHA Drinking Water Program, PO Box 14350, Portland, OR 97293-0350 Phone (971) 673-0405 Website: <http://healthoregon.org/dwp/>