## Entry Point Lead & Copper Rule
Water Quality Parameter Monitoring Form
Lead & Copper Rule Corrosion Control
Day | pH | Alk | Phos | Sili | Y/N | << Have minimums been met for this day? |  | ENTRY POINT
1 | 7.3 |  |  |  | yes |  |  | PWS ID: | 4 | 1 | 0 | 0 | 5 | 0 | 7
2 | 7.3 |  |  |  | yes
3 | 7.3 |  |  |  | yes |  | System Name: |  |  | Mapleton Water District
4 | 7.3 |  |  |  | yes |  | Entry Point: |  |  |  | WTP-A
5 | 7.7 |  |  |  | yes |  | Sample Period: |  | 2025-04-01
6 | 7.7 |  |  |  | yes | [5 empty] | Month / Year
7 | 7.5 |  |  |  | yes
8 | 7.5 |  |  |  | yes | [10 empty] | Number of excursions* during this month: | 0
9 | 7.5 |  |  |  | yes |  | (Count the number of days when any WQP was less then the
10 | 7.5 |  |  |  | yes |  | minimum required)
11 | 7.7 |  |  |  | yes
12 | 7.5 |  |  |  | yes
13 | 7.5 |  |  |  | yes | [10 empty] | Total excursions during the previous 5 months: | 0
14 | 7.4 |  |  |  | yes |  | (Over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative)
15 | 7.5 |  |  |  | yes
16 | 7.6 |  |  |  | yes
17 | 7.5 |  |  |  | yes |  |  |  | For DHS use only
18 | 7.5 |  |  |  | yes
19 | 7.6 |  |  |  | yes |  |  |  |  | Minimum Water Quality
20 | 7.5 |  |  |  | yes |  |  |  |  | Parameters as set by State:
21 | 7.5 |  |  |  | yes
22 | 7.6 |  |  |  | yes |  |  |  |  | pH | 7.1
23 | 7.5 |  |  |  | yes |  |  |  |  | Alk |  |  | (Alikalinity)
24 | 7.5 |  |  |  | yes |  |  |  |  | PO4 |  |  | (Orthophosphate)
25 | 7.5 |  |  |  | yes |  |  |  |  | Sili |  |  | (Silicate)
26 | 7.4 |  |  |  | yes
27 | 7.5 |  |  |  | yes
28 | 7.5 |  |  |  | yes |  | Print Name: |  | Dave Terrusa
29 | 7.5 |  |  |  | yes
30 | 7.5 |  |  |  | yes |  | Signature: |  | /S/ Dave Terrusa
31
|  |  |  | (NO=N=Excursions) Total N's | 0 |  | Date: | 2025-05-10
Send to DHS within 10 days after end of sampling period
DHS-Drinking Water Program, PO Box 14350, Portland, Or 97293-0350 Phone (503) 731-4381