## Entry Point Lead & Copper Rule
Water Quality Parameter Monitoring Form
Lead & Copper Rule Corrosion Control
Day | pH | Alk | Phos | Sili | Y/N | << Have minimums been met for this day? |  | ENTRY POINT
1 | 7.4361 |  |  |  | yes |  |  | PWS ID: | 4 | 1 | 0 | 0 | 5 | 0 | 7
2 | 7.4977 |  |  |  | yes
3 | 7.525 |  |  |  | yes |  | System Name: |  |  | Mapleton Water District
4 | 7.4144 |  |  |  | yes |  | Entry Point: |  |  |  | WTP-A
5 | 7.5012 |  |  |  | yes |  | Sample Period: |  | 2025-10-01
6 | 7.5054 |  |  |  | yes | [5 empty] | Month / Year
7 | 7.5418 |  |  |  | yes
8 | 7.5495 |  |  |  | yes | [10 empty] | Number of excursions* during this month: | 0
9 | 7.5705 |  |  |  | yes |  | (Count the number of days when any WQP was less then the
10 | 7.4781 |  |  |  | yes |  | minimum required)
11 | 7.4249 |  |  |  | yes
12 | 7.3738 |  |  |  | yes
13 | 7.4095 |  |  |  | yes | [10 empty] | Total excursions during the previous 5 months:
14 | 7.5467 |  |  |  | yes |  | (Over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative)
15 | 7.5152 |  |  |  | yes
16 | 7.4844 |  |  |  | yes
17 | 7.462 |  |  |  | yes |  |  |  | For DHS use only
18 | 7.4767 |  |  |  | yes
19 | 7.4375 |  |  |  | yes |  |  |  |  | Minimum Water Quality
20 | 7.4403 |  |  |  | yes |  |  |  |  | Parameters as set by State:
21 | 7.2772 |  |  |  | yes
22 | 7.4179 |  |  |  | yes |  |  |  |  | pH | 7.1
23 | 7.3738 |  |  |  | yes |  |  |  |  | Alk |  |  | (Alikalinity)
24 | 7.3738 |  |  |  | yes |  |  |  |  | PO4 |  |  | (Orthophosphate)
25 | 7.0595 |  |  |  | yes |  |  |  |  | Sili |  |  | (Silicate)
26 | 7.4081 |  |  |  | yes
27 | 7.4669 |  |  |  | yes
28 | 7.5761 |  |  |  | yes |  | Print Name:
29 | 7.497 |  |  |  | yes
30 | 7.5768 |  |  |  | yes |  | Signature:
31 | 7.4326
|  |  |  | (NO=N=Excursions) Total N's | 0 |  | Date:
Send to DHS within 10 days after end of sampling period
DHS-Drinking Water Program, PO Box 14350, Portland, Or 97293-0350 Phone (503) 731-4381