|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Day | pH | Alk | Phos | Other | Y/N | <<Have minimums been met for this day? | **ENTRY POINT** |  |
| 1 |   |   |   |   |   |  |  |  |  |
| 2 |   |   |   |   |   | PWS ID: 41 | 90556 |  |
| 3 |   |   |   |   |   |  |  |  |  |  |
| 4 |   |   |   |   |   | **System Name:** | Triangle Lake High/Elem SD90 |  |
| 5 |   |   |   |   |   | **Entry Point:** | Pump House |  |
| 6 | 7.84 |   |   |   |   | **Sample Period:** | July 1st to July 31st |  |
| 7 |   |   |   |   |   |  | Month/Year |  |
| 8 |   |   |   |   |   |  |  |  |  |  |
| 9 |   |   |   |   |   | **Number of excursions \* During this Month:** | 0 |  |
| 10 |   |   |   |   |   | (Count the number of days when an WQP was less than the minimum required) |  |
| 11 |   |   |   |   |   |  |
| 12 |   |   |   |   |   |  |  |  |  |  |
| 13 | 7.78 |   |   |   |   | **Total excursions during the previous 5 months:** | 0 |  |
| 14 |   |   |   |   |   | (over 9 excursions in 6 months is a violation. Entry Point and Distribution excursions are cumulative) |  |
| 15 |   |   |   |   |   |  |
| 16 |   |   |   |   |   |  |  |  |  |  |
| 17 |   |   |   |   |   |  | For OHA use Only |   |  |
| 18 |   |   |   |   |   |  |   |  |   |  |
| 19 |   |   |   |   |   |  | Minimum Water Quality Parameters as set by |   |  |
| 20 | 7.55 |   |   |   |   |  |   |  |
| 21 |   |   |   |   |   |  |   |  |   |  |
| 22 |   |   |   |   |   |  | pH | 7.2 |   |  |
| 23 |   |   |   |   |   |  | Alk |   | (Alkalinity) |  |
| 24 |   |   |   |   |   |  | PO4 |   | (Orthophosphate) |  |
| 25 |   |   |   |   |   |  | Other |   | ( ) |  |
| 26 |   |   |   |   |   |  |  |  |  |  |
| 27 | 7.62 |   |   |   |   | **Print Name:** | Shane Benscoter |  |
| 28 |   |   |   |   |   | **Signature:** |

|  |
| --- |
|   |
|

 |  |
| 29 |   |   |   |   |   |  |
| 30 |   |   |   |   |   | **Date:** |   |  |
| 31 |   |   |   |   |   |  | Send to DWP within 10 days after end of sampling period |  |
| (no = N = Excursion) **Total N's** |   |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  | OHS Drinking Water Program, PO Box 14350, Portland, OR 97293-0350 |  |
|  | Phone (971)673-0405 Website: http://healthoregon.org/dwp/ |  |