| System Name |  |  | Brookings |  |  |  |  |  |  |  |  | PWS ID# |  |  |  | 4 1 00149 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month/Year |  | December 2025 |  |  | Entry Point: |  |  | A |  | Required Minimum Residual : |  |  | Variable – see column headers |  |  |  |
| Date | Time |  |  | Source(s) in use |  |  | Lowest free chlorine residual at WTP influent (minimum 0.1 mg/L) |  |  |  | In emergency, when influent not met – use filter trains & monitor at Entry Pt (minimum 0.3 mg/L) |  | Notes |  |  |  |
| 1 | 2330 |  |  | SRC-AA |  |  | 0.47 |  |  |  |  |  |  |  |  |  |
| 2 | 0920 |  |  | SRC-AA |  |  | 0.43 |  |  |  |  |  |  |  |  |  |
| 3 | 0025 |  |  | SRC-AA |  |  | 0.49 |  |  |  |  |  |  |  |  |  |
| 4 | 0255 |  |  | SRC-AA |  |  | 0.48 |  |  |  |  |  |  |  |  |  |
| 5 | 0440 |  |  | SRC-AA |  |  | 0.39 |  |  |  |  |  |  |  |  |  |
| 6 | 1155 |  |  | SRC-AA |  |  | 0.39 |  |  |  |  |  |  |  |  |  |
| 7 | 2020 |  |  | SRC-AA |  |  | 0.37 |  |  |  |  |  |  |  |  |  |
| 8 | 2120 |  |  | SRC-AA |  |  | 0.37 |  |  |  |  |  |  |  |  |  |
| 9 | 0320 |  |  | SRC-AA |  |  | 0.35 |  |  |  |  |  |  |  |  |  |
| 10 | 1005 |  |  | SRC-AA |  |  | 0.30 |  |  |  |  |  |  |  |  |  |
| 11 | 1005 |  |  | SRC-AA |  |  | 0.35 |  |  |  |  |  |  |  |  |  |
| 12 | 1940 |  |  | SRC-AA |  |  | 0.46 |  |  |  |  |  |  |  |  |  |
| 13 | 0110 |  |  | SRC-AA |  |  | 0.48 |  |  |  |  |  |  |  |  |  |
| 14 | 2050 |  |  | SRC-AA |  |  | 0.43 |  |  |  |  |  |  |  |  |  |
| 15 | 2120 |  |  | SRC-AA |  |  | 0.46 |  |  |  |  |  |  |  |  |  |
| 16 | 0505 |  |  | SRC-AA |  |  | 0.43 |  |  |  |  |  |  |  |  |  |
| 17 | 1640 |  |  | SRC-AA |  |  | 0.39 |  |  |  |  |  |  |  |  |  |
| 18 | 1555 |  |  | SRC-AA |  |  | 0.14 |  |  |  |  |  |  |  |  |  |
| 19 | 0235 |  |  | SRC-AA |  |  | 0.26 |  |  |  |  |  |  |  |  |  |
| 20 | 1040 |  |  | SRC-AA |  |  | 0.37 |  |  |  |  |  |  |  |  |  |
| 21 | 1635 |  |  | SRC-AA |  |  | 0.37 |  |  |  |  |  |  |  |  |  |
| 22 | 1535 |  |  | SRC-AA |  |  | 0.40 |  |  |  |  |  |  |  |  |  |
| 23 | 0445 |  |  | SRC-AA |  |  | 0.43 |  |  |  |  |  |  |  |  |  |
| 24 | 1335 |  |  | SRC-AA |  |  | 0.41 |  |  |  |  |  |  |  |  |  |
| 25 | 1935 |  |  | SRC-AA |  |  | 0.42 |  |  |  |  |  |  |  |  |  |
| 26 | 1030 |  |  | SRC-AA |  |  | 0.38 |  |  |  |  |  |  |  |  |  |
| 27 | 1130 |  |  | SRC-AA |  |  | 0.42 |  |  |  |  |  |  |  |  |  |
| 28 | 1840 |  |  | SRC-AA |  |  | 0.42 |  |  |  |  |  |  |  |  |  |
| 29 | 1940 |  |  | SRC-AA |  |  | 0.44 |  |  |  |  |  |  |  |  |  |
| 30 | 0130 |  |  | SRC-AA |  |  | 0.47 |  |  |  |  |  |  |  |  |  |
| 31 | 2120 |  |  | SRC-AA |  |  | 0.47 |  |  |  |  |  |  |  |  |  |
| Was the chlorine residual ever less than the required minimum residual of 0.1 mg/L? ☐Yes ☒No If yes, what was the longest time period until the required level was restored? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GWS Serving 3,300 or Fewer |  |  |  |  |  | GWS Serving More Than 3,300 |  |  |  |  |  |  |  |  |  |  |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? ☐Yes ☐No Attach those results and submit them with this form. |  |  |  |  |  | Did continuous monitoring equipment fail at any time this reporting month? ☐ Yes ☒No If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? ☐Yes ☐ No required since it was less than 4 hours. |  |  |  |  |  |  |  |  | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |  |
| Printed Name: Brenda L Vasquez |  |  |  |  |  |  |  |  | Title: Operations Supervisor - Jacobs |  |  |  |  | Operator Certification #: T2-D1 070226 |  |  |
| Signature: Brenda L Vasquez |  |  |  |  |  |  |  |  | Phone #: (541) 254-1909 |  |  |  |  | OR |  |  |
| Date: 01 / 06 / 2026 |  |  |  |  |  |  |  |  |  |  |  |  |  | Small Groundwater System |  |  |

Return by 10th of following month by either email dwp.dmce@odhsoha.oregon.gov; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.

August 22, 2019