State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems

	System Name
	Regency of Oregon, Iinc.,/Canby Regency MHP
	PWS ID#
	4 1   4 1 00163

	Month/Year
	
09/2025
	Entry Point:
	Treatment Room
	Required Minimum Residual 
	0.3 mg/L 

	
	
	
	
	

	Date
	Time
	Source(s) in use
	Lowest free chlorine 
residual at entry point to 
distribution system (mg/L)
	Notes

	1
	08:30
	Spring
	0.8
	     

	2
	08:12
	“        “
	0.8
	     

	3
	10:30
	“       “
	0.7
	     

	4
	09:44
	“       “
	0.5
	     

	5
	11:37
	“      “
	0.8
	     

	6
	0918
	“      “
	0.6
	     

	7
	13:36
	“      “
	0.6
	     

	8
	12:21
	“      “
	0.8
	     

	9
	10:07
	“      “
	0.8
	     

	10
	08:03
	“      “
	0.8
	     

	11
	AM
	“      “
	0.6
	     

	12
	15:40
	“      “
	0.6
	     

	13
	18:00
	“      “
	0.6
	     

	14
	14:20
	“     “
	0.6
	     

	15
	17:35
	“      “
	0.6
	     

	16
	18:46
	“      “
	0.6
	     

	17
	08:00
	“      “
	0.4
	     

	18
	08:46
	“      “
	0.4
	     

	19
	09:17
	“      “
	0.6
	     

	20
	07:06
	“      “
	0.6
	     

	21
	06:06
	“      “
	0.6
	     

	22
	06:04
	“      “
	0.6
	     

	23
	19:21
	“      “
	0.6
	     

	24
	08:08
	“      ‘
	0.4
	     

	25
	10:17
	“      ‘
	0.4
	     

	26
	19:26
	“      “
	0.6
	     

	27
	18:16
	“      “
	0.6
	     

	28
	20:40
	“      “
	0.6
	     

	29
	06:23
	“      “
	0.6
	     

	30
	18:49
	“    “
	0.6
	     

	31
	--
	--
	--
	     

	Was the chlorine residual ever less than the required minimum residual of 0.3 mg/L?   x FORMCHECKBOX 
 Yes   FORMCHECKBOX 
 No

If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day.

	GWS Serving 3,300 or Fewer

	If yes, did you monitor every four hours until the residual returned to       mg/L as required?
 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No 

Attach those results and submit them with this form.

	Printed Name: Phillip Merrill
	DRC
	Operator Certification #: T008670

	Signature:  

	Phone #: (
503) 734-7400     
	OR

	Date:  10 /   08    /  2025    
	
	Small Groundwater System  FORMCHECKBOX 



Return by 10th of following month by either email dwp.dmce@odhsoha.oregon.gov; fax 971-673-0458; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.
                                                                                                                                                                                               

August 22, 2019
