State of Oregon Drinking Water Program Monthly Disinfection Report for Ground Water Systems

| System Name: Canby Regency PWS ID# 4 1 00163 Treatment Room Month/Year: February / 2026 Minimum Residual: 0.3 Mg/L |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Time | Source(s) in use | Free chlorine Residual at treatment room (mg/L) | Notes |
| 1 | 16:03 | Spring | 0.6 |  |
| 2 | 08:00 | Spring | 0.6 |  |
| 3 | 15:16 | Spring | 0.6 |  |
| 4 | 10:50 | Spring | 0.6 |  |
| 5 | 09:54 | Spring | 0.6 |  |
| 6 | 09:09 | Spring | 0.6 |  |
| 7 | 10:53 | Spring | 0.6 |  |
| 8 | 13:36 | Spring | 0.6 |  |
| 9 | 10:40 | Spring | 0.6 |  |
| 10 | 16:5 | Spring | 0.6 |  |
| 11 | 09:01 | Spring | 0.6 |  |
| 12 | 10:48 | Spring | 0.6 |  |
| 13 | 16:31 | Spring | 0.6 |  |
| 14 | 17:35 | Spring | 0.6 |  |
| 15 | 17:37 | Spring | 0.6 |  |
| 16 | 18:19 | Spring | 0.6 |  |
| 17 | 17:37 | Spring | 0.6 |  |
| 18 | 09:56 | Spring | 0.6 |  |
| 19 | 11:22 | Spring | 0.6 |  |
| 20 | 16:33 | Spring | 0.6 |  |
| 21 | 10:17 | Spring | 0.6 |  |
| 22 | 12:58 | Spring | 0.6 |  |
| 23 | 17:20 | Spring | 0.6 |  |
| 24 | 16:57 | Spring | 0.6 |  |
| 25 | 10:01 | Spring | 0.6 |  |
| 26 | 09:57 | Spring | 0.6 |  |
| 27 | 16:42 | Spring | 0.8 |  |
| 28 | 10:56 | Spring | 0.8 |  |
| 29 | -- | Spring | -- |  |
| 30 | -- | Spring | -- |  |
| 31 | -- | Spring | -- |  |
| Were the chloring residuals at the treatment room ever less than the required minimum residual of .3mg/L? Yes x No If yes, what was the time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |  |  |  |  |
| GWS Serving 3,300 or Fewer |  |  |  |  |
| If yes, did you monitor chlorine residuals at treatment room every four hours until the residual returned to .3mg/L as required? Yes No Attach those results and submit them with this form. |  |  |  |  |
| Printed Name: Phillip Merrill Title: DRC Signature: Phone 503-734-7400 Date:3 /10 /2026 |  |  |  | D-08670 |