## Sheet1
State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems
System Name |  | City of Dayton |  | PWS # 4100252
Month/Year | 2023-07-01 |  | Entry Point WTP - A1 | Required Minimum Residual 0.6 mg/L
Date | Time | Source in Use | Lowest free chlorine residual at entry point to distribution system | Notes
1 | 6:50 | WTP - A1 | 0.76
2 | 7:03 |  | 0.83
3 | 7:45 |  | 0.81
4 | 7:24 |  | 0.85
5 | 8:25 |  | 0.82
6 | 8:18 |  | 0.78
7 | 7:30 |  | 0.85
8 | 7:35 |  | 0.84
9 | 7:04 |  | 0.8
10 | 7:38 |  | 0.82
11 | 7:31 |  | 0.83
12 | 8:40 |  | 0.82
13 | 7:39 |  | 0.82
14 | 8:16 |  | 0.82
15 | 6:22 |  | 0.82
16 | 8:37 |  | 0.82
17 | 7:06 |  | 0.82
18 | 7:20 |  | 0.82
19 | 7:19 |  | 0.82
20 | 7:45 |  | 0.82
21 | 8:39 |  | 0.83
22 | 8:05 |  | 0.92
23 | 8:38 |  | 0.91
24 | 7:34 |  | 0.85
25 | 7:14 |  | 0.82
26 | 8:30 |  | 0.82
27 | 8:26 |  | 0.82
28 | 8:41 |  | 0.82
29 | 6:15 |  | 0.79
30 | 6:38 |  | 0.81
31 | 7:28 | WTP - A1 | 0.83
Was the chlorine residual ever less than the required minimum residual of 0.6 mg/L NO
If yes, what was the longest time period until the required level was restored ____ hours - if > 4 hours,
Drinking Water Program to be notified by end of next buisness day
GWS Servin 3,300 or Fewer
If yes, did you monitor every 4 hours
until the residual returned to 0.6 mg/L
as required YES NO
Attach those results and submit them
with this form
Printed Name Stephen Sagmiller TitlePublic Works Director Operator Certification # 6845
Signature _________________________________ Phone # 503-864-2221 | Stephen Sagmiller
Date ________________________ | 2023-08-01