State of Oregon Drinking Water Program

Monthly Disinfection Report for Ground Water Systems

| System Name |  | City of Dayton |  | PWS # 4100252 |
| --- | --- | --- | --- | --- |
| Month/Year | Nov.-25 |  | Entry Point WTP - A1 | Required Minimum Residual 0.6 mg/L |

| Date | Time | Source in Use | Lowest free chlorine residual at entry point to distribution system | Notes |
| --- | --- | --- | --- | --- |
| 1 | 7:43 | WTP - A1 | 0.81 |  |
| 2 | 7:45 |  | 0.83 |  |
| 3 | 8:13 |  | 0.82 |  |
| 4 | 7:48 |  | 0.81 |  |
| 5 | 8:00 |  | 0.85 |  |
| 6 | 7:56 |  | 0.81 |  |
| 7 | 8:20 |  | 0.83 |  |
| 8 | 7:30 |  | 0.82 |  |
| 9 | 8:00 |  | 0.84 |  |
| 10 | 8:16 |  | 0.84 |  |
| 11 | 6:45 |  | 0.85 |  |
| 12 | 8:08 |  | 0.82 |  |
| 13 | 7:27 |  | 0.82 |  |
| 14 | 6:52 |  | 0.84 |  |
| 15 | 7:07 |  | 0.83 |  |
| 16 | 6:45 |  | 0.8 |  |
| 17 | 8:15 |  | 0.83 |  |
| 18 | 7:55 |  | 0.83 |  |
| 19 | 8:00 |  | 0.86 |  |
| 20 | 7:21 |  | 9.7 |  |
| 21 | 7:37 |  | 0.9 |  |
| 22 | 7:19 |  | 0.84 |  |
| 23 | 8:12 |  | 0.81 |  |
| 24 | 8:03 |  | 0.82 |  |
| 25 | 8:15 |  | 0.82 |  |
| 26 | 7:30 |  | 0.82 |  |
| 27 | 8:40 |  | 0.85 |  |
| 28 | 8:10 |  | 0.83 |  |
| 29 | 7:18 |  | 0.84 |  |
| 30 | 7:50 | WTP - A1 | 0.83 |  |
| Was the chlorine residual ever less than the required minimum residual of 0.6 mg/L NO |  |  |  |  |
| If yes, what was the longest time period until the required level was restored hours - if > 4 hours, |  |  |  |  |
| Drinking Water Program to be notified by end of next buisness day |  |  |  |  |
| GWS Servin 3,300 or Fewer |  |  |  |  |
| If yes, did you monitor every 4 hours |  |  |  |  |
| until the residual returned to 0.6 mg/L |  |  |  |  |
| as required YES NO |  |  |  |  |
| Attach those results and submit them |  |  |  |  |
| with this form |  |  |  |  |
| Printed Name Don Cutler Title Public Works Supervisor Operator Certification # 149310 DRC – John Lindow Signature Don Cutler Date 12/1/2025 |  |  |  |  |