State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems

	System Name
	City of Dundee
	PWS ID#
	4 1   00262

	Month/Year
	
Sept/2025 
	Entry Point:
	EP-A
	Required Minimum Residual 
	0.2 mg/L 

	
	
	
	
	

	Date
	Time
	Source(s) in use
	Lowest free chlorine 
residual at entry point to 
distribution system (mg/L)
	Notes

	1
	1206
	1,2,7,8,11
	0.95
	     

	2
	0915
	1,2,7,8,11
	1.03
	     

	3
	0900
	1,2,7,8,11
	0.93
	     

	4
	0905
	1,2,7,8,11
	0.89
	     

	5
	0920
	1,2,7,8,11
	0.94
	     

	6
	1445
	1,2,7,8,11
	0.71
	     

	7
	1200
	1,2,7,8,11
	0.99
	     

	8
	0910
	1,2,7,8,11
	0.87
	     

	9
	0900
	1,2,7,8,11
	1.07
	     

	10
	0920
	1,2,7,8,11
	0.92
	     

	11
	0905
	1,2,7,8,11
	0.99
	     

	12
	0930
	1,2,7,8,11
	0.98
	     

	13
	1052
	1,2,7,8,11
	0.90
	     

	14
	1026
	1,2,7,8,11
	0.88
	     

	15
	0905
	1,2,7,8,11
	0.99
	     

	16
	0940
	1,2,7,8,11
	0.98
	     

	17
	0945
	1,2,7,8,11
	0.95
	     

	18
	0950
	1,2,7,8,11
	0.98
	     

	19
	0950
	1,2,7,8,11
	0.99
	     

	20
	1300
	1,2,7,8,11
	0.87
	     

	21
	1300
	1,2,7,8,11
	0.96
	     

	22
	0910
	1,2,7,8,11
	0.73
	     

	23
	0915
	1,2,7,8,11
	0.98
	     

	24
	0855
	1,2,7,8,11
	0.73
	     

	25
	0916
	1,2,7,8,11
	1.01
	     

	26
	0915
	1,2,7,8,11
	0.96
	     

	27
	1002
	1,2,7,8,11
	0.90
	     

	28
	1048
	1,2,7,8,11
	0.73
	     

	29
	0855
	1,2,7,8,11
	0.98
	     

	30
	0850
	1,2,7,8,11
	0.98
	     

	31
	     
	     
	     
	     

	Was the chlorine residual ever less than the required minimum residual of 0.2 mg/L?    FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No

If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day.

	GWS Serving 3,300 or Fewer
	GWS Serving More Than 3,300

	If yes, did you monitor every four hours until the residual returned to 0.20 mg/L as required?
 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No 

Attach those results and submit them with this form.
	Did continuous monitoring equipment fail at any time this reporting month? 
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No

If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?   
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

Attach grab sample results and submit them with this form.
	Date continuous monitoring equipment failed:
      /       /      
Date it was returned to service:
      /       /      

	Printed Name: Jared Nunley
	Title: Drinking Water DRC 
	Operator Certification #: T-08400

	Signature:  

	Phone #: (
503) 538-6700
	OR

	Date:  10 / 2 / 2025
	
	Small Groundwater System  FORMCHECKBOX 



