## 2025
State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems
System Name: |  | Seavey Loop Water Company |  | PWS ID# 41 - 00289
Month/Year: |  | 2025-08-31 |  | Required Minimum Residual: 0.30 mg/L
Date | Time | Source(s) in Use | Lowest free chlorine residual at entry point to distribution system (mg/L) | Notes
1 | 14:00 | WELL (L16262) | 0.64
2 | 14:00 | WELL (L16262) | 0.62
3 | 10:00 | WELL (L16262) | 0.6
4 | 10:00 | WELL (L16262) | 0.57
5 | 6:00 | WELL (L16262) | 0.57
6 | 14:00 | WELL (L16262) | 0.57
7 | 10:00 | WELL (L16262) | 0.57
8 | 6:00 | WELL (L16262) | 0.57
9 | 18:00 | WELL (L16262) | 0.55
10 | 18:00 | WELL (L16262) | 0.53
11 | 18:00 | WELL (L16262) | 0.54
12 | 18:00 | WELL (L16262) | 0.62
13 | 10:00 | WELL (L16262) | 0.66
14 | 10:00 | WELL (L16262) | 0.65
15 | 6:00 | WELL (L16262) | 0.62
16 | 14:00 | WELL (L16262) | 0.58
17 | 14:00 | WELL (L16262) | 0.56
18 | 6:00 | WELL (L16262) | 0.55
19 | 6:00 | WELL (L16262) | 0.54
20 | 18:00 | WELL (L16262) | 0.54
21 | 10:00 | WELL (L16262) | 0.54
22 | 10:00 | WELL (L16262) | 0.55
23 | 14:00 | WELL (L16262) | 0.56
24 | 6:00 | WELL (L16262) | 0.57
25 | 6:00 | WELL (L16262) | 0.57
26 | 6:00 | WELL (L16262) | 0.55
27 | 10:00 | WELL (L16262) | 0.54
28 | 14:00 | WELL (L16262) | 0.53
29 | 14:00 | WELL (L16262) | 0.52
30 | 18:00 | WELL (L16262) | 0.5
31 | 23:00 | WELL (L16262) | 0.5
Was the chlorine residual ever less than the required minimum residual of .30 mg/L ____ Yes __X__ No
If yes, what was the longest time period until the required level was restored? _____ hours
GWS Serving 3,300 or Fewer |  |  | GWS Serving More Than 3,300
If yes, did you monitor every four hours until the residual returned to .30 mg/L? |  |  | Did continuous monitoring equipment fail at any time this reporting month? ___Yes ___No |  | Date continuous monitoring equipment failed: / /
Attach those results and submit them with this form. |  |  | If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service? ___Yes ___No |  | Date it was returned to service:
|  |  | Attach grab sample results and submit them with this form. |  | / /
Printed Name: |  | Dan Reitz | Title: Vice- President | Operator Certification #:
|  |  | Oregon Water Services, Inc. |  |  | 6528
Signature: |  |  | Phone#: (541) 342-1718 | OR
Small Ground Water System
Date: | 2025-09-08