| System Name | McKenzie Palisades | PWS ID# | 4 1 00923 |
| --- | --- | --- | --- |
| Month/Year | April/2023 | Entry Point: | Pumphouse | Required Minimum Residual | .20 mg/L |
| Date | Time | Source(s) in use | Lowest free chlorine residual at entry point to distribution system (mg/L) | Notes |
| 1 | 1515 | Wellhouse EP | .51 |  |
| 2 | 1800 | Wellhouse EP | .52 |  |
| 3 | 1758 | Wellhouse EP | .52 |  |
| 4 | 0300 | Wellhouse EP | .50 |  |
| 5 | 1500 | Wellhouse EP | .50 |  |
| 6 | 1743 | Wellhouse EP | .55 |  |
| 7 | 1200 | Wellhouse EP | .46 |  |
| 8 | 2015 | Wellhouse EP | .49 |  |
| 9 | 1525 | Wellhouse EP | .47 |  |
| 10 | 0853 | Wellhouse EP | .48 |  |
| 11 | 1745 | Wellhouse EP | .48 |  |
| 12 | 1700 | Wellhouse EP | .48 |  |
| 13 | 0320 | Wellhouse EP | .47 |  |
| 14 | 1130 | Wellhouse EP | .46 |  |
| 15 | 1745 | Wellhouse EP | .51 |  |
| 16 | 1215 | Wellhouse EP | .57 |  |
| 17 | 1715 | Wellhouse EP | .57 |  |
| 18 | 2000 | Wellhouse EP | .55 |  |
| 19 | 1830 | Wellhouse EP | .54 |  |
| 20 | 1515 | Wellhouse EP | .49 |  |
| 21 | 1815 | Wellhouse EP | .49 |  |
| 22 | 1800 | Wellhouse EP | .49 |  |
| 23 | 1500 | Wellhouse EP | .50 |  |
| 24 | 1550 | Wellhouse EP | .51 |  |
| 25 | 1750 | Wellhouse EP | .50 |  |
| 26 | 0915 | Wellhouse EP | .49 |  |
| 27 | 1415 | Wellhouse EP | .65 |  |
| 28 | 1605 | Wellhouse EP | .63 |  |
| 29 | 0400 | Wellhouse EP | .63 |  |
| 30 | 1715 | Wellhouse EP | .62 |  |
| 31 |  | Wellhouse EP |  |  |
| Was the chlorine residual ever less than the required minimum residual of .20 mg/L? Yes X No If yes, what was the longest time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |
| GWS Serving 3,300 or Fewer | GWS Serving More Than 3,300 |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? Yes No Attach those results and submit them with this form. | Did continuous monitoring equipment fail at any time this reporting month? Yes XNo If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? Yes No Attach grab sample results and submit them with this form. | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |
| Printed Name: Lonny Sayles | Title: DRC | Operator Certification #: 6085 |
| Signature: | Phone #: ( 541) 206-3976 | OR |
| Date: 05 / 06 / 2023 |  | Small Groundwater SystemX |

Return by 10th of following month by either email dwp.dmce@state.or.us; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.

August 22, 2019