| System Name | McKenzie Palisades | PWS ID# | 4 1 00923 |
| --- | --- | --- | --- |
| Month/Year | October 2023 | Entry Point: | Pumphouse | Required Minimum Residual | .20 mg/L |
| Date | Time | Source(s) in use | Lowest free chlorine residual at entry point to distribution system (mg/L) | Notes |
| 1 | 1608 | WELL EP | .50 |  |
| 2 | 0715 | WELL EP | .50 |  |
| 3 | 0115 | WELL EP | .49 |  |
| 4 | 0713 | WELL EP | .47 |  |
| 5 | 0720 | WELL EP | .50 |  |
| 6 | 0900 | WELL EP | .51 |  |
| 7 | 0915 | WELL EP | .52 |  |
| 8 | 1700 | WELL EP | .49 |  |
| 9 | 1635 | WELL EP | .48 |  |
| 10 | 0745 | WELL EP | .46 |  |
| 11 | 0820 | WELL EP | .52 |  |
| 12 | 0915 | WELL EP | .51 |  |
| 13 | 1700 | WELL EP | .44 |  |
| 14 | 0700 | WELL EP | .53 |  |
| 15 | 0645 | WELL EP | .52 |  |
| 16 | 1600 | WELL EP | .55 |  |
| 17 | 1615 | WELL EP | .62 |  |
| 18 | 0745 | WELL EP | .64 |  |
| 19 | 0830 | WELL EP | .58 |  |
| 20 | 0745 | WELL EP | .53 |  |
| 21 | 0815 | WELL EP | .51 |  |
| 22 | 0900 | WELL EP | .54 |  |
| 23 | 0830 | WELL EP | .56 |  |
| 24 | 1750 | WELL EP | .52 |  |
| 25 | 1800 | WELL EP | .51 |  |
| 26 | 1830 | WELL EP | .53 |  |
| 27 | 2000 | WELL EP | .48 |  |
| 28 | 1745 | WELL EP | .46 |  |
| 29 | 0845 | WELL EP | .44 |  |
| 30 | 0800 | WELL EP | .45 |  |
| 31 | 0730 | WELL EP | .58 |  |
| Was the chlorine residual ever less than the required minimum residual of mg/L? Yes XX No If yes, what was the longest time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |
| GWS Serving 3,300 or Fewer | GWS Serving More Than 3,300 |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? Yes No Attach those results and submit them with this form. | Did continuous monitoring equipment fail at any time this reporting month? Yes X No If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? Yes No Attach grab sample results and submit them with this form. | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |
| Printed Name: Lonny Sayles | Title: DRC | Operator Certification #: 6085 |
| Signature: | Phone #: ( 541) 206-3976 | OR |
| Date: 11 / 06 / 2023 |  | Small Groundwater System |

Return by 10th of following month by either email dwp.dmce@state.or.us; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.

August 22, 2019