| System Name | McKenzie Palisades | PWS ID# | 4 1 00923 |
| --- | --- | --- | --- |
| Month/Year | FEBRUARY/ 2024 | Entry Point: | Pumphouse | Required Minimum Residual | .20 mg/L |
| Date | Time | Source(s) in use | Lowest free chlorine residual at entry point to distribution system (mg/L) | Notes |
| 1 | 0930 | WELL EP | .51 |  |
| 2 | 1715 | WELL EP | .55 |  |
| 3 | 1000 | WELL EP | .49 |  |
| 4 | 1715 | WELL EP | .52 |  |
| 5 | 2100 | WELL EP | .51 |  |
| 6 | 1800 | WELL EP | .55 |  |
| 7 | 1715 | WELL EP | .60 |  |
| 8 | 0415 | WELL EP | .47 |  |
| 9 | 1300 | WELL EP | .51 |  |
| 10 | 1215 | WELL EP | .45 |  |
| 11 | 1945 | WELL EP | .47 |  |
| 12 | 0730 | WELL EP | .49 |  |
| 13 | 0745 | WELL EP | .52 |  |
| 14 | 0715 | WELL EP | .58 |  |
| 15 | 1900 | WELL EP | .57 |  |
| 16 | 2130 | WELL EP | .59 |  |
| 17 | 0115 | WELL EP | .49 |  |
| 18 | 1615 | WELL EP | .51 |  |
| 19 | 2115 | WELL EP | .55 |  |
| 20 | 1515 | WELL EP | .52 |  |
| 21 | 1630 | WELL EP | .50 |  |
| 22 | 1315 | WELL EP | .60 |  |
| 23 | 2015 | WELL EP | .55 |  |
| 24 | 2915 | WELL EP | .50 |  |
| 25 | 1815 | WELL EP | .53 |  |
| 26 | 1100 | WELL EP | .55 |  |
| 27 | 1815 | WELL EP | .54 |  |
| 28 | 1115 | WELL EP | .53 |  |
| 29 | 0815 | WELL EP | .51 |  |
| 30 |  |  |  |  |
| 31 |  |  |  |  |
| Was the chlorine residual ever less than the required minimum residual of mg/L? Yes X No If yes, what was the longest time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |
| GWS Serving 3,300 or Fewer | GWS Serving More Than 3,300 |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? Yes No Attach those results and submit them with this form. | Did continuous monitoring equipment fail at any time this reporting month? Yes X No If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? Yes No Attach grab sample results and submit them with this form. | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |
| Printed Name: Lonny S. Sayles | Title: DRC | Operator Certification #: 6085 |
| Signature: | Phone #: ( 541) 206-3976 | OR |
| Date: 01 / 02 / 2024 |  | Small Groundwater System |

Return by 10th of following month by either email dwp.dmce@state.or.us; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.

August 22, 2019