| System Name |  |  | McKenzie Palisades |  |  |  |  |  |  |  |  | PWS ID# |  |  | 4 1 00923 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month/Year |  | JULY/ 2024 |  |  | Entry Point: |  | Pumphouse |  |  |  | Required Minimum Residual |  |  |  |  |  | .20 mg/L |  |
| Date | Time |  |  | Source(s) in use |  |  |  |  |  | Lowest free chlorine residual at entry point to distribution system (mg/L) |  |  |  | Notes |  |  |  |  |
| 1 | 1700 |  |  | WELL EP |  |  |  |  |  | .81 |  |  |  |  |  |  |  |  |
| 2 | 2200 |  |  | WELL EP |  |  |  |  |  | .84 |  |  |  |  |  |  |  |  |
| 3 | 0800 |  |  | WELL EP |  |  |  |  |  | .78 |  |  |  |  |  |  |  |  |
| 4 | 1900 |  |  | WELL EP |  |  |  |  |  | .77 |  |  |  |  |  |  |  |  |
| 5 | 0815 |  |  | WELL EP |  |  |  |  |  | .75 |  |  |  |  |  |  |  |  |
| 6 | 0400 |  |  | WELL EP |  |  |  |  |  | .77 |  |  |  |  |  |  |  |  |
| 7 | 2100 |  |  | WELL EP |  |  |  |  |  | .76 |  |  |  |  |  |  |  |  |
| 8 | 1400 |  |  | WELL EP |  |  |  |  |  | .74 |  |  |  |  |  |  |  |  |
| 9 | 0200 |  |  | WELL EP |  |  |  |  |  | .90 |  |  |  |  |  |  |  |  |
| 10 | 2015 |  |  | WELL EP |  |  |  |  |  | .88 |  |  |  |  |  |  |  |  |
| 11 | 0815 |  |  | WELL EP |  |  |  |  |  | .88 |  |  |  |  |  |  |  |  |
| 12 | 2215 |  |  | WELL EP |  |  |  |  |  | .96 |  |  |  |  |  |  |  |  |
| 13 | 1015 |  |  | WELL EP |  |  |  |  |  | .94 |  |  |  |  |  |  |  |  |
| 14 | 1045 |  |  | WELL EP |  |  |  |  |  | .93 |  |  |  |  |  |  |  |  |
| 15 | 1415 |  |  | WELL EP |  |  |  |  |  | .86 |  |  |  |  |  |  |  |  |
| 16 | 1015 |  |  | WELL EP |  |  |  |  |  | .93 |  |  |  |  |  |  |  |  |
| 17 | 1300 |  |  | WELL EP |  |  |  |  |  | .92 |  |  |  |  |  |  |  |  |
| 18 | 1215 |  |  | WELL EP |  |  |  |  |  | .88 |  |  |  |  |  |  |  |  |
| 19 | 2200 |  |  | WELL EP |  |  |  |  |  | .95 |  |  |  |  |  |  |  |  |
| 20 | 2345 |  |  | WELL EP |  |  |  |  |  | .87 |  |  |  |  |  |  |  |  |
| 21 | 2115 |  |  | WELL EP |  |  |  |  |  | .81 |  |  |  |  |  |  |  |  |
| 22 | 1415 |  |  | WELL EP |  |  |  |  |  | .80 |  |  |  |  |  |  |  |  |
| 23 | 1615 |  |  | WELL EP |  |  |  |  |  | .92 |  |  |  |  |  |  |  |  |
| 24 | 0945 |  |  | WELL EP |  |  |  |  |  | .92 |  |  |  |  |  |  |  |  |
| 25 | 0815 |  |  | WELL EP |  |  |  |  |  | .91 |  |  |  |  |  |  |  |  |
| 26 | 2115 |  |  | WELL EP |  |  |  |  |  | .97 |  |  |  |  |  |  |  |  |
| 27 | 2100 |  |  | WELL EP |  |  |  |  |  | .91 |  |  |  |  |  |  |  |  |
| 28 | 2215 |  |  | WELL EP |  |  |  |  |  | .89 |  |  |  |  |  |  |  |  |
| 29 | 0915 |  |  | WELL EP |  |  |  |  |  | .88 |  |  |  |  |  |  |  |  |
| 30 | 1615 |  |  | WELL EP |  |  |  |  |  | .87 |  |  |  |  |  |  |  |  |
| 31 | 2115 |  |  | WELL EP |  |  |  |  |  | 1.20 |  |  |  |  |  |  |  |  |
| Was the chlorine residual ever less than the required minimum residual of mg/L? Yes X No If yes, what was the longest time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GWS Serving 3,300 or Fewer |  |  |  |  |  | GWS Serving More Than 3,300 |  |  |  |  |  |  |  |  |  |  |  |  |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? Yes No Attach those results and submit them with this form. |  |  |  |  |  | Did continuous monitoring equipment fail at any time this reporting month? Yes X No If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? Yes No Attach grab sample results and submit them with this form. |  |  |  |  |  |  |  |  |  | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |  |  |
| Printed Name: Lonny S. Sayles |  |  |  |  |  |  |  |  | Title: DRC |  |  |  | Operator Certification #: 6085 |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  | Phone #: ( 541) 206-3976 |  |  |  | OR |  |  |  |  |  |
| Date: 06 / 06 / 2024 |  |  |  |  |  |  |  |  |  |  |  |  | Small Groundwater System |  |  |  |  |  |

Return by 10th of following month by either email dwp.dmce@state.or.us; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.

August 22, 2019