State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems

	System Name
	McKenzie Palisades
	PWS ID#
	4 1   00923

	Month/Year
	DEC/2025 
	Entry Point:
	Pumphouse
	Required Minimum Residual 
	.20 mg/L 

	
	
	
	
	

	Date
	Time
	Source(s) in use
	Lowest free chlorine 
residual at entry point to 
distribution system (mg/L)
	Notes

	1
	1200
	WELL EP
	.44
	     

	2
	1330
	WELL EP
	.44
	     

	3
	1845
	WELL EP
	.67
	     

	4
	0745
	WELL EP
	.60
	     

	5
	2130
	WELL EP
	.57
	     

	6
	1645
	WELL EP
	.76
	     

	7
	1600
	WELL EP
	.53
	     

	8
	1945
	WELL EP
	.50
	     

	9
	1845
	WELL EP
	.46
	     

	10
	1445
	WELL EP
	.57
	     

	11
	0630
	WELL EP
	.61
	     

	12
	1430
	WELL EP
	.44
	     

	13
	0215
	WELL EP
	.40
	     

	14
	1515
	WELL EP
	.45
	     

	15
	1330
	WELL EP
	.48
	     

	16
	2345
	WELL EP
	.57
	     

	17
	1600
	WELL EP
	.53
	     

	18
	1630
	WELL EP
	.57
	     

	19
	1615
	WELL EP
	.50
	     

	20
	1145
	WELL EP
	.50
	     

	21
	1300
	WELL EP
	.48
	     

	22
	1715
	WELL EP
	.50
	     

	23
	1630
	WELL EP
	.47
	     

	24
	1430
	WELL EP
	.44
	     

	25
	0545
	WELL EP
	.66
	     

	26
	1100
	WELL EP
	.67
	     


	27
	1315
	WELL EP
	.54
	     

	28
	1315
	WELL EP
	.62
	     

	29
	0045
	WELL EP
	.64
	     

	30
	0615
	WELL EP
	.41
	     

	  31
	1815
	WELL EP
	.41
	     

	Was the chlorine residual ever less than the required minimum residual of       mg/L?    FORMCHECKBOX 
 Yes
X FORMCHECKBOX 
 No

If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day.

	GWS Serving 3,300 or Fewer
	GWS Serving More Than 3,300

	If yes, did you monitor every four hours until the residual returned to       mg/L as required?
 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No 

Attach those results and submit them with this form.
	Did continuous monitoring equipment fail at any time this reporting month? 
 FORMCHECKBOX 
 Yes 
X FORMCHECKBOX 
 No

If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?   
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

Attach grab sample results and submit them with this form.
	Date continuous monitoring equipment failed:
      /       /      
Date it was returned to service:
      /       /      

	Printed Name: Lonny S. Sayles
	Title: DRC 
	Operator Certification #: 6085

	Signature:  

	Phone #: (
541) 206-3976
	OR

	Date:  1 / 06 / 2026
	
	Small Groundwater System  FORMCHECKBOX 



Return by 10th of following month by either email dwp.dmce@state.or.us; fax 971-673-0694; 
or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350.
                                                                                                                                                                                               

August 22, 2019
