## Sheet1
State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems
System Name: |  | Bella Casa Mobile Home Park |  | PWS ID# 41 - 01005
Month/Year: |  | August 2025 | Entry Point: Kitchen Sink in Rec Rm | Required Minimum Residual: 0.60 mg/L
Date | Time | Source(s) in Use | Lowest free chlorine residual at entry point to distribution system (mg/L) | Notes
1 | 14:00 | WELL (L15434) | 0.85
2 | 10:00 | WELL (L15434) | 0.79
3 | 10:00 | WELL (L15434) | 0.86
4 | 10:00 | WELL (L15434) | 1.15
5 | 6:00 | WELL (L15434) | 1.08
6 | 14:00 | WELL (L15434) | 0.9
7 | 10:00 | WELL (L15434) | 0.88
8 | 6:00 | WELL (L15434) | 0.87
9 | 18:00 | WELL (L15434) | 0.85
10 | 18:00 | WELL (L15434) | 0.8
11 | 18:00 | WELL (L15434) | 0.78
12 | 18:00 | WELL (L15434) | 0.8
13 | 10:00 | WELL (L15434) | 0.83
14 | 10:00 | WELL (L15434) | 0.95
15 | 6:00 | WELL (L15434) | 1.05
16 | 14:00 | WELL (L15434) | 0.98
17 | 14:00 | WELL (L15434) | 0.85
18 | 6:00 | WELL (L15434) | 0.85
19 | 6:00 | WELL (L15434) | 0.86
20 | 18:00 | WELL (L15434) | 0.88
21 | 10:00 | WELL (L15434) | 0.86
22 | 10:00 | WELL (L15434) | 0.84
23 | 14:00 | WELL (L15434) | 0.82
24 | 6:00 | WELL (L15434) | 0.85
25 | 6:00 | WELL (L15434) | 0.9
26 | 6:00 | WELL (L15434) | 0.85
27 | 10:00 | WELL (L15434) | 0.89
28 | 14:00 | WELL (L15434) | 1.09
29 | 14:00 | WELL (L15434) | 0.95
30 | 18:00 | WELL (L15434) | 0.74
31 | 19:00 | WELL (L15434) | 0.7
Was the chlorine residual ever less than the required minimum residual of .60 mg/L ____ Yes __X__ No
If yes, what was the longest time period until the required level was restored? _____ hours
GWS Serving 3,300 or Fewer |  |  | GWS Serving More Than 3,300
If yes, did you monitor every four hours until the residual returned to .60 mg/L? |  |  | Did continuous monitoring equipment fail at any time this reporting month? ___Yes ___No |  | Date continuous monitoring equipment failed: / /
Attach those results and submit them with this form. |  |  | If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service? ___Yes ___No |  | Date it was returned to service:
|  |  | Attach grab sample results and submit them with this form. |  | / /
Printed Name: |  | Dan Reitz | Title: Vice President | Operator Certification #:
|  |  | Oregon Water Services, Inc. |  |  | D:6528, T:6528
Signature: |  |  | Phone#: (541) 342-1718 | OR
Small Ground Water System
Date: | 2025-09-08