| System Name |  |  | Sweetbrier Train & RV Park |  |  |  |  |  |  |  |  | PWS ID# |  |  | 4 1 94988 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month/Year |  | July 2024 |  |  | Entry Point: |  | wpt-c cabin |  |  |  | Required Minimum Residual |  |  |  |  |  | .5 mg/L |  |
| Date | Time |  |  | Source(s) in use |  |  |  |  |  | Lowest free chlorine residual at entry point to distribution system (mg/L) |  |  |  | Notes |  |  |  |  |
| 1 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | 6:00pm |  |  | .8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | 6:00pm |  |  | .8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | 6:00pm |  |  | .8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | 6:00pm |  |  | .8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | 6:00pm |  |  | .8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | 6:00pm |  |  | .7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | 6:00pm |  |  | .5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | 6:00pm |  |  | .6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | 6:00pm |  |  | .5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | 6:00pm |  |  | .5 |  |  |  |  |  |  |  |  |  | added water and chlorine |  |  |  |  |
| 31 | 6:00pm |  |  | .9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Was the chlorine residual ever less than the required minimum residual of. 0.5 mg/L? Yes x No If yes, what was the longest time period until the required level was restored? hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GWS Serving 3,300 or Fewer |  |  |  |  |  | GWS Serving More Than 3,300 |  |  |  |  |  |  |  |  |  |  |  |  |
| If yes, did you monitor every four hours until the residual returned to mg/L as required? Yes  No Attach those results and submit them with this form. |  |  |  |  |  | Did continuous monitoring equipment fail at any time this reporting month? Yes x No If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required? Yes No Attach grab sample results and submit them with this form. |  |  |  |  |  |  |  |  |  | Date continuous monitoring equipment failed: / / Date it was returned to service: / / |  |  |
| Printed Name: Dustin Anderson |  |  |  |  |  |  |  |  | Title: Owner |  |  |  | Operator Certification #: |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  | Phone #: ( 503) 859-2774 |  |  |  | OR |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  | Small Groundwater System  |  |  |  |  |  |