State of Oregon Drinking Water Program

Monthly Disinfection Report for Ground Water Systems

	System Name
	 Sweetbrier Train & RV Park    
	PWS ID#
	4 1   94988

	Month/Year
	  November 2025
	Entry Point:
	  wpt-c cabin   
	Required Minimum Residual 
	 .5    mg/L 

	
	 
	
	
	

	Date
	Time
	Source(s) in use
	Lowest free chlorine 

residual at entry point to 

distribution system (mg/L)
	Notes

	1
	6:00pm
	Blue House
	.8
	

	2
	6:00pm
	Blue House
	.7
	

	3
	6:00pm
	Blue house
	.7
	

	4
	6:00pm
	Blue house
	.7
	

	5
	6:00pm
	Blue house
	7.
	

	6
	6:00pm
	Blue house
	.7
	 

	7
	6:00pm
	Blue house
	.7
	

	8
	6:00pm
	Blue house
	.7
	 

	9
	6:00pm
	Blue house
	.6
	

	10
	6:00pm
	Blue house
	.6
	

	11
	6:00pm
	Blue house
	.6
	

	12
	6:00pm
	Blue house
	.6
	

	13
	6:00pm
	Blue house
	.6
	 

	14
	6:00pm
	Blue house
	.6
	 

	15
	6:00pm
	Blue house
	.6
	

	16
	6:00pm
	Blue house
	.5
	Added water and chlorine

	17
	6:00pm
	Blue house
	1.0
	

	18
	6:00pm
	Blue house
	1.0
	

	19
	6:00pm
	Blue house
	1.0
	

	20
	6:00pm
	Blue house
	1.0
	 

	21
	6:00pm
	Blue house
	1.0
	 

	22
	6:00pm
	Blue house
	1.0
	

	23
	6:00pm
	Blue house
	1.0
	

	24
	6:00pm
	Blue house
	1.0
	

	25
	6:00pm
	Blue house
	.9
	 

	26
	6:00pm
	Blue house
	.9
	

	27
	6:00pm
	Blue house
	.9
	

	28
	6:00pm
	Blue house
	.9
	

	29
	6:00pm
	Blue house
	.9
	 

	30
	6:00pm
	Blue house
	.9
	 

	31
	6:00pm
	
	
	

	Was the chlorine residual ever less than the required minimum residual of. 0.5 mg/L?   

 FORMCHECKBOX 
 Yes
x No

If yes, what was the longest time period until the required level was restored?  hours – If > 4 hours, Drinking Water Program to be notified by end of next business day.

	GWS Serving 3,300 or Fewer
	GWS Serving More Than 3,300

	If yes, did you monitor every four hours until the residual returned to       mg/L as required?
(Yes

( No 

Attach those results and submit them with this form.
	Did continuous monitoring equipment fail at any time this reporting month? 
 FORMCHECKBOX 
 Yes 
x No

If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?   
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

Attach grab sample results and submit them with this form.
	Date continuous monitoring equipment failed:

      /       /      
Date it was returned to service:
      /       /      

	Printed Name:  Whitney Anderson    
	Title:  Manager     
	Operator Certification #:      

	Signature:  

	Phone #: (
503)  859-2774    
	OR

	Date:  11/10/25
	Cell: 541-707-0997
	Small Groundwater System (


