95127

|  |  |  |  |
| --- | --- | --- | --- |
| System Name | Salmon Run Golf Course      | PWS ID# | 4 1 95127 |
| Month/Year |  March 2024 | Entry Point: | A | Required Minimum Dose  | 186 mJ/cm2  |
|  |  |  |  |  |
| Date | Time | Source(s) in use | Any UV Alarms? (Y/N) | Notes |
| 1 |  | Well, SRC-AA |  |  |
| 2 |  | Well, SRC-AA |  |  |
| 3 |  | Well, SRC-AA |  |  |
| 4 |  | Well, SRC-AA |  |  |
| 5 |  | Well, SRC-AA |  |  |
| 6 |  | Well, SRC-AA |  |  |
| 7 | 0855 | Well, SRC-AA | N |  |
| 8 |  | Well, SRC-AA |  |  |
| 9 |  | Well, SRC-AA |  |  |
| 10 |  | Well, SRC-AA |  |  |
| 11 |  | Well, SRC-AA |  |  |
| 12 |  | Well, SRC-AA |  |  |
| 13 |  | Well, SRC-AA |  |  |
| 14 |  | Well, SRC-AA |  |  |
| 15 | 0740 | Well, SRC-AA | N |  |
| 16 |  | Well, SRC-AA |  |  |
| 17 |  | Well, SRC-AA |  |  |
| 18 | 0926 | Well, SRC-AA | N |  |
| 19 |  | Well, SRC-AA |  |  |
| 20 |  | Well, SRC-AA |  |  |
| 21 |  | Well, SRC-AA |  |  |
| 22 |  | Well, SRC-AA |  |  |
| 23 |  | Well, SRC-AA |  |  |
| 24 |  | Well, SRC-AA |  |  |
| 25 |  | Well, SRC-AA |  |  |
| 26 |  | Well, SRC-AA |  |  |
| 27 | 0940 | Well, SRC-AA | N |  |
| 28 |  | Well, SRC-AA |  |  |
| 29 |  | Well, SRC-AA |  |  |
| 30 |  | Well, SRC-AA |  |  |
| 31 |  | Well, SRC-AA |  |  |
| Was the minimum UV dose ever less than the required dose of 186 mJ/cm2? Or was the alarm ever triggered? [ ] Yes [x] NoIf yes, was a boil notice issued, and DWS contacted? If not, please explain:   |
| **This form is for groundwater systems where no residual disinfection has been required to preventregrowth of pathogens in the pipes.**  | Date & time UV reactor failed: [ ] am [ ] pmDate & time it was returned to service:  [ ]  am [ ] pm |
| Printed Name: Brenda L Vasquez | Title: DRC/Operator | Operator Certification #: T2-070226 |
| Signature: Brenda L Vasquez  | Phone #: (541) 254-1909 | OR |
| Date: 04/09/2024 |  | Small Groundwater System [ ]  |

Return by 10th of following month by either email dwp.dmce@odhsoha.oregon.gov; fax 971-673-0694;

or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350