95127

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Name | | | Salmon Run Golf Course | | | | | | | | | PWS ID# | | | 41 95127 | |
| Month/Year | | April 2024 | | | Entry Point: | A | | | | | Required Minimum Dose | | | | | 186 mJ/cm2 |
|  |  | | |  | | |  | | | | | | |  | | |
| Date | Time | | | Source(s) in use | | | | | Any UV Alarms? (Y/N) | | | | | Notes | | |
| 1 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 2 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 3 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 4 | 1105 | | | Well, SRC-AA | | | | | N | | | | |  | | |
| 5 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 6 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 7 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 8 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 9 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 10 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 11 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 12 | 0725 | | | Well, SRC-AA | | | | | N | | | | |  | | |
| 13 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 14 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 15 | 0948 | | | Well, SRC-AA | | | | | N | | | | |  | | |
| 16 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 17 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 18 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 19 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 20 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 21 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 22 | 1325 | | | Well, SRC-AA | | | | | N | | | | |  | | |
| 23 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 24 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 25 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 26 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 27 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 28 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 29 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| 30 | 1130 | | | Well, SRC-AA | | | | | N | | | | |  | | |
| 31 |  | | | Well, SRC-AA | | | | |  | | | | |  | | |
| Was the minimum UV dose ever less than the required dose of 186 mJ/cm2? Or was the alarm ever triggered? Yes No  If yes, was a boil notice issued, and DWS contacted? If not, please explain: | | | | | | | | | | | | | | | | | |
| **This form is for groundwater systems where no  residual disinfection has been required to prevent regrowth of pathogens in the pipes.** | | | | | | | | | | Date & time UV reactor failed:  am pm  Date & time it was returned to service:    am pm | | | | | | | |
| Printed Name: Brenda L Vasquez | | | | | | | | Title: DRC | | | | | Operator Certification #: T2-070226/D1-070226 | | | | |
| Signature: Brenda L Vasquez | | | | | | | | Phone #: (541) 254-1909 | | | | | OR | | | | |
| Date: 05/07/2024 | | | | | | | |  | | | | | Small Groundwater System | | | | |

Return by 10th of following month by either email [dwp.dmce@odhsoha.oregon.gov](mailto:dwp.dmce@odhsoha.oregon.gov); fax 971-673-0694;

or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350