95127

| System Name |  |  | Salmon Run Golf Course |  |  |  |  |  |  |  |  | PWS ID# |  |  | 4 1 95127 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month/Year |  | September 2025 |  |  | Entry Point: | A |  |  |  |  | Required Minimum Dose |  |  |  |  | 186 mJ/cm2 |
| Date | Time |  |  | Source(s) in use |  |  |  |  | Any UV Alarms? (Y/N) |  |  |  |  | Notes |  |  |
| 1 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | 0800 |  |  | Well, SRC-AA |  |  |  |  | N |  |  |  |  |  |  |  |
| 3 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | 1119 |  |  | Well, SRC-AA |  |  |  |  | N |  |  |  |  |  |  |  |
| 9 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | 0820 |  |  | Well, SRC-AA |  |  |  |  | N |  |  |  |  |  |  |  |
| 16 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | 0840 |  |  | Well, SRC-AA |  |  |  |  | N |  |  |  |  |  |  |  |
| 23 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | 1359 |  |  | Well, SRC-AA |  |  |  |  | N |  |  |  |  |  |  |  |
| 30 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  | Well, SRC-AA |  |  |  |  |  |  |  |  |  |  |  |  |
| Was the minimum UV dose ever less than the required dose of 186 mJ/cm2? Or was the alarm ever triggered? ☐Yes ☒No If yes, was a boil notice issued, and DWS contacted? If not, please explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This form is for groundwater systems where no residual disinfection has been required to prevent regrowth of pathogens in the pipes. |  |  |  |  |  |  |  |  |  | Date & time UV reactor failed: ☐am ☐pm Date & time it was returned to service: ☐ am ☐pm |  |  |  |  |  |  |  |
| Printed Name: Brenda L Vasquez |  |  |  |  |  |  |  | Title: DRC |  |  |  |  | Operator Certification #: T2-D1 070226 |  |  |  |  |
| Signature: Brenda L Vasquez |  |  |  |  |  |  |  | Phone #: (541) 254-1909 |  |  |  |  | OR |  |  |  |  |
| Date: 10-03-25 |  |  |  |  |  |  |  |  |  |  |  |  | Small Groundwater System ☐ |  |  |  |  |

Return by 10th of following month by either email dwp.dmce@odhsoha.oregon.gov; fax 971-673-0694;

or mail to Drinking Water Services, PO Box 14350, Portland, OR 97293-0350