|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Name | | | Jefferson Baptist Church | | | | | | | | PWS ID# | | | 4 1 95136 | | |
| Month/Year | | 10/23 | | | Entry Point: | | B | | | Required Minimum Residual | | | | | | 0.56 mg/L |
|  |  | | |  | | | |  | | | | |  | | | |
| Date | Time | | | Source(s) in use | | | | | Lowest free chlorine  residual at entry point to  distribution system (mg/L) | | | | Notes | | | |
| 1 | 11:00am | | | Gym men bath | | | | | 0.7 | | | |  | | | |
| 2 | 9:00am | | | Gym mens bath | | | | | 0.6 | | | |  | | | |
| 3 | 10:00am | | | Gym mens bath | | | | | 0.7 | | | | Spinkler system turned off | | | |
| 4 | 8:00am | | | Gym mens bath | | | | | 0.8 | | | |  | | | |
| 5 | 8:30am | | | Gym mens bath | | | | | 0.9 | | | |  | | | |
| 6 | 8:00am | | | Gyms men bath | | | | | 0.9 | | | |  | | | |
| 7 | 8:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 8 | 11:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 9 | 8:00am | | | gym mens bath | | | | | 1.0 | | | |  | | | |
| 10 | 8:30am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 11 | 8:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 12 | 8:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 13 | 9:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 14 | 8:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 15 | 11:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 16 | 8:30am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 17 | 8:00am | | | Gym mens bath | | | | | 1.2 | | | |  | | | |
| 18 | 8:30am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 19 | 8:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 20 | 10:00am | | | Gym mens bath | | | | | 1.2 | | | |  | | | |
| 21 | 8:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 22 | 11:00am | | | Gym mens bath | | | | | 1.2 | | | |  | | | |
| 23 | 10:30am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 24 | 8:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 25 | 10:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 26 | 8:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 27 | 9:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 28 | 8:00am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 29 | 11:00am | | | Gym mens bath | | | | | 1.1 | | | |  | | | |
| 30 | 8:30am | | | Gym mens bath | | | | | 1.0 | | | |  | | | |
| 31 | 8:00am | | | Gym m ens bath | | | | | 1.0 | | | |  | | | |
| Was the chlorine residual ever less than the required minimum residual of       mg/L?  Yes  No  If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. | | | | | | | | | | | | | | | | |
| **GWS Serving 3,300 or Fewer** | | | | | | **GWS Serving More Than 3,300** | | | | | | | | | | |
| If yes, did you monitor every four hours until the residual returned to       mg/L as required?  Yes  No  *Attach those results and submit them with this form.* | | | | | | Did continuous monitoring equipment fail at any time this reporting month?  Yes  No  If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?  Yes  No  *Attach grab sample results and submit them with this form.* | | | | | | | | | Date continuous monitoring equipment failed:        /       /  Date it was returned to service:          /       / | |
| Printed Name: Chris Elkins | | | | | | | | Title: maintenance | | | | Operator Certification #: | | | | |
| Signature: | | | | | | | | Phone #: ( 541) 971-5271 | | | | OR | | | | |
| Date: 11 / 6 / 2023 | | | | | | | |  | | | | Small Groundwater System | | | | |