State of Oregon Drinking Water Program
Monthly Disinfection Report for Ground Water Systems

	System Name
	Jefferson Baptist Church
	PWS ID#
	4 1   95136

	Month/Year
	112025/ 
	Entry Point:
	B
	Required Minimum Residual 
	0.56 mg/L 

	
	
	
	
	

	Date
	Time
	Source(s) in use
	Lowest free chlorine 
residual at entry point to 
distribution system (mg/L)
	Notes

	1
	8:00am
	Gym mens bath
	0.9
	     

	2
	11:00am
	Gym mens bath
	1.0
	     

	3
	8:00am
	Gym mens bath
	1.1
	     

	4
	8:00am
	Gym mens bath
	1.0
	     

	5
	8:30am
	Gym mens bath
	0.9
	     

	6
	8:00am
	Gym mens bath
	1.1
	     

	7
	     
	     
	     
	Veterans Day

	8
	8:00 am
	Gym mens bath
	1.0
	     

	9
	11:00am
	Gym mens bath
	0.9
	     

	10
	9:00am 
	Gym mens bath
	1.1
	     

	11
	8:00am
	Gym mens bath
	1.0
	     

	12
	8:00am
	Gym mens bath
	1.0
	     

	13
	8:00am
	Gym mens bath
	1.1
	     

	14
	9:00am
	Gym mens bath
	1.0
	     

	15
	8:00am
	Gym mens bath
	1.0
	     

	16
	11:00am
	Gym mens bath
	1.1
	     

	17
	8:00am
	Gym mens bath
	1.0
	     

	18
	8:00am
	Gym mens bath
	1.1
	     

	19
	8:30am
	Gym mens bath
	1.0
	     

	20
	8:00am
	Gym mens bath
	1.0
	     

	21
	8:00am
	Gym mens bath
	0.9
	     

	22
	8:30 am
	Gym mens bath
	1.0
	     

	23
	11:00am
	Gym mens bath
	1.0
	     

	24
	8:00am
	Gym mens bath
	0.9
	     

	25
	9:00am
	Gym mens bath
	1.0
	     

	26
	8:00am
	Gym mens bath
	1.1
	     

	27
	     
	     
	     
	Thanksgiving

	28
	     
	     
	     
	Off work

	29
	     
	     
	     
	Off work

	30
	     
	     
	     
	Off Work

	31
	     
	     
	     
	     

	Was the chlorine residual ever less than the required minimum residual of       mg/L?    FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No

If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day.

	GWS Serving 3,300 or Fewer
	GWS Serving More Than 3,300

	If yes, did you monitor every four hours until the residual returned to       mg/L as required?
 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No 

Attach those results and submit them with this form.
	Did continuous monitoring equipment fail at any time this reporting month? 
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No

If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?   
 FORMCHECKBOX 
 Yes 
 FORMCHECKBOX 
 No 

Attach grab sample results and submit them with this form.
	Date continuous monitoring equipment failed:
      /       /      
Date it was returned to service:
      /       /      

	Printed Name: Chris Elkins
	Title: maintenance 
	Operator Certification #:      

	Signature:  

	Phone #: (
541) 971-5271
	OR

	Date:  12 / 10 / 2025
	
	Small Groundwater System  FORMCHECKBOX 



