|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| System Name | | | OSU Crew Docks | | | | | | | | | PWS ID# | | | 4 1 41-95390 | | |
| Month/Year | | 04/2022 | | | Entry Point: | | Chart at Mixing Tank | | | | Required Minimum Residual | | | | | | 2.00 mg/L |
|  |  | | |  | | | |  | | | | | |  | | | |
| Date | Time | | | Source(s) in use | | | | | | Lowest free chlorine  residual at entry point to  distribution system (mg/L) | | | | Notes | | | |
| 1 | 12p | | | Chart Recorder at mixing tank | | | | | | 2.97 | | | |  | | | |
| 2 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 3 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 4 | 12p | | | " | | | | | | 2.94 | | | |  | | | |
| 5 | 12p | | | " | | | | | | 2.4 | | | |  | | | |
| 6 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 7 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 8 | 12p | | | " | | | | | | 2.28 | | | |  | | | |
| 9 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 10 | 12p | | | " | | | | | | 2.76 | | | |  | | | |
| 11 | 12p | | | " | | | | | | 2.52 | | | |  | | | |
| 12 | 12p | | | " | | | | | | 2.4 | | | |  | | | |
| 13 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 14 | 12p | | | " | | | | | | 2.55 | | | |  | | | |
| 15 | 12p | | | " | | | | | | 2.97 | | | |  | | | |
| 16 | 12p | | | " | | | | | | 2.7 | | | |  | | | |
| 17 | 12p | | | " | | | | | | 2.28 | | | |  | | | |
| 18 | 12p | | | " | | | | | | 2.55 | | | |  | | | |
| 19 | 12p | | | " | | | | | | 2.52 | | | |  | | | |
| 20 | 12p | | | " | | | | | | 2.79 | | | |  | | | |
| 21 | 12p | | | " | | | | | | 2.55 | | | |  | | | |
| 22 | 12p | | | " | | | | | | 2.43 | | | |  | | | |
| 23 | 12p | | | " | | | | | | 2.55 | | | |  | | | |
| 24 | 12p | | | " | | | | | | 2.31 | | | |  | | | |
| 25 | 12p | | | " | | | | | | 2.28 | | | |  | | | |
| 26 | 12p | | | " | | | | | | 2.52 | | | |  | | | |
| 27 | 12p | | | " | | | | | | 2.79 | | | |  | | | |
| 28 | 12p | | | " | | | | | | 2.55 | | | |  | | | |
| 29 | 12p | | | " | | | | | | 2.43 | | | |  | | | |
| 30 | 12p | | | " | | | | | | 2.76 | | | |  | | | |
| 31 | 12p | | | " | | | | | |  | | | |  | | | |
| Was the chlorine residual ever less than the required minimum residual of 2.00 mg/L? ☐ Yes ☐X No  If yes, what was the longest time period until the required level was restored?       hours – If > 4 hours, Drinking Water Program to be notified by end of next business day. | | | | | | | | | | | | | | | | | |
| **GWS Serving 3,300 or Fewer** | | | | | | **GWS Serving More Than 3,300** | | | | | | | | | | | |
| If yes, did you monitor every four hours until the residual returned to       mg/L as required? ☐ Yes ☐ No  *Attach those results and submit them with this form.* | | | | | | Did continuous monitoring equipment fail at any time this reporting month?  ☐ Yes ☐ No  If yes, were grab samples collected every four hours until the continuous monitoring equipment was returned to service as required?  ☐ Yes ☐ No  *Attach grab sample results and submit them with this form.* | | | | | | | | | | Date continuous monitoring equipment failed:        /       /        Date it was returned to service:          /       / | |
| Printed Name: John Schneider | | | | | | | | | Title: boatman | | | | Operator Certification #: | | | | |
| Signature: | | | | | | | | | Phone #: (  541) 231-4291 | | | | OR | | | | |
| Date: 05 / 10 / 2022 | | | | | | | | |  | | | | Small Groundwater System ☐ | | | | |

December 19, 2012