## Turbidity
OHA - Drinking Water Program -Turbidity Monitoring Report Form | [6 empty] | County: | Clackamas
Conventional or Direct Filtration | [6 empty] | Month/Year: | 2022-10-22
System Name: | Colton Water District |  |  | ID#: 41 | 00202 |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | 0.22 |  |  | 0.22 |  |  | 0.22
2 |  |  | 0.22 | 0.22 |  |  | 0.22
3 |  |  | 0.22 | 0.22 |  |  | 0.22
4 | 0.2 |  |  | 0.2 | 0.2 |  | 0.2
5 |  | 0.2 |  |  |  | 0.2 | 0.2
6
7 |  |  | 0.2 | 0.22 | 0.2 |  | 0.22
8 |  |  | 0.2 | 0.2 |  |  | 0.2
9 |  |  | 0.22 |  |  | 0.22 | 0.22
10 |  |  |  | 0.2 | 0.2 |  | 0.2
11 |  | 0.2 | 0.22 |  |  |  | 0.22
12 | 0.22 |  |  |  | 0.22 | 0.2 | 0.22
13 |  |  |  | 0.2 |  |  | 0.2
14 | 0.22 | 0.2 |  |  |  | 0.2 | 0.22
15 |  |  | 0.2 | 0.22 |  | 0.2 | 0.22
16 |  |  | 0.22 | 0.22 |  |  | 0.2
17 | 0.2 |  |  | 0.22 | 0.2 |  | 0.22
18 |  |  | 0.2 | 0.24 |  |  | 0.24
19 |  |  | 0.24 | 0.22 |  |  | 0.24
20 |  |  | 0.24 | 0.24 |  |  | 0.24
21 |  | 0.24 | 0.26 |  |  |  | 0.26
22
23 |  |  | 0.28 | 0.28 | 0.3 |  | 0.3
24 |  |  | 0.26 | 0.26 |  |  | 0.26
25 |  |  | 0.24 | 0.24 | 0.24 |  | 0.24
26 |  |  | 0.26 | 0.24 |  |  | 0.26
27 |  |  | 0.28 | 0.26 | 0.26 |  | 0.28
28 |  |  | 0.26 | 0.26 | 0.26 |  | 0.26
29 |  |  | 0.26 | 0.26 | 0.28 |  | 0.28
30 |  |  | 0.26 | 0.24 |  |  | 0.26
31 |  |  | 0.24 | 0.24 | 0.26 |  | 0.26
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 0.3 NTU? |  |  |  | yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 1 NTU? |  |  |  | yes | yes |  | yes
All turbidity readings < IFE2 triggers? |  |  |  | yes
Peter Dostert 6574
1 Including continuous NTU data, if applicable. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(e)(B&C))

## CTs
| OHA - Drinking Water Program - Surface Water Quality Data Form | [7 empty] | OHA - Drinking Water Program - Surface Water Quality Data Form | [7 empty] | WTP- : | A
System Name: |  | Colton, City of |  |  |  | ID#: 41 |  | 00202 | Month/Year: | 2022-10-01 | [5 empty] | Giardia Log Inactivation Req'd: |  | 1
| Pre-Chlorination Segment | [7 empty] | Post-Chlorination Segment | [7 empty] | Total
Date / Time | Min. free chlorine residual after pre-chlorinatn ( C )3 | Peak hourly demand flow (Pre) | Contact time (Pre) (T) | Actual CTPre | Highest pH (Pre) | Lowest temp (Pre) | Required CTPre (Total) | Percent log inactivation achieved (Pre) | Min. free chlorine residual after post-chlorinatn ( C )3 | Peak hourly demand flow (Post) | Contact time (Post) (T) | Actual CTPost | Highest pH (Post) | Lowest temp (Post) | Required CTPost (Total) | Percent log inactivation achieved (Post)4 | Total percent of required log inactivation achieved | CT met?3
| [ppm or mg/L] | [GPM] | [minutes] | C X T |  | [° C] | formula | [%] | [ppm or mg/L] | [GPM] | [minutes] | C X T |  | [° C] | formula | [%] | [%] | Yes/No
1 |  | 250 | 35 | 0 |  |  |  |  | 0.95 | 210 | 50 | 47.5 | 6.9 | 12 | 32.6147 | 145.64 | 145.64 | yes
2 |  |  | 35 | 0 |  |  |  |  | 0.96 | 165 | 50 | 48 | 6.9 | 12 | 32.6502 | 147.0131 | 147.0131 | yes
3 |  |  | 35 | 0 |  |  |  |  | 0.97 | 180 | 50 | 48.5 | 6.9 | 12 | 32.6857 | 148.383 | 148.383 | yes
4 |  |  | 35 | 0 |  |  |  |  | 0.98 | 165 | 50 | 49 | 6.9 | 12 | 32.7213 | 149.7497 | 149.7497 | yes
5 |  |  | 35 | 0 |  |  |  |  | 0.99 | 140 | 50 | 49.5 | 6.9 | 12 | 32.7569 | 151.1132 | 151.1132 | yes
6 |  |  | 35 | 0 |  |  |  |  | 1.01 | 165 | 50 | 50.5 | 6.9 | 12 | 32.8283 | 153.8308 | 153.8308 | yes
7 |  |  | 35 | 0 |  |  |  |  | 1 | 190 | 50 | 50 | 7 | 12 | 33.9252 | 147.383 | 147.383 | yes
8 |  |  | 35 | 0 |  |  |  |  | 1.02 | 200 | 50 | 51 | 7 | 12 | 33.9995 | 150.0021 | 150.0021 | yes
9 |  |  | 35 | 0 |  |  |  |  | 1.03 | 185 | 50 | 51.5 | 7 | 12 | 34.0368 | 151.307 | 151.307 | yes
10 |  |  | 35 | 0 |  |  |  |  | 1.05 | 190 | 50 | 52.5 | 7 | 12 | 34.1113 | 153.9077 | 153.9077 | yes
11 |  |  | 35 | 0 |  |  |  |  | 1.01 | 140 | 50 | 50.5 | 7 | 12 | 33.9624 | 148.694 | 148.694 | yes
12 |  |  | 35 | 0 |  |  |  |  | 0.99 | 150 | 50 | 49.5 | 7 | 12 | 33.8881 | 146.0688 | 146.0688 | yes
13 |  |  | 35 | 0 |  |  |  |  | 0.97 | 125 | 50 | 48.5 | 7 | 11 | 36.0539 | 134.5208 | 134.5208 | yes
14 |  |  | 35 | 0 |  |  |  |  | 0.98 | 160 | 50 | 49 | 7 | 11 | 36.0937 | 135.7577 | 135.7577 | yes
15 |  |  | 35 | 0 |  |  |  |  | 1.01 | 145 | 50 | 50.5 | 7 | 11 | 36.2134 | 139.4512 | 139.4512 | yes
16 |  |  | 35 | 0 |  |  |  |  | 1.02 | 130 | 50 | 51 | 7 | 11 | 36.2534 | 140.6765 | 140.6765 | yes
17 |  | 200 | 35 | 0 |  |  |  |  | 1.05 | 180 | 50 | 52.5 | 6.9 | 11 | 35.1476 | 149.3701 | 149.3701 | yes
18 |  |  | 35 | 0 |  |  |  |  | 0.99 | 165 | 50 | 49.5 | 6.9 | 11 | 34.9166 | 141.7662 | 141.7662 | yes
19 |  |  | 35 | 0 |  |  |  |  | 1.02 | 210 | 50 | 51 | 6.9 | 11 | 35.0319 | 145.5816 | 145.5816 | yes
20 |  |  | 35 | 0 |  |  |  |  | 1.03 | 155 | 50 | 51.5 | 6.9 | 11 | 35.0704 | 146.8474 | 146.8474 | yes
21 |  |  | 35 | 0 |  |  |  |  | 1.01 | 165 | 50 | 50.5 | 6.9 | 11 | 34.9934 | 144.3128 | 144.3128 | yes
22 |  |  | 35 | 0 |  |  |  |  | 0.97 | 140 | 50 | 48.5 | 6.9 | 11 | 34.84 | 139.2077 | 139.2077 | yes
23 |  |  | 35 | 0 |  |  |  |  | 0.98 | 145 | 50 | 49 | 6.9 | 11 | 34.8783 | 140.4884 | 140.4884 | yes
24 |  |  | 35 | 0 |  |  |  |  | 0.96 | 135 | 50 | 48 | 6.9 | 11 | 34.8018 | 137.9239 | 137.9239 | yes
25 |  |  | 35 | 0 |  |  |  |  | 1 | 130 | 50 | 50 | 6.9 | 10 | 37.2812 | 134.1158 | 134.1158 | yes
26 |  |  | 35 | 0 |  |  |  |  | 1.03 | 170 | 50 | 51.5 | 6.9 | 10 | 37.4054 | 137.6808 | 137.6808 | yes
27 |  |  | 35 | 0 |  |  |  |  | 1.06 | 180 | 50 | 53 | 6.9 | 10 | 37.53 | 141.2205 | 141.2205 | yes
28 |  |  | 35 | 0 |  |  |  |  | 1.04 | 165 | 50 | 52 | 6.9 | 10 | 37.4468 | 138.8635 | 138.8635 | yes
29 |  |  | 35 | 0 |  |  |  |  | 1.04 | 200 | 50 | 52 | 6.9 | 10 | 37.4468 | 138.8635 | 138.8635 | yes
30 |  |  | 35 | 0 |  |  |  |  | 1.02 | 195 | 50 | 51 | 6.9 | 10 | 37.3639 | 136.4953 | 136.4953 | yes
31 |  |  | 35 | 0 |  |  |  |  | 0.98 | 160 | 50 | 49 | 6.9 | 10 | 37.1987 | 131.725 | 131.725 | yes
3 If Cl2 at entry point is less than 0.2 mg/L or CT not met, notify DWP within 24 hours. | [17 empty] | Revised August 2012
4 At least 0.5-log Giardia inactivation must occur after filtration. OAR 333-061-0050(4)(c)(D) | [17 empty] | I:\DWS\FS\WS Info\Clackamas\Colton - 00202\MORs\CT form template for Colton - excel