## Turbidity
OHA - Drinking Water Program -Turbidity Monitoring Report Form | [6 empty] | County: | clackamas
Conventional or Direct Filtration | [6 empty] | Month/Year: | 2025-06-25
System Name: | Colton Water District |  |  | ID#: 41 | 00202 |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 |  |  | 0.26 | 0.26 | 0.24 |  | 0.26
2 |  |  |  | 0.26 | 0.26 |  | 0.26
3 |  |  |  | 0.24 | 0.22 |  | 0.24
4 |  |  | 0.24 | 0.18 | 0.18 |  | 0.18
5 |  |  |  | 0.2 |  |  | 0.2
6 |  |  | 0.2 | 0.2 | 0.22 |  | 0.22
7 |  |  |  | 0.24 | 0.24 |  | 0.24
8 |  |  | 0.24 | 0.26 | 0.26 |  | 0.26
9 |  |  | 0.26 | 0.24 | 0.24 |  | 0.24
10 |  |  |  | 0.28 | 0.28 |  | 0.28
11 |  |  |  | 0.28 | 0.28 |  | 0.28
12
13 |  |  | 0.28 | 0.28 | 0.26 | 0.26 | 0.28
14 | 0.26 |  | 0.28 | 0.26 | 0.24 | 0.24 | 0.28
15 | 0.24 |  | 0.26 |  |  |  | 0.26
16 |  |  | 0.24 | 0.28 | 0.26 |  | 0.28
17
18 |  |  |  | 0.28 | 0.28 | 0.26 | 0.28
19 |  |  |  |  | 0.3 | 0.28 | 0.3
20 |  |  |  |  | 0.28 | 0.28 | 0.28
21 |  |  |  | 0.28 | 0.28 |  | 0.28
22 | 0.28 |  |  | 0.28 | 0.28 |  | 0.28
23 |  |  | 0.26 | 0.28 | 0.28 |  | 0.28
24 |  |  | 0.26 | 0.26 | 0.26 |  | 0.26
25 |  |  |  | 0.26 | 0.26 |  | 0.26
26 |  |  | 0.28 | 0.28 |  |  | 0.28
27 |  |  | 0.28 | 0.28 |  |  | 0.28
28 |  |  |  | 0.28 | 0.28 |  | 0.28
29 |  |  |  | 0.28 | 0.28 |  | 0.28
30 |  |  | 0.26 | 0.26 | 0.26 |  | 0.26
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 0.3 NTU? |  |  |  | yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 1 NTU? |  |  |  | yes | yes |  | yes
All turbidity readings < IFE2 triggers? |  |  |  | yes
Peter Dostert 6574
1 Including continuous NTU data, if applicable. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(e)(B&C))

## CTs
| OHA - Drinking Water Program - Surface Water Quality Data Form | [7 empty] | OHA - Drinking Water Program - Surface Water Quality Data Form | [7 empty] | WTP- : | A
System Name: |  | Colton, City of |  |  |  | ID#: 41 |  | 00202 | Month/Year: | 2025-06-25 | [5 empty] | Giardia Log Inactivation Req'd: |  | 1
| Pre-Chlorination Segment | [7 empty] | Post-Chlorination Segment | [7 empty] | Total
Date / Time | Min. free chlorine residual after pre-chlorinatn ( C )3 | Peak hourly demand flow (Pre) | Contact time (Pre) (T) | Actual CTPre | Highest pH (Pre) | Lowest temp (Pre) | Required CTPre (Total) | Percent log inactivation achieved (Pre) | Min. free chlorine residual after post-chlorinatn ( C )3 | Peak hourly demand flow (Post) | Contact time (Post) (T) | Actual CTPost | Highest pH (Post) | Lowest temp (Post) | Required CTPost (Total) | Percent log inactivation achieved (Post)4 | Total percent of required log inactivation achieved | CT met?3
| [ppm or mg/L] | [GPM] | [minutes] | C X T |  | [° C] | formula | [%] | [ppm or mg/L] | [GPM] | [minutes] | C X T |  | [° C] | formula | [%] | [%] | Yes/No
1 |  | 150 | 35 | 0 |  |  |  |  | 1.1 | 145 | 50 | 55 | 7 | 11 | 36.5751 | 150.3754 | 150.3754 | yes
2 |  |  | 35 | 0 |  |  |  |  | 1.11 | 200 | 50 | 55.5 | 7 | 11 | 36.6156 | 151.5748 | 151.5748 | yes
3 |  |  | 35 | 0 |  |  |  |  | 1.14 | 210 | 50 | 57 | 7 | 11 | 36.7372 | 155.156 | 155.156 | yes
4 |  |  | 35 | 0 |  |  |  |  | 1.17 | 200 | 50 | 58.5 | 7 | 11 | 36.8593 | 158.7115 | 158.7115 | yes
5 |  |  | 35 | 0 |  |  |  |  | 1.2 | 210 | 50 | 60 | 7 | 11 | 36.9819 | 162.2416 | 162.2416 | yes
6 |  |  | 35 | 0 |  |  |  |  | 1.21 | 200 | 50 | 60.5 | 7 | 11 | 37.0228 | 163.4126 | 163.4126 | yes
7 |  |  | 35 | 0 |  |  |  |  | 1.19 | 185 | 50 | 59.5 | 7 | 11 | 36.941 | 161.0677 | 161.0677 | yes
8 |  |  | 35 | 0 |  |  |  |  | 1.1 | 170 | 50 | 55 | 7 | 11 | 36.5751 | 150.3754 | 150.3754 | yes
9 |  |  | 35 | 0 |  |  |  |  | 1.11 | 190 | 50 | 55.5 | 7 | 11 | 36.6156 | 151.5748 | 151.5748 | yes
10 |  |  | 35 | 0 |  |  |  |  | 1.12 | 200 | 50 | 56 | 7 | 12 | 34.3739 | 162.9144 | 162.9144 | yes
11 |  |  | 35 | 0 |  |  |  |  | 1.05 | 180 | 50 | 52.5 | 7 | 12 | 34.1113 | 153.9077 | 153.9077 | yes
12 |  |  | 35 | 0 |  |  |  |  | 1.01 | 40 | 50 | 50.5 | 7 | 12 | 33.9624 | 148.694 | 148.694 | yes
13 |  |  | 35 | 0 |  |  |  |  | 1 | 315 | 50 | 50 | 7 | 12 | 33.9252 | 147.383 | 147.383 | yes
14 |  |  | 35 | 0 |  |  |  |  | 0.94 | 300 | 50 | 47 | 7 | 12 | 33.7034 | 139.4518 | 139.4518 | yes
15 |  | 200 | 35 | 0 |  |  |  |  | 0.96 | 165 | 50 | 48 | 7 | 12 | 33.7772 | 142.1079 | 142.1079 | yes
16 |  |  | 35 | 0 |  |  |  |  | 0.92 | 170 | 50 | 46 | 7 | 12 | 33.6298 | 136.7833 | 136.7833 | yes
17 |  |  | 35 | 0 |  |  |  |  | 0.91 | 180 | 50 | 45.5 | 7 | 12 | 33.5931 | 135.4444 | 135.4444 | yes
18 |  |  | 35 | 0 |  |  |  |  | 0.99 | 140 | 50 | 49.5 | 7 | 12 | 33.8881 | 146.0688 | 146.0688 | yes
19 |  |  | 35 | 0 |  |  |  |  | 0.95 | 185 | 50 | 47.5 | 7 | 12 | 33.7403 | 140.7814 | 140.7814 | yes
20 |  |  | 35 | 0 |  |  |  |  | 0.96 | 170 | 50 | 48 | 7 | 12 | 33.7772 | 142.1079 | 142.1079 | yes
21 |  |  | 35 | 0 |  |  |  |  | 0.97 | 200 | 50 | 48.5 | 7 | 12 | 33.8141 | 143.4313 | 143.4313 | yes
22 |  |  | 35 | 0 |  |  |  |  | 0.94 | 210 | 50 | 47 | 6.9 | 12 | 32.5792 | 144.2638 | 144.2638 | yes
23 |  |  | 35 | 0 |  |  |  |  | 0.91 | 145 | 50 | 45.5 | 6.9 | 12 | 32.4731 | 140.1158 | 140.1158 | yes
24 |  |  | 35 | 0 |  |  |  |  | 0.95 | 155 | 50 | 47.5 | 6.9 | 12 | 32.6147 | 145.64 | 145.64 | yes
25 |  |  | 35 | 0 |  |  |  |  | 0.96 | 160 | 50 | 48 | 6.9 | 12 | 32.6502 | 147.0131 | 147.0131 | yes
26 |  |  | 35 | 0 |  |  |  |  | 0.94 | 160 | 50 | 47 | 6.9 | 12 | 32.5792 | 144.2638 | 144.2638 | yes
27 |  |  | 35 | 0 |  |  |  |  | 0.95 | 170 | 50 | 47.5 | 6.9 | 12 | 32.6147 | 145.64 | 145.64 | yes
28 |  |  | 35 | 0 |  |  |  |  | 0.93 | 185 | 50 | 46.5 | 6.9 | 12 | 32.5438 | 142.8843 | 142.8843 | yes
29 |  |  | 35 | 0 |  |  |  |  | 0.94 | 220 | 50 | 47 | 6.9 | 12 | 32.5792 | 144.2638 | 144.2638 | yes
30 |  |  | 35 | 0 |  |  |  |  | 0.91 | 200 | 50 | 45.5 | 6.9 | 12 | 32.4731 | 140.1158 | 140.1158 | yes
31 |  |  | 35 | 0 | [6 empty] | 50 | 0 | [5 empty] | yes
3 If Cl2 at entry point is less than 0.2 mg/L or CT not met, notify DWP within 24 hours. | [17 empty] | Revised August 2012
4 At least 0.5-log Giardia inactivation must occur after filtration. OAR 333-061-0050(4)(c)(D) | [17 empty] | I:\DWS\FS\WS Info\Clackamas\Colton - 00202\MORs\CT form template for Colton - excel