## Turbidity and CTs
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | County: | Lincoln
Slow Sand, Membrane, Diatomaceous Earth Filtration, or Unfiltered Systems | [6 empty] | Month/Year: | 2026-02-01
System Name: | Panther Creek |  |  | ID#: 4100603 |  |  | WTP : TP - | Panther creek
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the day 1 [NTU]
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Slow Sand/Membrane/DE Filtration/Unfiltered |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 1 NTU? 2 |  |  |  | Yes / No | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 5 NTU? |  |  |  | Yes / No | Yes / No |  | Yes / No
Notes: |  |  |  |  | PRINTED NAME: Ward Allen Blanchard
SIGNATURE:
[5 empty] | PHONE #: ( 541-992-3214 ) |  |  | CERT #: 419241
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 Filtered systems only.
PAGE 1 of 2
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | WTP- : | Panther Creek
System Name: | Panther creek |  | ID#: 41 | 00603 | Month/Year: | 2026-02-26 | Disinfection Giardia Log Inactiv: | 1
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | 1.07 | 71.41 | 76.4087 | 12.1 | 7.56 | 41.2043 | YES | 74.3
2 | 0.9 | 71.41 | 64.269 | 12.1 | 7.5 | 39.5922 | YES | 75.2
3 | 1.26 | 71.41 | 89.9766 | 12 | 7.51 | 41.6356 | YES | 75.4
4 | 1.42 | 71.41 | 101.4022 | 12.1 | 7.53 | 42.4094 | YES | 79.2
5 | 1.07 | 71.41 | 76.4087 | 12 | 7.64 | 42.6521 | YES | 75.3
6 | 0.66 | 71.41 | 47.1306 | 12 | 7.66 | 41.0181 | YES | 78.9
7 | 1.03 | 71.41 | 73.5523 | 12.1 | 7.7 | 43.0786 | YES | 78.2
8 | 0.67 | 71.41 | 47.8447 | 12 | 7.54 | 39.3845 | YES | 71.6
9 | 1.04 | 71.41 | 74.2664 | 12.1 | 7.67 | 42.676 | YES | 75.4
10 | 0.82 | 71.41 | 58.5562 | 12 | 7.49 | 39.3599 | YES | 76.7
11 | 1.58 | 71.41 | 112.8278 | 12.1 | 7.6 | 44.2555 | YES | 79
12 | 1.64 | 71.41 | 117.1124 | 12 | 7.33 | 40.8028 | YES | 75.3
13 | 1.19 | 71.41 | 84.9779 | 12.1 | 7.51 | 41.0401 | YES | 73.5
14 | 1.19 | 71.41 | 84.9779 | 12 | 7.57 | 42.1852 | YES | 76.6
15 | 0.76 | 71.41 | 54.2716 | 12.1 | 7.5 | 38.9788 | YES | 75.6
16 | 1.22 | 71.41 | 87.1202 | 12 | 7.63 | 43.2272 | YES | 74.3
17 | 1.56 | 71.41 | 111.3996 | 12.1 | 7.6 | 44.1555 | YES | 75.4
18 | 1.55 | 71.41 | 110.6855 | 12 | 7.63 | 44.8692 | YES | 65.3
19 | 1.78 | 71.41 | 127.1098 | 12.1 | 7.68 | 46.5654 | YES | 72.4
20 | 1.31 | 71.41 | 93.5471 | 12 | 7.73 | 45.2324 | YES | 78.9
21 | 1.09 | 71.41 | 77.8369 | 12.1 | 7.67 | 42.917 | YES | 72.3
22 | 0.92 | 71.41 | 65.6972 | 12 | 7.6 | 41.3565 | YES | 81.4
23 | 1.17 | 71.41 | 83.5497 | 12.1 | 7.63 | 42.7025 | YES | 84.5
24 | 1.03 | 71.41 | 73.5523 | 12 | 7.6 | 41.8704 | YES | 69.4
25 | 1.29 | 71.41 | 92.1189 | 12.1 | 7.64 | 43.436 | YES | 72.4
26 | 1.31 | 71.41 | 93.5471 | 12 | 7.7 | 44.7568 | YES | 67.3
27 | 0.96 | 71.41 | 68.5536 | 12.1 | 7.7 | 42.7402 | YES | 72.5
28 | 1.46 | 71.41 | 104.2586 | 12 | 7.69 | 45.3634 | YES | 79.4
29 |  | 71.41 |  | 12
30 |  | 71.41 |  | 12
31 |  | 71.41 |  | 12
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised November 2022
Return by 10th of following month by email, fax, or mail to: dwp.dmce@oha.oregon.gov; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2