## Turbidity and CTs
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | County: | Lincoln
Slow Sand, Membrane, Diatomaceous Earth Filtration, or Unfiltered Systems | [6 empty] | Month/Year: | 2022-11-01
System Name: |  |  |  | ID#: 41 |  |  | WTP : TP - | C
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the day 1 [NTU]
1 | OFF | OFF | 0.02 | 0.04 | OFF | OFF | 0.04
2 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
3 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
4 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
5 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
6 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
7 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
8 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
9 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
10 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
11 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
12 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
13 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
14 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
15 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
16 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
17 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
18 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
19 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
20 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
21 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
22 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
23 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
24 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
25 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
26 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
27 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
28 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
29 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
30 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
31 | OFF | OFF | OFF | OFF | OFF | OFF | Didn't Run Purchased water from Toledo
Slow Sand/Membrane/DE Filtration/Unfiltered |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 1 NTU? 2 |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 5 NTU? |  |  |  | Yes | Yes / No |  | Yes / No
Notes: Plant on Toledo water.. |  |  |  |  | PRINTED NAME: Larry Estes
[5 empty] | SIGNATURE:Lary Estes |  |  | DATE:12/05/2022
[5 empty] | PHONE #: ( 541 ) 961-7367 |  |  | CERT #:T-09229
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 Filtered systems only.
PAGE 1 of 2
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | WTP- : | C
System Name: | SealRock Water District |  | ID#: 41-00798 |  | Month/Year: | 2022-11-01 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | 1.45 | 36.8 | 53.36 | 0.961 | 7.24 | 40.7102 | YES | OFF
2 | [7 empty] | OFF
3 | [7 empty] | OFF
4 | [7 empty] | OFF
5 | [7 empty] | OFF
6 | [7 empty] | OFF
7 | [7 empty] | OFF
8 | [7 empty] | OFF
9 | [7 empty] | OFF
10 | [7 empty] | OFF
11 | [7 empty] | OFF
12 | [7 empty] | OFF
13 | [7 empty] | OFF
14 | [7 empty] | OFF
15 | [7 empty] | OFF
16 | [7 empty] | OFF
17 | [7 empty] | OFF
18 | [7 empty] | OFF
19 | [7 empty] | OFF
20 | [7 empty] | OFF
21 | [7 empty] | OFF
22 | [7 empty] | OFF
23 | [7 empty] | OFF
24 | [7 empty] | OFF
25 | [7 empty] | OFF
26 | [7 empty] | OFF
27 | [7 empty] | OFF
28 | [7 empty] | OFF
29 | [7 empty] | OFF
30 | [7 empty] | OFF
31 | [7 empty] | OFF
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised July 2018
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2