## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Aug_21
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
2 | 0.02 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
3 | OFF | 0.02 | 0.06 | OFF | 0.02 | OFF | 0.06
4 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
5 | 0.02 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
6 | 0.02 | 0.02 | 0.03 | 0.02 | 0.02 | OFF | 0.03
7 | 0.02 | 0.02 | OFF | OFF | OFF | 0.02 | 0.02
8 | 0.02 | OFF | 0.03 | 0.075314 | 0.03 | 0.02 | 0.077296
9 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02 | 0.02
10 | 0.02 | 0.03 | 0.02 | 0.03 | OFF | 0.02 | 0.03
11 | 0.02 | 0.04 | 0.06 | 0.03 | 0.02 | OFF | 0.06
12 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
13 | 0.02 | 0.02 | 0.02 | 0.02 | OFF | 0.02 | 0.02
14 | OFF | 0.02 | 0.03 | 0.03 | 0.03 | OFF | 0.03
15 | 0.03 | OFF | 0.03 | 0.03 | OFF | 0.03 | 0.03
16 | OFF | 0.03 | OFF | 0.03 | 0.03 | OFF | 0.03
17 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
18 | 0.03 | OFF | OFF | OFF | 0.03 | 0.03 | 0.03
19 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
20 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
21 | 0.03 | OFF | 0.03 | 0.03 | OFF | 0.03 | 0.03
22 | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03 | 0.03
23 | 0.03 | OFF | 0.03 | 0.03 | OFF | OFF | 0.03
24 | OFF | OFF | 0.03 | 0.02 | 0.02 | 0.02 | 0.03
25 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
26 | 0.02 | 0.02 | 0.02 | 0.02 | OFF | 0.02 | 0.02
27 | OFF | 0.02 | 0.09 | 0.03 | OFF | OFF | 0.09
28 | 0.03 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | 0.03
29 | 0.03 | OFF | 0.03 | OFF | OFF | 0.03 | 0.03
30 | 0.03 | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
31 | 0.03 | OFF | 0.08 | 0.03 | 0.03 | 0.08 | 0.08
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME: Ricardo R. Saavedra
[5 empty] | SIGNATURE: Ricardo R. Saavedra |  |  | DATE:09/07/2021
[5 empty] | PHONE #: (541) 336-2912 |  |  | CERT #:T-09181
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Aug_21 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.81 | 111 | 89.91 | 21.2 | 7.35 | 10.0068 | YES | 977
2 / 12:00 | 0.82 | 111 | 91.02 | 20.6 | 7.36 | 10.4722 | YES | 994
3 / 16:00 | 0.79 | 111 | 87.69 | 20 | 7.39 | 10.9901 | YES | 1025
4 / 20:00 | 0.79 | 111 | 87.69 | 20.5 | 7.28 | 10.196 | YES | 1011
5 / 8:00 | 0.87 | 111 | 96.57 | 20.4 | 7.3 | 10.4384 | YES | 871
6 / 16:00 | 0.89 | 111 | 98.79 | 20.5 | 7.4 | 10.7891 | YES | 802
7 / 16:00 | 0.73 | 111 | 81.03 | 20.5 | 7.4 | 10.592 | YES | 984
8 / 8:00 | 0.72 | 111 | 79.92 | 20.4 | 7.23 | 9.9931 | YES | 1029
9 / 4:00 | 0.78 | 111 | 86.58 | 19.9 | 7.32 | 10.7657 | YES | 1018
10 / 20:00 | 0.81 | 111 | 89.91 | 20 | 7.11 | 9.9172 | YES | 1011
11 / 4:00 | 0.8 | 111 | 88.8 | 19.9 | 7.19 | 10.2772 | YES | 978
12 / 20:00 | 0.72 | 111 | 79.92 | 20.3 | 7.29 | 10.2902 | YES | 976
13 / 20:00 | 0.57 | 111 | 63.27 | 20.9 | 7.4 | 10.121 | YES | 985
14 / 8:00 | 0.56 | 111 | 62.16 | 21.2 | 7.37 | 9.7951 | YES | 1019
15 / 8:00 | 0.61 | 111 | 67.71 | 21.2 | 7.47 | 10.2291 | YES | 1039
16 / 4:00 | 0.64 | 111 | 71.04 | 20.9 | 7.26 | 9.6802 | YES | 1027
17 / 8:00 | 0.67 | 111 | 74.37 | 20.8 | 7.32 | 10.0029 | YES | 804
18 / 16:00 | 0.71 | 111 | 78.81 | 20.8 | 7.41 | 10.3946 | YES | 970
19 / 20:00 | 0.78 | 111 | 86.58 | 19.9 | 7.32 | 10.7657 | YES | 988
20 / 8:00 | 0.76 | 111 | 84.36 | 19.6 | 7.35 | 11.0843 | YES | 1055
21 / 20:00 | 0.71 | 111 | 78.81 | 19.3 | 7.36 | 11.2879 | YES | 1024
22 / 8:00 | 0.72 | 111 | 79.92 | 19.4 | 7.32 | 11.0582 | YES | 1030
23 / 8:00 | 0.79 | 111 | 87.69 | 18.7 | 7.3 | 11.5986 | YES | 1007
24 / 8:00 | 0.73 | 111 | 81.03 | 18.7 | 7.34 | 11.6924 | YES | 999
25 / 16:00 | 0.79 | 111 | 87.69 | 18.3 | 7.32 | 12.0042 | YES | 979
26 / 20:00 | 0.74 | 111 | 82.14 | 18.4 | 7.38 | 12.124 | YES | 1011
27 / 8:00 | 0.71 | 111 | 78.81 | 18.5 | 7.41 | 12.1366 | YES | 1012
28 / 4:00 | 0.69 | 111 | 76.59 | 18.6 | 7.47 | 12.2999 | YES | 1027
29 / 8:00 | 0.73 | 111 | 81.03 | 18.6 | 7.5 | 12.4955 | YES | 1007
30 / 24:00 | 0.74 | 111 | 82.14 | 18.6 | 7.36 | 11.8732 | YES | 1085
31 / 20:00 | 0.75 | 111 | 83.25 | 18.4 | 7.29 | 11.7369 | YES | 972
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Aug | 0.053388 | 999.99 | 0.055115 | 0.060415 | 999.99 | 0.060278 | 20 | 0 | 0.062005 | 0.81405 | 999.99 | 0.81217 | 0.83554 | 999.99 | 0.83077 | 8 | 0.81217 | 0.81
2 | Aug | 0.058335 | 999.99 | 999.99 | 0.06226 | 0.062143 | 0.061887 | 20 | 0 | 0.065224 | 0.85869 | 999.99 | 999.99 | 0.81517 | 0.82547 | 0.84626 | 12 | 0.81517 | 0.82
3 | Aug | 999.99 | 0.065087 | 0.093588 | 999.99 | 0.07021 | 999.99 | 8 | 0 | 0.093588 | 999.99 | 0.83119 | 0.80115 | 999.99 | 0.7912 | 999.99 | 16 | 0.7912 | 0.79
4 | Aug | 0.070799 | 999.99 | 0.070465 | 0.0697 | 999.99 | 0.078337 | 20 | 0 | 0.079279 | 0.81052 | 999.99 | 0.79615 | 0.81275 | 999.99 | 0.79191 | 20 | 0.79191 | 0.79
5 | Aug | 0.073724 | 999.99 | 0.073253 | 0.076413 | 999.99 | 999.99 | 8 | 0 | 0.078435 | 0.82571 | 999.99 | 0.87164 | 0.90868 | 999.99 | 999.99 | 8 | 0.87164 | 0.87
6 | Aug | 0.075392 | 0.098398 | 0.076374 | 0.08819 | 0.077355 | 999.99 | 4 | 0 | 0.098614 | 0.92352 | 0.94319 | 0.95774 | 0.94083 | 0.89484 | 999.99 | 16 | 0.89484 | 0.89
7 | Aug | 0.076943 | 0.076904 | 999.99 | 999.99 | 0.078553 | 0.074902 | 0 | 0 | 0.080496 | 0.83949 | 0.81764 | 999.99 | 999.99 | 0.72584 | 0.74044 | 16 | 0.72584 | 0.73
8 | Aug | 0.073861 | 999.99 | 0.073194 | 0.075314 | 0.072134 | 0.071604 | 0 | 0 | 0.077296 | 0.74056 | 999.99 | 0.71842 | 0.73797 | 0.7587 | 0.78443 | 8 | 0.71842 | 0.72
9 | Aug | 999.99 | 0.071309 | 0.073606 | 0.07394 | 999.99 | 0.069759 | 4 | 0 | 0.074372 | 999.99 | 0.78184 | 0.79456 | 0.81953 | 999.99 | 0.79138 | 4 | 0.78184 | 0.78
10 | Aug | 0.073213 | 0.071329 | 0.070485 | 0.073037 | 999.99 | 0.072134 | 4 | 0 | 0.074038 | 0.82565 | 0.82294 | 0.85203 | 0.82259 | 999.99 | 0.80751 | 20 | 0.80751 | 0.81
11 | Aug | 0.070249 | 0.072428 | 0.071741 | 0.30574 | 0.21258 | 999.99 | 12 | 0 | 0.31479 | 0.82123 | 0.80221 | 0.8081 | 0.83007 | 0.82913 | 999.99 | 4 | 0.80221 | 0.8
12 | Aug | 0.16461 | 999.99 | 0.14555 | 0.13033 | 999.99 | 0.12743 | 0 | 0 | 0.16463 | 0.82795 | 999.99 | 0.81058 | 0.81205 | 999.99 | 0.72325 | 20 | 0.72325 | 0.72
13 | Aug | 0.11442 | 0.11204 | 0.11267 | 0.11012 | 999.99 | 0.10694 | 0 | 0 | 0.1164 | 0.6736 | 0.61978 | 0.60512 | 0.602 | 999.99 | 0.57014 | 20 | 0.57014 | 0.57
14 | Aug | 999.99 | 0.10682 | 0.10544 | 0.10955 | 0.11284 | 999.99 | 16 | 0 | 0.11284 | 999.99 | 0.57073 | 0.56661 | 0.60777 | 0.61407 | 999.99 | 8 | 0.56661 | 0.57
15 | Aug | 0.11981 | 999.99 | 0.13609 | 0.1385 | 999.99 | 0.14429 | 20 | 0 | 0.1459 | 0.6153 | 999.99 | 0.6123 | 0.63886 | 999.99 | 0.62508 | 8 | 0.6123 | 0.61
16 | Aug | 999.99 | 0.1525 | 999.99 | 0.16162 | 0.16202 | 999.99 | 16 | 0 | 0.16512 | 999.99 | 0.63915 | 999.99 | 0.64893 | 0.67578 | 999.99 | 4 | 0.63915 | 0.64
17 | Aug | 0.1713 | 999.99 | 0.17413 | 0.17776 | 0.18053 | 999.99 | 16 | 0 | 0.18058 | 0.67773 | 999.99 | 0.6693 | 0.72431 | 0.73438 | 999.99 | 8 | 0.6693 | 0.67
18 | Aug | 0.18365 | 999.99 | 999.99 | 999.99 | 0.1853 | 0.18922 | 20 | 0 | 0.1904 | 0.71241 | 999.99 | 999.99 | 999.99 | 0.71017 | 0.7594 | 16 | 0.71017 | 0.71
19 | Aug | 0.18942 | 0.1902 | 0.19105 | 0.18942 | 0.19209 | 0.19272 | 20 | 0 | 0.19397 | 0.78349 | 0.80221 | 0.79291 | 0.78561 | 0.79179 | 0.77589 | 20 | 0.77589 | 0.78
20 | Aug | 0.19054 | 999.99 | 0.1923 | 0.19171 | 0.19356 | 999.99 | 12 | 0 | 0.19436 | 0.78584 | 999.99 | 0.75504 | 0.76635 | 0.77259 | 999.99 | 8 | 0.75504 | 0.76
21 | Aug | 0.19307 | 999.99 | 0.19421 | 0.19519 | 999.99 | 0.19537 | 20 | 0 | 0.19652 | 0.74886 | 999.99 | 0.72908 | 0.74203 | 999.99 | 0.70882 | 20 | 0.70882 | 0.71
22 | Aug | 999.99 | 0.19633 | 0.19537 | 0.19487 | 999.99 | 0.1947 | 8 | 0 | 0.19641 | 999.99 | 0.73031 | 0.71653 | 0.74963 | 999.99 | 0.74715 | 8 | 0.71653 | 0.72
23 | Aug | 0.19303 | 999.99 | 0.1934 | 0.19599 | 999.99 | 999.99 | 12 | 0 | 0.19731 | 0.77153 | 999.99 | 0.78543 | 0.79179 | 999.99 | 999.99 | 8 | 0.78543 | 0.79
24 | Aug | 999.99 | 999.99 | 0.19739 | 0.19454 | 0.19289 | 0.19646 | 8 | 0 | 0.19786 | 999.99 | 999.99 | 0.73349 | 0.77465 | 0.78932 | 0.81334 | 8 | 0.73349 | 0.73
25 | Aug | 0.1957 | 999.99 | 0.19762 | 0.19415 | 0.19385 | 999.99 | 0 | 0 | 0.19778 | 0.82406 | 999.99 | 0.7889 | 0.80192 | 0.78785 | 999.99 | 16 | 0.78785 | 0.79
26 | Aug | 0.19564 | 0.19609 | 0.19346 | 0.19448 | 999.99 | 0.19438 | 12 | 0 | 0.19745 | 0.77277 | 0.78785 | 0.7819 | 0.79415 | 999.99 | 0.74056 | 20 | 0.74056 | 0.74
27 | Aug | 999.99 | 0.19709 | 0.19415 | 0.19715 | 999.99 | 999.99 | 4 | 0 | 0.19756 | 999.99 | 0.72089 | 0.71912 | 0.7216 | 999.99 | 999.99 | 8 | 0.71912 | 0.72
28 | Aug | 0.19582 | 0.19564 | 999.99 | 0.19464 | 0.19845 | 0.19648 | 20 | 0 | 0.19935 | 0.7074 | 0.6855 | 999.99 | 0.69392 | 0.74574 | 0.74362 | 4 | 0.6855 | 0.69
29 | Aug | 0.2001 | 999.99 | 0.2008 | 999.99 | 0.20139 | 0.19937 | 20 | 0 | 0.20184 | 0.74338 | 999.99 | 0.72154 | 999.99 | 0.70899 | 0.72643 | 8 | 0.73 | 0.73
30 | Aug | 0.20247 | 999.99 | 999.99 | 0.20063 | 0.19872 | 999.99 | 12 | 0 | 0.20367 | 0.73367 | 999.99 | 999.99 | 0.75716 | 0.77253 | 999.99 | 24 | 0.74 | 0.74
31 | Aug | 0.20167 | 999.99 | 0.204 | 0.20369 | 999.99 | 0.20271 | 0 | 0 | 0.20467 | 0.76352 | 999.99 | 0.75181 | 0.77872 | 999.99 | 0.75069 | 20 | 0.75069 | 0.75