## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Feb_22
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
2 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
3 | OFF | OFF | 0.02 | 0.038234 | 0.033504 | 0.03 | 0.040963
4 | OFF | 0.02 | OFF | OFF | 0.02 | 0.02 | 0.02
5 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
6 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | OFF | 0.02
7 | 0.02 | OFF | 0.02 | 0.034505 | 0.02 | 0.02 | 0.03
8 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02 | 0.02
9 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
10 | OFF | 0.02 | OFF | 0.02 | 0.030559 | 0.02 | 0.034407
11 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.034878 | 0.03
12 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
13 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
14 | 0.02 | OFF | OFF | OFF | 0.04 | 0.02 | 0.04
15 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
16 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
17 | 0.02 | 0.02 | 0.02 | OFF | OFF | 0.029499 | 0.03
18 | 0.031384 | 0.02838 | 0.029499 | OFF | 0.027321 | 0.027595 | 0.031914
19 | OFF | 0.028773 | OFF | 0.02787 | 0.027203 | 0.029107 | 0.031011
20 | 0.027693 | OFF | 0.027654 | 0.028263 | OFF | 0.02 | 0.031933
21 | 0.028223 | OFF | 0.07 | 0.0337 | 0.034819 | 0.033896 | 0.07
22 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
23 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
24 | 0.03 | OFF | 0.03951 | 0.04428 | 0.04 | 0.043789 | 0.04
25 | 0.03 | OFF | 0.03 | 0.03 | OFF | 0.03 | 0.03
26 | 0.03 | OFF | 0.03 | OFF | 0.03 | 0.03 | 0.03
27 | 0.03158 | OFF | 0.03 | 0.07 | 0.03 | 0.033563 | 0.07
28 | 0.03 | OFF | 0.03 | 0.03 | 0.03 | 0.034466 | 0.03
29
30
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME: Zachary J Dues
[5 empty] | SIGNATURE: Zachary J Dues |  |  | DATE: 03/01/2022
[5 empty] | PHONE #: ( 541)336-2610 |  |  | CERT#:T-269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Feb_22 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 4:00 | 0.77 | 111 | 85.47 | 7.4 | 7.53 | 26.9176 | YES | 799
2 / 12:00 | 0.77 | 111 | 85.47 | 7.3 | 7.66 | 28.395 | YES | 778
3 / 20:00 | 0.74 | 111 | 82.14 | 7.3 | 7.48 | 26.5264 | YES | 794
4 / 4:00 | 0.73 | 111 | 81.03 | 7.6 | 7.48 | 25.9679 | YES | 839
5 / 12:00 | 0.78 | 111 | 86.58 | 7.6 | 7.41 | 25.4728 | YES | 832
6 / 24:00 | 0.78 | 111 | 86.58 | 7.4 | 7.36 | 25.3598 | YES | 829
7 / 12:00 | 0.74 | 111 | 82.14 | 7.5 | 7.34 | 24.8978 | YES | 778
8 / 20:00 | 0.75 | 111 | 83.25 | 7.6 | 7.43 | 25.5671 | YES | 789
9 / 8:00 | 0.74 | 111 | 82.14 | 7.7 | 7.42 | 25.2772 | YES | 782
10 / 4:00 | 0.73 | 111 | 81.03 | 7.7 | 7.45 | 25.5198 | YES | 833
11 / 8:00 | 0.74 | 111 | 82.14 | 7.7 | 7.4 | 25.0977 | YES | 830
12 / 8:00 | 0.72 | 111 | 79.92 | 8 | 7.44 | 24.8955 | YES | 847
13 / 16:00 | 0.72 | 111 | 79.92 | 8.1 | 7.55 | 25.7183 | YES | 812
14 / 16:00 | 0.7 | 111 | 77.7 | 8.4 | 7.59 | 25.5106 | YES | 751
15 / 24:00 | 0.74 | 111 | 82.14 | 8.3 | 7.58 | 25.7082 | YES | 794
16 / 20:00 | 0.78 | 111 | 86.58 | 7.8 | 7.48 | 25.7696 | YES | 800
17 / 20:00 | 0.77 | 111 | 85.47 | 7.8 | 7.53 | 26.204 | YES | 851
18 / 8:00 | 0.77 | 111 | 85.47 | 8 | 7.49 | 25.4884 | YES | 845
19 / 4:00 | 0.75 | 111 | 83.25 | 8 | 7.42 | 24.8039 | YES | 832
20 / 8:00 | 0.75 | 111 | 83.25 | 8 | 7.39 | 24.5407 | YES | 837
21 / 12:00 | 0.74 | 111 | 82.14 | 8 | 7.37 | 24.3391 | YES | 789
22 / 20:00 | 0.73 | 111 | 81.03 | 7.9 | 7.39 | 24.6486 | YES | 783
23 / 8:00 | 0.71 | 111 | 78.81 | 7.7 | 7.42 | 25.1905 | YES | 784
24 / 8:00 | 0.72 | 111 | 79.92 | 7.5 | 7.89 | 30.2614 | YES | 839
25 / 20:00 | 0.71 | 111 | 78.81 | 7.3 | 7.67 | 28.3004 | YES | 834
26 / 24:00 | 0.71 | 111 | 78.81 | 7.3 | 7.51 | 26.7205 | YES | 839
27 / 8:00 | 0.74 | 111 | 82.14 | 7.4 | 7.47 | 26.2548 | YES | 803
28 / 16:00 | 0.72 | 111 | 79.92 | 7.5 | 7.38 | 25.1972 | YES | 805
29 |  | 111 |  |  |  |  | NO
30 |  | 111 |  |  |  |  | NO
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Feb | 999.99 | 0.028969 | 0.029715 | 0.025986 | 0.026791 | 0.038941 | 20 | 0 | 0.038941 | 999.99 | 0.77707 | 0.77507 | 0.78578 | 0.78408 | 0.78985 | 4 | 0.77 | 0.77
2 | Feb | 0.028086 | 999.99 | 0.029853 | 0.025711 | 0.029813 | 0.035486 | 20 | 0 | 0.036703 | 0.78826 | 999.99 | 0.77065 | 0.77789 | 0.77954 | 0.77407 | 12 | 0.77065 | 0.77
3 | Feb | 999.99 | 999.99 | 0.032208 | 0.038234 | 0.033504 | 0.03792 | 12 | 0 | 0.040963 | 999.99 | 999.99 | 0.76099 | 0.76229 | 0.75151 | 0.73361 | 20 | 0.73361 | 0.73
4 | Feb | 999.99 | 0.030559 | 999.99 | 999.99 | 0.029166 | 0.029912 | 16 | 0 | 0.031011 | 999.99 | 0.71759 | 999.99 | 999.99 | 0.80439 | 0.8041 | 4 | 0.71759 | 0.72
5 | Feb | 0.027026 | 0.028223 | 0.025672 | 0.029578 | 0.027065 | 0.026516 | 0 | 0 | 0.029696 | 0.80645 | 0.78649 | 0.79367 | 0.78166 | 0.77884 | 0.78991 | 12 | 0.77884 | 0.78
6 | Feb | 0.027674 | 0.039707 | 0.02895 | 0.029656 | 0.032267 | 999.99 | 4 | 0 | 0.040276 | 0.78961 | 0.77813 | 0.78979 | 0.78561 | 0.77448 | 999.99 | 24 | 0.77448 | 0.77
7 | Feb | 0.028577 | 999.99 | 0.028812 | 0.034505 | 0.034269 | 0.032738 | 12 | 0 | 0.035565 | 0.7733 | 999.99 | 0.76882 | 0.74109 | 0.75504 | 0.76129 | 12 | 0.74109 | 0.74
8 | Feb | 999.99 | 0.032032 | 0.031992 | 999.99 | 999.99 | 0.027242 | 8 | 0 | 0.033111 | 999.99 | 0.75552 | 0.75351 | 999.99 | 999.99 | 0.74874 | 20 | 0.74874 | 0.75
9 | Feb | 0.031227 | 999.99 | 0.03105 | 0.028165 | 0.02683 | 0.030756 | 0 | 0 | 0.031286 | 0.74568 | 999.99 | 0.74115 | 0.75675 | 0.75116 | 0.75039 | 8 | 0.74115 | 0.74
10 | Feb | 999.99 | 0.030854 | 999.99 | 0.028027 | 0.030559 | 0.032306 | 16 | 0 | 0.034407 | 999.99 | 0.73602 | 999.99 | 0.74951 | 0.7594 | 0.74939 | 4 | 0.73602 | 0.74
11 | Feb | 0.030952 | 999.99 | 0.03211 | 0.028027 | 0.027674 | 0.034878 | 20 | 0 | 0.037096 | 0.76005 | 999.99 | 0.74892 | 0.74445 | 0.7488 | 0.74698 | 8 | 0.74445 | 0.74
12 | Feb | 0.031227 | 999.99 | 0.041277 | 0.029794 | 0.027595 | 0.030402 | 8 | 0 | 0.042455 | 0.73867 | 999.99 | 0.73125 | 0.7478 | 0.75192 | 0.75027 | 8 | 0.73125 | 0.73
13 | Feb | 0.031384 | 999.99 | 0.03001 | 0.027144 | 0.027674 | 0.031168 | 0 | 0 | 0.031541 | 0.73697 | 999.99 | 0.7319 | 0.73279 | 0.72319 | 0.72831 | 16 | 0.72319 | 0.72
14 | Feb | 0.031089 | 999.99 | 999.99 | 999.99 | 0.058982 | 0.040511 | 16 | 0 | 0.059826 | 0.73926 | 999.99 | 999.99 | 999.99 | 0.69798 | 0.73208 | 16 | 0.69798 | 0.7
15 | Feb | 0.064047 | 0.05274 | 0.042749 | 0.039118 | 0.039235 | 0.038647 | 4 | 0 | 0.05274 | 0.73685 | 0.75381 | 0.75552 | 0.76476 | 0.78101 | 0.78154 | 24 | 0.74 | 0.74
16 | Feb | 0.039432 | 0.040413 | 0.046302 | 0.044025 | 0.03951 | 0.042435 | 8 | 0 | 0.047637 | 0.77418 | 0.78649 | 0.78843 | 0.77825 | 0.78655 | 0.78938 | 20 | 0.77825 | 0.78
17 | Feb | 0.039078 | 0.041493 | 0.044162 | 0.096278 | 999.99 | 0.029499 | 12 | 0 | 0.096278 | 0.7826 | 0.78979 | 0.78525 | 0.77872 | 999.99 | 0.77742 | 20 | 0.77742 | 0.78
18 | Feb | 0.031384 | 0.02838 | 0.029499 | 999.99 | 0.027321 | 0.027595 | 4 | 0 | 0.031914 | 0.78084 | 0.78955 | 0.77436 | 999.99 | 0.7647 | 0.76612 | 8 | 0.7647 | 0.76
19 | Feb | 999.99 | 0.028773 | 999.99 | 0.02787 | 0.027203 | 0.029107 | 20 | 0 | 0.031011 | 999.99 | 0.76511 | 999.99 | 0.75069 | 0.76394 | 0.75811 | 4 | 0.75069 | 0.75
20 | Feb | 0.027693 | 999.99 | 0.027654 | 0.028263 | 999.99 | 0.029009 | 8 | 0 | 0.031933 | 0.76877 | 999.99 | 0.75245 | 0.76488 | 999.99 | 0.74698 | 8 | 0.74698 | 0.75
21 | Feb | 0.028223 | 999.99 | 0.079828 | 0.0337 | 0.034819 | 0.033896 | 8 | 0 | 0.079828 | 0.75687 | 999.99 | 0.73991 | 0.75139 | 0.74692 | 0.75605 | 12 | 0.73991 | 0.74
22 | Feb | 0.036468 | 999.99 | 0.035683 | 0.036213 | 0.036154 | 0.037037 | 8 | 0 | 0.039549 | 0.75658 | 999.99 | 0.73608 | 0.74397 | 0.73308 | 0.73555 | 20 | 0.73308 | 0.73
23 | Feb | 0.038018 | 999.99 | 0.037135 | 0.038548 | 0.042513 | 0.040178 | 16 | 0 | 0.042729 | 0.72542 | 999.99 | 0.72195 | 0.73055 | 0.7309 | 0.73037 | 8 | 0.72195 | 0.72
24 | Feb | 0.03741 | 999.99 | 0.03951 | 0.04428 | 0.049914 | 0.043789 | 16 | 0 | 0.050051 | 0.72996 | 999.99 | 0.72425 | 0.72454 | 0.73897 | 0.74309 | 8 | 0.72425 | 0.72
25 | Feb | 0.038804 | 999.99 | 0.041768 | 0.038411 | 999.99 | 0.038784 | 8 | 0 | 0.041826 | 0.74857 | 999.99 | 0.72454 | 0.73809 | 999.99 | 0.71206 | 20 | 0.71206 | 0.71
26 | Feb | 0.037272 | 999.99 | 0.042062 | 999.99 | 0.037587 | 0.035251 | 8 | 0 | 0.042062 | 0.71836 | 999.99 | 0.70882 | 999.99 | 0.71694 | 0.72913 | 24 | 0.70882 | 0.71
27 | Feb | 0.03158 | 999.99 | 0.039039 | 0.079554 | 0.038431 | 0.033563 | 12 | 0 | 0.079554 | 0.75169 | 999.99 | 0.72884 | 0.74745 | 0.7531 | 0.76517 | 8 | 0.72884 | 0.73
28 | Feb | 0.03637 | 999.99 | 0.039726 | 0.038156 | 0.035859 | 0.034466 | 8 | 0 | 0.040433 | 0.7554 | 999.99 | 0.73803 | 0.73196 | 0.71671 | 0.71647 | 16 | 0.71647 | 0.72