## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Nov_22
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | 0.021491 | OFF | 0.022806 | 0.020588 | OFF | 0.02363
2 | OFF | 0.019273 | OFF | 0.024082 | 0.019606 | 0.018723 | 0.02
3 | OFF | 0.019763 | 0.018056 | 0.019312 | 0.02 | 0.04 | 0.04
4 | 0.0189 | 0.018939 | 0.01941 | 0.020411 | 0.021275 | 0.028086 | 0.028695
5 | OFF | OFF | 0.023512 | 0.021177 | 0.01833 | 0.019449 | 0.02
6 | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02098 | 0.02
7 | 0.020293 | OFF | 0.04 | 0.021864 | 0.018998 | 0.017624 | 0.04
8 | 0.021628 | OFF | 0.017604 | 0.01835 | OFF | 0.02 | 0.02
9 | OFF | OFF | 0.020274 | 0.020333 | 0.019017 | 0.019135 | 0.018429
10 | 0.018193 | OFF | OFF | 0.017467 | 0.02259 | 0.02 | 0.020863
11 | 0.020431 | OFF | 0.020372 | 0.021 | 0.019665 | OFF | 0.020804
12 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
13 | 0.02 | 0.02 | 0.02 | 0.02 | OFF | 0.02 | 0.02
14 | OFF | 0.02 | 0.02 | 0.023355 | 0.017231 | OFF | 0.02
15 | 0.02 | OFF | 0.016897 | 0.017683 | 0.019979 | OFF | 0.023159
16 | 0.022158 | OFF | 0.02 | 0.03 | 0.022786 | 0.02 | 0.029283
17 | 0.020706 | OFF | 0.024985 | 0.022904 | 0.018016 | 0.024631 | 0.02
18 | 0.024396 | OFF | 0.017977 | OFF | 0.020725 | 0.018487 | 0.02
19 | OFF | 0.017506 | 0.01784 | 0.020921 | OFF | 0.02049 | 0.022001
20 | OFF | OFF | 0.018193 | 0.018919 | 0.023257 | OFF | 0.02
21 | 0.024514 | OFF | 0.02 | 0.02 | 0.02 | 0.022197 | 0.02
22 | 0.02155 | OFF | 0.021059 | 0.02151 | 0.021196 | OFF | 0.022315
23 | 0.022374 | OFF | 0.024435 | 0.025397 | 0.02 | OFF | 0.03
24 | 0.044712 | OFF | 0.076433 | 0.02 | 0.02 | 0.02 | 0.078337
25 | OFF | 0.022099 | 0.02 | 0.02 | OFF | 0.02 | 0.02
26 | OFF | 0.02 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03
27 | OFF | 0.023159 | OFF | 0.023395 | 0.02098 | OFF | 0.02
28 | 0.021432 | OFF | 0.02 | 0.03 | 0.04 | OFF | 0.04
29 | 0.034524 | OFF | 0.042023 | 0.022021 | 0.022237 | 0.021765 | 0.04
30 | 0.02 | 0.02 | 0.02 | OFF | 0.02 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:12/1/22
[5 empty] | PHONE #: ( 541 )336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Nov_22 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 12:00 | 0.76 | 111 | 84.36 | 12.8 | 7.37 | 17.6015 | YES | 826
2 / 4:00 | 0.71 | 111 | 78.81 | 12.6 | 7.48 | 18.4712 | YES | 875
3 / 16:00 | 0.8 | 111 | 88.8 | 12.3 | 7.48 | 19.1901 | YES | 1044
4 / 8:00 | 0.79 | 111 | 87.69 | 11 | 7.51 | 21.0862 | YES | 847
5 / 8:00 | 0.75 | 111 | 83.25 | 10.9 | 7.49 | 20.9825 | YES | 877
6 / 8:00 | 0.83 | 111 | 92.13 | 11.2 | 7.5 | 20.832 | YES | 878
7 / 8:00 | 0.84 | 111 | 93.24 | 11.1 | 7.59 | 21.6652 | YES | 831
8 / 20:00 | 0.83 | 111 | 92.13 | 10.7 | 7.72 | 23.2618 | YES | 850
9 / 12:00 | 0.83 | 111 | 92.13 | 10.4 | 7.64 | 23.0677 | YES | 864
10 / 16:00 | 0.85 | 111 | 94.35 | 10.1 | 7.35 | 21.2952 | YES | 879
11 / 8:00 | 0.85 | 111 | 94.35 | 9.9 | 7.57 | 23.3158 | YES | 812
12 / 24:00 | 0.83 | 111 | 92.13 | 9.7 | 7.55 | 23.4075 | YES | 847
13 / 08:00 | 0.82 | 111 | 91.02 | 9.6 | 7.54 | 23.4536 | YES | 822
14 / 8:00 | 0.85 | 111 | 94.35 | 9.5 | 7.53 | 23.6069 | YES | 858
15 / 16:00 | 0.83 | 111 | 92.13 | 9.3 | 7.57 | 24.2095 | YES | 785
16 / 20:00 | 0.86 | 111 | 95.46 | 9.2 | 7.65 | 25.161 | YES | 788
17 / 16:00 | 0.83 | 111 | 92.13 | 9.2 | 7.62 | 24.8084 | YES | 818
18 / 8:00 | 0.81 | 111 | 89.91 | 8.7 | 7.58 | 25.2307 | YES | 865
19 / 04:00 | 0.81 | 111 | 89.91 | 8 | 7.6 | 26.6324 | YES | 890
20 / 8:00 | 0.81 | 111 | 89.91 | 7.8 | 7.57 | 26.7043 | YES | 891
21 / 20:00 | 0.79 | 111 | 87.69 | 7.5 | 7.57 | 27.1859 | YES | 830
22 / 8:00 | 0.77 | 111 | 85.47 | 7.3 | 7.61 | 27.8889 | YES | 834
23 / 8:00 | 0.76 | 111 | 84.36 | 7.5 | 7.64 | 27.7814 | YES | 832
24 / 16:00 | 0.73 | 111 | 81.03 | 7.9 | 7.57 | 26.2826 | YES | 856
25 / 4:00 | 0.75 | 111 | 83.25 | 8.3 | 7.42 | 24.3125 | YES | 919
26 / 4:00 | 0.74 | 111 | 82.14 | 8.2 | 7.39 | 24.1881 | YES | 831
27 / 4:00 | 0.76 | 111 | 84.36 | 8.2 | 7.42 | 24.503 | YES | 833
28 / 20:00 | 0.76 | 111 | 84.36 | 8.1 | 7.34 | 23.9762 | YES | 840
29 / 8:00 | 0.72 | 111 | 79.92 | 8.1 | 7.28 | 23.3654 | YES | 796
30 / 8:00 | 0.75 | 111 | 83.25 | 8.5 | 7.13 | 21.6575 | YES | 822
31
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Nov | 999.99 | 0.021491 | 999.99 | 0.022806 | 0.020588 | 999.99 | 16 | 0 | 0.02363 | 999.99 | 0.7541 | 999.99 | 0.75546 | 0.769 | 999.99 | 12 | 0.755 | 0.76
2 | Nov | 999.99 | 0.019273 | 999.99 | 0.024082 | 0.019606 | 0.018723 | 12 | 0 | 0.028204 | 999.99 | 0.71206 | 999.99 | 0.73 | 0.76087 | 0.80569 | 4 | 0.712 | 0.71
3 | Nov | 999.99 | 0.019763 | 0.018056 | 0.019312 | 0.025397 | 0.046263 | 20 | 0 | 0.046439 | 999.99 | 0.82424 | 0.87158 | 0.84897 | 0.80086 | 0.80634 | 16 | 0.80086 | 0.8
4 | Nov | 0.0189 | 0.018939 | 0.01941 | 0.020411 | 0.021275 | 0.028086 | 20 | 0 | 0.028695 | 0.81864 | 0.81364 | 0.79738 | 0.82129 | 0.81588 | 0.82029 | 8 | 0.79738 | 0.8
5 | Nov | 999.99 | 999.99 | 0.023512 | 0.021177 | 0.01833 | 0.019449 | 8 | 0 | 0.027203 | 999.99 | 999.99 | 0.75186 | 0.84797 | 0.83254 | 0.82742 | 8 | 0.75186 | 0.75
6 | Nov | 0.025986 | 999.99 | 0.019842 | 0.021962 | 999.99 | 0.02098 | 0 | 0 | 0 | 0.84208 | 999.99 | 0.81234 | 0.83007 | 999.99 | 0.8323 | 8 | 999.99 | 999.99
7 | Nov | 0.020293 | 999.99 | 0.031933 | 0.021864 | 0.018998 | 0.017624 | 0 | 0 | 0.021373 | 0.85827 | 999.99 | 0.85091 | 0.86405 | 0.87264 | 0.86299 | 8 | 999.99 | 999.99
8 | Nov | 0.021628 | 999.99 | 0.017604 | 0.01835 | 0.022433 | 999.99 | 0 | 0 | 0.025338 | 0.83908 | 999.99 | 0.83937 | 0.85015 | 0.85133 | 999.99 | 20 | 999.99 | 999.99
9 | Nov | 0.018016 | 999.99 | 0.020274 | 0.020333 | 0.019017 | 0.019135 | 0 | 0 | 0.018429 | 0.87247 | 999.99 | 0.81075 | 0.83207 | 0.83684 | 0.84885 | 12 | 999.99 | 999.99
10 | Nov | 0.018193 | 999.99 | 999.99 | 0.017467 | 0.02259 | 999.99 | 0 | 0 | 0.020863 | 0.85386 | 999.99 | 999.99 | 0.85639 | 0.85786 | 999.99 | 0 | 999.99 | 999.99
11 | Nov | 0.020431 | 999.99 | 0.020372 | 0.021 | 0.019665 | 0.018036 | 0 | 0 | 0.020804 | 0.82712 | 999.99 | 0.84756 | 0.8624 | 0.85221 | 0.84767 | 0 | 999.99 | 999.99
12 | Nov | 999.99 | 0.018232 | 999.99 | 0.020176 | 0.016387 | 999.99 | 0 | 0 | 0 | 999.99 | 0.83307 | 999.99 | 0.84679 | 0.85733 | 999.99 | 0 | 999.99 | 999.99
13 | Nov | 999.99 | 0.017584 | 0.020038 | 999.99 | 999.99 | 0.020941 | 0 | 0 | 0 | 999.99 | 0.83101 | 0.81576 | 999.99 | 999.99 | 0.82854 | 0 | 999.99 | 999.99
14 | Nov | 999.99 | 0.021098 | 0.03531 | 0.023355 | 0.017231 | 999.99 | 0 | 0 | 0 | 999.99 | 0.84555 | 0.8611 | 0.86952 | 0.8667 | 999.99 | 8 | 0.85 | 0.85
15 | Nov | 999.99 | 0.017467 | 0.016897 | 0.017683 | 0.019979 | 0.018782 | 12 | 0 | 0.023159 | 999.99 | 0.84314 | 0.83289 | 0.83413 | 0.84338 | 0.88948 | 16 | 0.83289 | 0.83
16 | Nov | 0.022158 | 999.99 | 0.025515 | 0.023473 | 0.022786 | 0.027654 | 20 | 0 | 0.029283 | 0.89231 | 999.99 | 0.86116 | 0.85928 | 0.85333 | 0.86045 | 20 | 0.85333 | 0.85
17 | Nov | 0.020706 | 999.99 | 0.024985 | 0.022904 | 0.018016 | 0.024631 | 8 | 0 | 0.027281 | 0.85692 | 999.99 | 0.83643 | 0.83637 | 0.82983 | 0.82 | 20 | 0.82 | 0.82
18 | Nov | 0.024396 | 999.99 | 0.017977 | 999.99 | 0.020725 | 0.018487 | 0 | 0 | 0.028969 | 0.80975 | 999.99 | 0.80586 | 999.99 | 0.81169 | 0.82153 | 8 | 0.80586 | 0.81
19 | Nov | 999.99 | 0.017506 | 0.01784 | 0.020921 | 999.99 | 0.02049 | 12 | 0 | 0.022001 | 999.99 | 0.81275 | 0.82218 | 0.82053 | 999.99 | 0.80822 | 20 | 0.80822 | 0.81
20 | Nov | 999.99 | 999.99 | 0.018193 | 0.018919 | 0.023257 | 999.99 | 16 | 0 | 0.02838 | 999.99 | 999.99 | 0.80728 | 0.83107 | 0.83531 | 999.99 | 8 | 0.80728 | 0.81
21 | Nov | 0.024514 | 999.99 | 0.025946 | 0.025161 | 0.018154 | 0.022197 | 12 | 0 | 0.02891 | 0.81122 | 999.99 | 0.81046 | 0.80904 | 0.80363 | 0.79297 | 20 | 0.79297 | 0.79
22 | Nov | 0.02155 | 999.99 | 0.021059 | 0.02151 | 0.021196 | 999.99 | 12 | 0 | 0.022315 | 0.77889 | 999.99 | 0.7657 | 0.77024 | 0.7743 | 999.99 | 8 | 0.7657 | 0.77
23 | Nov | 0.022374 | 999.99 | 0.024435 | 0.025397 | 0.038136 | 999.99 | 16 | 0 | 0.0411 | 0.7763 | 999.99 | 0.76435 | 0.77677 | 0.77636 | 999.99 | 8 | 0.76435 | 0.76
24 | Nov | 0.044712 | 999.99 | 0.076433 | 0.025161 | 0.026182 | 0.025083 | 8 | 0 | 0.078337 | 0.7455 | 999.99 | 0.73873 | 0.74498 | 0.74021 | 0.74974 | 16 | 0.73 | 0.73
25 | Nov | 999.99 | 0.022099 | 0.031482 | 0.032817 | 999.99 | 0.028891 | 12 | 0 | 0.036232 | 999.99 | 0.74486 | 0.75557 | 0.76971 | 999.99 | 0.75263 | 4 | 0.74486 | 0.74
26 | Nov | 999.99 | 0.033857 | 0.047323 | 0.024926 | 0.023277 | 0.026712 | 8 | 0 | 0.050797 | 999.99 | 0.7438 | 0.75552 | 0.78154 | 0.78378 | 0.77265 | 4 | 0.7438 | 0.74
27 | Nov | 999.99 | 0.023159 | 999.99 | 0.023395 | 0.02098 | 999.99 | 12 | 0 | 0.027321 | 999.99 | 0.7521 | 999.99 | 0.78078 | 0.79691 | 999.99 | 4 | 0.7521 | 0.75
28 | Nov | 0.021432 | 999.99 | 0.026771 | 0.03792 | 0.04642 | 999.99 | 16 | 0 | 0.049305 | 0.77754 | 999.99 | 0.76188 | 0.76388 | 0.76511 | 999.99 | 20 | 0.76188 | 0.76
29 | Nov | 0.034524 | 999.99 | 0.042023 | 0.022021 | 0.022237 | 0.021765 | 8 | 0 | 0.046106 | 0.73744 | 999.99 | 0.71948 | 0.73614 | 0.7468 | 0.77831 | 8 | 0.71948 | 0.72
30 | Nov | 0.023748 | 0.02575 | 0.025495 | 999.99 | 0.028636 | 999.99 | 16 | 0 | 0.032503 | 0.77719 | 0.76441 | 0.7531 | 999.99 | 0.7998 | 999.99 | 8 | 0.7531 | 0.75