## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Jan_23
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | 0.02 | OFF | 0.024415 | 0.023846 | 0.023297 | OFF | 0.02
2 | OFF | 0.02 | OFF | 0.01996 | OFF | OFF | 0.02
3 | 0.02 | OFF | 0.022276 | 0.024788 | 0.020156 | OFF | 0.02
4 | OFF | 0.022904 | 0.02259 | 0.022747 | OFF | OFF | 0.022943
5 | 0.019037 | OFF | 0.021883 | 0.019174 | OFF | OFF | 0.02
6 | 0.020313 | OFF | 0.020725 | 0.018468 | OFF | OFF | 0.022413
7 | 0.019233 | OFF | 0.020863 | 0.023041 | 0.022708 | OFF | 0.023375
8 | 0.018939 | OFF | 0.019096 | OFF | OFF | 0.019312 | 0.023002
9 | OFF | OFF | 0.022649 | 0.015523 | OFF | OFF | 0.023022
10 | 0.019685 | OFF | 0.016858 | 0.022924 | OFF | OFF | 0.02
11 | 0.020921 | OFF | 0.023159 | 0.02 | OFF | OFF | 0.02
12 | 0.02 | OFF | 0.021334 | 0.030088 | 0.01833 | OFF | 0.03052
13 | OFF | 0.018036 | 0.018213 | 0.02 | OFF | 0.020136 | 0.022001
14 | OFF | 0.020136 | 0.019822 | OFF | OFF | 0.019214 | 0.023689
15 | OFF | 0.017212 | 0.021196 | 0.018939 | OFF | 0.020921 | 0.021667
16 | OFF | 0.018625 | 0.022727 | 0.019174 | OFF | OFF | 0.02
17 | OFF | OFF | 0.020764 | 0.021923 | OFF | OFF | 0.021923
18 | 0.02049 | OFF | 0.020882 | 0.021608 | 0.019822 | OFF | 0.021608
19 | OFF | OFF | 0.020745 | 0.019803 | 0.0178 | OFF | 0.022178
20 | 0.020863 | OFF | 0.017329 | 0.018625 | 0.017212 | OFF | 0.021235
21 | OFF | 0.017251 | 0.017997 | 0.019547 | OFF | OFF | 0.020431
22 | 0.017663 | 0.01676 | OFF | OFF | OFF | 0.016996 | 0.019371
23 | 0.015818 | OFF | OFF | 0.018919 | OFF | OFF | 0.019155
24 | OFF | 0.015268 | 0.022276 | OFF | OFF | OFF | 0.022335
25 | 0.020176 | 0.021589 | OFF | 0.02 | OFF | OFF | 0.02
26 | 0.018605 | OFF | 0.018684 | 0.017683 | OFF | OFF | 0.022217
27 | OFF | OFF | 0.021334 | 0.017879 | OFF | OFF | 0.024455
28 | OFF | 0.019842 | 0.019665 | OFF | OFF | OFF | 0.022138
29 | OFF | OFF | 0.01939 | 0.020117 | OFF | 0.016525 | 0.023787
30 | OFF | OFF | 0.016309 | 0.018527 | 0.018193 | OFF | 0.022413
31 | OFF | OFF | 0.021039 | 0.021628 | 0.018134 | OFF | 0.02204
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:02/01/2023
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Jan_23 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.88 | 111 | 97.68 | 8.6 | 7.47 | 24.6209 | YES | 834
2 / 4:00 | 0.87 | 111 | 96.57 | 8.4 | 7.57 | 25.8278 | YES | 889
3 / 8:00 | 0.88 | 111 | 97.68 | 8.3 | 7.46 | 25.0298 | YES | 779
4 / 12:00 | 0.85 | 111 | 94.35 | 7.8 | 7.46 | 25.7925 | YES | 781
5 / 12:00 | 0.81 | 111 | 89.91 | 7.9 | 7.29 | 24.0068 | YES | 788
6 / 8:00 | 0.79 | 111 | 87.69 | 8 | 7.22 | 23.2111 | YES | 823
7 / 8:00 | 0.76 | 111 | 84.36 | 8.4 | 7.23 | 22.607 | YES | 846
8 / 20:00 | 0.77 | 111 | 85.47 | 8.5 | 7.32 | 23.209 | YES | 844
9 / 12:00 | 0.76 | 111 | 84.36 | 8.4 | 7.25 | 22.767 | YES | 842
10 / 8:00 | 0.73 | 111 | 81.03 | 8.6 | 7.24 | 22.3129 | YES | 889
11 / 8:00 | 0.74 | 111 | 82.14 | 8.5 | 7.22 | 22.3284 | YES | 874
12 / 8:00 | 0.72 | 111 | 79.92 | 8.7 | 7.17 | 21.6031 | YES | 802
13 / 20:00 | 0.72 | 111 | 79.92 | 8.5 | 7.22 | 22.278 | YES | 773
14 / 4:00 | 0.73 | 111 | 81.03 | 8.7 | 7.21 | 21.9334 | YES | 796
15 / 4:00 | 0.76 | 111 | 84.36 | 8.7 | 7.24 | 22.2413 | YES | 782
16 / 4:00 | 0.76 | 111 | 84.36 | 8.6 | 7.28 | 22.7066 | YES | 826
17 / 8:00 | 0.77 | 111 | 85.47 | 8.8 | 7.2 | 21.8111 | YES | 850
18 / 8:00 | 0.75 | 111 | 83.25 | 8.8 | 7.21 | 21.8385 | YES | 831
19 / 8:00 | 0.77 | 111 | 85.47 | 8.9 | 7.25 | 22.0518 | YES | 849
20 / 0:00 | 0.8 | 111 | 88.8 | 8.8 | 7.35 | 23.0728 | YES | 767
21 / 8:00 | 0.87 | 111 | 96.57 | 9 | 7.36 | 23.0317 | YES | 778
22 / 20:00 | 0.85 | 111 | 94.35 | 9 | 7.51 | 24.2329 | YES | 800
23 / 12:00 | 0.84 | 111 | 93.24 | 9.1 | 7.77 | 26.3783 | YES | 769
24 / 4:00 | 0.81 | 111 | 89.91 | 9 | 7.86 | 27.332 | YES | 794
25 / 0:00 | 0.81 | 111 | 89.91 | 8.9 | 8.09 | 29.8938 | YES | 853
26 / 12:00 | 0.79 | 111 | 87.69 | 8.9 | 8.03 | 29.1853 | YES | 830
27 / 12:00 | 0.76 | 111 | 84.36 | 9.1 | 8.04 | 28.7967 | YES | 825
28 / 8:00 | 0.74 | 111 | 82.14 | 9.1 | 7.94 | 27.7148 | YES | 842
29 / 8:00 | 0.74 | 111 | 82.14 | 9 | 7.8 | 26.5357 | YES | 835
30 / 8:00 | 0.75 | 111 | 83.25 | 9.3 | 7.89 | 26.8889 | YES | 773
31 / 8:00 | 0.79 | 111 | 87.69 | 8.6 | 7.9 | 28.4203 | YES | 782
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Jan | 0.026104 | 999.99 | 0.024415 | 0.023846 | 0.023297 | 999.99 | 0 | 0 | 0.027262 | 0.87741 | 999.99 | 0.88083 | 0.89708 | 0.90209 | 999.99 | 8 | 0.88083 | 0.88
2 | Jan | 999.99 | 0.026359 | 999.99 | 0.01996 | 999.99 | 999.99 | 4 | 0 | 0.026359 | 999.99 | 0.88395 | 999.99 | 0.90509 | 999.99 | 999.99 | 4 | 0.88395 | 0.88
3 | Jan | 0.025004 | 999.99 | 0.022276 | 0.024788 | 0.020156 | 999.99 | 0 | 0 | 0.025809 | 0.88654 | 999.99 | 0.87035 | 0.87989 | 0.88837 | 999.99 | 8 | 0.87035 | 0.87
4 | Jan | 999.99 | 0.022904 | 0.02259 | 0.022747 | 999.99 | 999.99 | 12 | 0 | 0.022943 | 999.99 | 0.85362 | 0.84944 | 0.8422 | 999.99 | 999.99 | 12 | 0.8422 | 0.84
5 | Jan | 0.019037 | 999.99 | 0.021883 | 0.019174 | 999.99 | 999.99 | 8 | 0 | 0.026476 | 0.81705 | 999.99 | 0.8144 | 0.81517 | 999.99 | 999.99 | 12 | 0.8144 | 0.81
6 | Jan | 0.020313 | 999.99 | 0.020725 | 0.018468 | 999.99 | 999.99 | 0 | 0 | 0.022413 | 0.78266 | 999.99 | 0.79309 | 0.79585 | 999.99 | 999.99 | 8 | 0.79309 | 0.79
7 | Jan | 0.019233 | 999.99 | 0.020863 | 0.023041 | 0.022708 | 999.99 | 16 | 0 | 0.023375 | 0.77742 | 999.99 | 0.75404 | 0.77654 | 0.78649 | 999.99 | 8 | 0.75404 | 0.75
8 | Jan | 0.018939 | 999.99 | 0.019096 | 999.99 | 999.99 | 0.019312 | 8 | 0 | 0.023002 | 0.78143 | 999.99 | 0.77613 | 999.99 | 999.99 | 0.76665 | 20 | 0.76665 | 0.77
9 | Jan | 999.99 | 999.99 | 0.022649 | 0.015523 | 999.99 | 999.99 | 8 | 0 | 0.023022 | 999.99 | 999.99 | 0.75251 | 0.75923 | 999.99 | 999.99 | 12 | 0.76 | 0.76
10 | Jan | 0.019685 | 999.99 | 0.016858 | 0.022924 | 999.99 | 999.99 | 12 | 0 | 0.025966 | 0.7392 | 999.99 | 0.72943 | 0.74533 | 999.99 | 999.99 | 8 | 0.72943 | 0.73
11 | Jan | 0.020921 | 999.99 | 0.023159 | 0.028989 | 999.99 | 999.99 | 12 | 0 | 0.031462 | 0.74704 | 999.99 | 0.74704 | 0.75122 | 999.99 | 999.99 | 8 | 0.74704 | 0.75
12 | Jan | 0.034623 | 999.99 | 0.021334 | 0.030088 | 0.01833 | 999.99 | 12 | 0 | 0.03052 | 0.74409 | 999.99 | 0.73043 | 0.74297 | 0.77448 | 999.99 | 8 | 0.73043 | 0.73
13 | Jan | 999.99 | 0.018036 | 0.018213 | 999.99 | 999.99 | 0.020136 | 4 | 0 | 0.022001 | 999.99 | 0.75663 | 0.74751 | 999.99 | 999.99 | 0.71653 | 20 | 0.71653 | 0.72
14 | Jan | 999.99 | 0.020136 | 0.019822 | 999.99 | 999.99 | 0.019214 | 8 | 0 | 0.023689 | 999.99 | 0.7206 | 0.7756 | 999.99 | 999.99 | 0.76453 | 4 | 0.7206 | 0.72
15 | Jan | 999.99 | 0.017212 | 0.021196 | 0.018939 | 999.99 | 0.020921 | 12 | 0 | 0.021667 | 999.99 | 0.7617 | 0.77136 | 0.78997 | 999.99 | 0.77342 | 4 | 0.7617 | 0.76
16 | Jan | 999.99 | 0.018625 | 0.022727 | 0.019174 | 999.99 | 999.99 | 8 | 0 | 0.025652 | 999.99 | 0.76918 | 0.79279 | 0.78737 | 999.99 | 999.99 | 4 | 0.76918 | 0.77
17 | Jan | 999.99 | 999.99 | 0.020764 | 0.021923 | 999.99 | 999.99 | 12 | 0 | 0.021923 | 999.99 | 999.99 | 0.75764 | 0.76988 | 999.99 | 999.99 | 8 | 0.75764 | 0.76
18 | Jan | 0.02049 | 999.99 | 0.020882 | 0.021608 | 0.019822 | 999.99 | 12 | 0 | 0.021608 | 0.75805 | 999.99 | 0.74162 | 0.76093 | 0.78649 | 999.99 | 8 | 0.74162 | 0.74
19 | Jan | 999.99 | 999.99 | 0.020745 | 0.019803 | 0.0178 | 999.99 | 16 | 0 | 0.022178 | 999.99 | 999.99 | 0.77607 | 0.81352 | 0.81199 | 999.99 | 8 | 0.77607 | 0.78
20 | Jan | 0.020863 | 999.99 | 0.017329 | 0.018625 | 0.017212 | 999.99 | 12 | 0 | 0.021235 | 0.79503 | 999.99 | 0.80657 | 0.83454 | 0.8601 | 999.99 | 0 | 0.80657 | 0.81
21 | Jan | 999.99 | 0.017251 | 0.017997 | 0.019547 | 999.99 | 999.99 | 8 | 0 | 0.020431 | 999.99 | 0.87217 | 0.87011 | 0.879 | 999.99 | 999.99 | 8 | 0.87011 | 0.87
22 | Jan | 0.017663 | 0.01676 | 999.99 | 999.99 | 999.99 | 0.016996 | 4 | 0 | 0.019371 | 0.86422 | 0.87258 | 999.99 | 999.99 | 999.99 | 0.85986 | 20 | 0.85986 | 0.86
23 | Jan | 0.015818 | 999.99 | 999.99 | 0.018919 | 999.99 | 999.99 | 12 | 0 | 0.019155 | 0.86799 | 999.99 | 999.99 | 0.84273 | 999.99 | 999.99 | 12 | 0.84273 | 0.84
24 | Jan | 999.99 | 0.015268 | 0.022276 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.022335 | 999.99 | 0.8144 | 0.83213 | 999.99 | 999.99 | 999.99 | 4 | 0.8144 | 0.81
25 | Jan | 0.020176 | 0.021589 | 999.99 | 0.033936 | 999.99 | 999.99 | 12 | 0 | 0.035074 | 0.80486 | 0.81582 | 999.99 | 0.81146 | 999.99 | 999.99 | 0 | 0.81146 | 0.81
26 | Jan | 0.018605 | 999.99 | 0.018684 | 0.017683 | 999.99 | 999.99 | 8 | 0 | 0.022217 | 0.80634 | 999.99 | 0.79768 | 0.78985 | 999.99 | 999.99 | 12 | 0.78985 | 0.79
27 | Jan | 999.99 | 999.99 | 0.021334 | 0.017879 | 999.99 | 999.99 | 8 | 0 | 0.024455 | 999.99 | 999.99 | 0.77701 | 0.77312 | 999.99 | 999.99 | 12 | 0.77312 | 0.77
28 | Jan | 999.99 | 0.019842 | 0.019665 | 999.99 | 999.99 | 999.99 | 4 | 0 | 0.022138 | 999.99 | 0.74227 | 0.7438 | 999.99 | 999.99 | 999.99 | 8 | 0.74227 | 0.74
29 | Jan | 999.99 | 999.99 | 0.01939 | 0.020117 | 999.99 | 0.016525 | 8 | 0 | 0.023787 | 999.99 | 999.99 | 0.73432 | 0.74821 | 999.99 | 0.75133 | 8 | 0.73432 | 0.73
30 | Jan | 999.99 | 999.99 | 0.016309 | 0.018527 | 0.018193 | 999.99 | 12 | 0 | 0.022413 | 999.99 | 999.99 | 0.76305 | 0.77583 | 0.78779 | 999.99 | 8 | 0.76305 | 0.76
31 | Jan | 999.99 | 999.99 | 0.021039 | 0.021628 | 0.018134 | 999.99 | 16 | 0 | 0.02204 | 999.99 | 999.99 | 0.77424 | 0.79138 | 0.80533 | 999.99 | 8 | 0.77424 | 0.77