## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Jun_23
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
2 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
3 | OFF | 0.02 | OFF | 0.02 | OFF | 0.02 | 0.02
4 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
5 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
6 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
7 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
9 | OFF | 0.02 | 0.03 | 0.02 | 0.02 | OFF | 0.03
10 | OFF | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
11 | 0.02 | 0.02 | OFF | OFF | 0.02 | OFF | 0.02
12 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02 | 0.02
13 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
17 | 0.02 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
18 | OFF | 0.02 | OFF | 0.02 | OFF | OFF | 0.02
19 | OFF | 0.02 | 0.02 | 0.02 | OFF | OFF | 0.02
20 | 0.02 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
21 | OFF | 0.03 | 0.02 | 0.02 | 0.02 | OFF | 0.03
22 | OFF | 0.02 | OFF | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | OFF | 0.03 | OFF | 0.03
24 | OFF | OFF | 0.03 | 0.02 | 0.02 | OFF | 0.03
25 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
26 | OFF | OFF | 0.02 | 0.03 | 0.02 | 0.02 | 0.03
27 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
28 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
29 | OFF | OFF | 0.02 | 0.028047 | 0.023827 | 0.02 | 0.03
30 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J. Dues
[5 empty] | SIGNATURE:Zachary J. Dues |  |  | DATE:07/03/2023
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Jun_23 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.72 | 111 | 79.92 | 15.8 | 7.39 | 14.4521 | YES | 796
2 / 8:00 | 0.74 | 111 | 82.14 | 15.5 | 7.59 | 15.9154 | YES | 885
3 / 4:00 | 0.72 | 111 | 79.92 | 15.5 | 7.52 | 15.4728 | YES | 883
4 / 12:00 | 0.7 | 111 | 77.7 | 15.6 | 7.48 | 15.1092 | YES | 894
5 / 8:00 | 0.71 | 111 | 78.81 | 15.5 | 7.44 | 15.0036 | YES | 822
6 / 8:00 | 0.72 | 111 | 79.92 | 16 | 7.45 | 14.5813 | YES | 814
7 / 8:00 | 0.72 | 111 | 79.92 | 16.3 | 7.45 | 14.2919 | YES | 826
8 / 8:00 | 0.72 | 111 | 79.92 | 16.5 | 7.33 | 13.4868 | YES | 826
9 / 4:00 | 0.69 | 111 | 76.59 | 16.6 | 7.32 | 13.3013 | YES | 826
10 / 20:00 | 0.68 | 111 | 75.48 | 16.5 | 7.29 | 13.227 | YES | 826
11 / 4:00 | 0.7 | 111 | 77.7 | 16.8 | 7.18 | 12.4716 | YES | 826
12 / 4:00 | 0.68 | 111 | 75.48 | 17.1 | 7.24 | 12.4709 | YES | 849
13 / 8:00 | 0.71 | 111 | 78.81 | 17.3 | 7.43 | 13.2525 | YES | 878
14 / 8:00 | 0.7 | 111 | 77.7 | 17.4 | 7.34 | 12.7155 | YES | 812
15 / 8:00 | 0.68 | 111 | 75.48 | 17.4 | 7.23 | 12.1766 | YES | 852
16 / 4:00 | 0.71 | 111 | 78.81 | 17.4 | 7.23 | 12.2186 | YES | 857
17 / 8:00 | 0.68 | 111 | 75.48 | 17.6 | 7.11 | 11.4875 | YES | 585
18 / 4:00 | 0.68 | 111 | 75.48 | 17.4 | 7.2 | 12.0411 | YES | 760
19 / 4:00 | 0.68 | 111 | 75.48 | 17.1 | 7.22 | 12.3782 | YES | 898
20 / 24:00 | 0.68 | 111 | 75.48 | 17.2 | 7.38 | 13.0507 | YES | 852
21 / 4:00 | 0.69 | 111 | 76.59 | 17 | 7.41 | 13.3906 | YES | 822
22 / 4:00 | 0.72 | 111 | 79.92 | 16.9 | 7.24 | 12.6974 | YES | 844
23 / 8:00 | 0.73 | 111 | 81.03 | 16.8 | 7.42 | 13.6841 | YES | 847
24 / 8:00 | 0.71 | 111 | 78.81 | 16.8 | 7.25 | 12.8159 | YES | 832
25 / 8:00 | 0.72 | 111 | 79.92 | 17.3 | 7.22 | 12.2692 | YES | 848
26 / 8:00 | 0.73 | 111 | 81.03 | 17.7 | 7.13 | 11.5623 | YES | 876
27 / 20:00 | 0.75 | 111 | 83.25 | 18.4 | 7.42 | 12.3204 | YES | 851
28 / 8:00 | 0.72 | 111 | 79.92 | 18.8 | 7.38 | 11.7753 | YES | 843
29 / 8:00 | 0.7 | 111 | 77.7 | 19.1 | 7.23 | 10.8851 | YES | 775
30 / 12:00 | 0.7 | 111 | 77.7 | 19.4 | 7.13 | 10.2744 | YES | 834
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Jun | 999.99 | 999.99 | 0.064478 | 0.034642 | 0.029264 | 0.03211 | 8 | 0 | 0.068738 | 999.99 | 999.99 | 0.70882 | 0.74527 | 0.7942 | 0.79379 | 12 | 0.70882 | 0.71
2 | Jun | 999.99 | 999.99 | 0.076295 | 0.033013 | 999.99 | 999.99 | 8 | 0 | 0.076295 | 999.99 | 999.99 | 0.7332 | 0.75375 | 999.99 | 999.99 | 8 | 0.7332 | 0.73
3 | Jun | 999.99 | 0.063477 | 999.99 | 0.032444 | 999.99 | 0.037371 | 4 | 0 | 0.063477 | 999.99 | 0.7153 | 999.99 | 0.72095 | 999.99 | 0.7223 | 4 | 0.7153 | 0.72
4 | Jun | 999.99 | 999.99 | 999.99 | 0.032562 | 0.039412 | 999.99 | 16 | 0 | 0.03953 | 999.99 | 999.99 | 999.99 | 0.71153 | 0.72195 | 999.99 | 12 | 0.71153 | 0.71
5 | Jun | 999.99 | 999.99 | 0.058393 | 0.03582 | 0.032444 | 0.036055 | 8 | 0 | 0.059748 | 999.99 | 999.99 | 0.70587 | 0.74356 | 0.74798 | 0.7501 | 8 | 0.70587 | 0.71
6 | Jun | 999.99 | 999.99 | 0.049541 | 0.03315 | 0.030697 | 0.031344 | 8 | 0 | 0.052897 | 999.99 | 999.99 | 0.73019 | 0.74745 | 0.75663 | 0.75086 | 8 | 0.73019 | 0.73
7 | Jun | 999.99 | 999.99 | 0.098025 | 0.038705 | 0.035211 | 999.99 | 8 | 0 | 0.098025 | 999.99 | 999.99 | 0.71318 | 0.74415 | 0.75457 | 999.99 | 8 | 0.71318 | 0.71
8 | Jun | 999.99 | 999.99 | 0.04958 | 0.033661 | 0.045497 | 999.99 | 8 | 0 | 0.050895 | 999.99 | 999.99 | 0.71665 | 0.72931 | 0.73396 | 999.99 | 8 | 0.71665 | 0.72
9 | Jun | 999.99 | 0.086718 | 0.047421 | 0.033818 | 0.037194 | 999.99 | 4 | 0 | 0.086718 | 999.99 | 0.6948 | 0.70446 | 0.73744 | 0.74244 | 999.99 | 4 | 0.6948 | 0.69
10 | Jun | 999.99 | 999.99 | 0.052387 | 999.99 | 999.99 | 0.04744 | 8 | 0 | 0.053741 | 999.99 | 999.99 | 0.69916 | 999.99 | 999.99 | 0.67614 | 20 | 0.67614 | 0.68
11 | Jun | 0.043946 | 0.043986 | 999.99 | 999.99 | 0.086188 | 999.99 | 16 | 0 | 0.086228 | 0.70605 | 0.72083 | 999.99 | 999.99 | 0.70682 | 999.99 | 16 | 0.70682 | 0.71
12 | Jun | 999.99 | 0.045105 | 0.045752 | 999.99 | 999.99 | 0.045772 | 20 | 0 | 0.047048 | 999.99 | 0.67985 | 0.71859 | 999.99 | 999.99 | 0.70752 | 4 | 0.67985 | 0.68
13 | Jun | 999.99 | 999.99 | 0.051484 | 0.041826 | 0.041768 | 999.99 | 8 | 0 | 0.07129 | 999.99 | 999.99 | 0.70752 | 0.72101 | 0.74156 | 999.99 | 8 | 0.70752 | 0.71
14 | Jun | 999.99 | 999.99 | 0.051955 | 0.047224 | 0.093667 | 999.99 | 16 | 0 | 0.093667 | 999.99 | 999.99 | 0.70581 | 0.71418 | 0.73302 | 999.99 | 8 | 0.70581 | 0.71
15 | Jun | 999.99 | 999.99 | 0.074332 | 0.046969 | 0.04799 | 999.99 | 8 | 0 | 0.074332 | 999.99 | 999.99 | 0.68397 | 0.71382 | 0.72283 | 999.99 | 8 | 0.68397 | 0.68
16 | Jun | 999.99 | 0.060101 | 0.048441 | 0.050895 | 999.99 | 999.99 | 4 | 0 | 0.060101 | 999.99 | 0.69415 | 0.71583 | 0.71853 | 999.99 | 999.99 | 4 | 0.69415 | 0.69
17 | Jun | 0.068463 | 999.99 | 0.065224 | 0.054271 | 999.99 | 999.99 | 8 | 0 | 0.067305 | 0.68562 | 999.99 | 0.68944 | 0.70605 | 999.99 | 999.99 | 8 | 0.68944 | 0.69
18 | Jun | 999.99 | 0.068974 | 999.99 | 0.051955 | 999.99 | 999.99 | 4 | 0 | 0.072468 | 999.99 | 0.68727 | 999.99 | 0.7107 | 999.99 | 999.99 | 4 | 0.68727 | 0.69
19 | Jun | 999.99 | 0.082891 | 0.074764 | 0.062594 | 999.99 | 999.99 | 4 | 0 | 0.084167 | 999.99 | 0.68662 | 0.69039 | 0.70358 | 999.99 | 999.99 | 4 | 0.68662 | 0.69
20 | Jun | 0.090134 | 999.99 | 999.99 | 0.057903 | 0.059748 | 999.99 | 16 | 0 | 0.06016 | 0.68202 | 999.99 | 999.99 | 0.70022 | 0.70935 | 999.99 | 24 | 0.68 | 0.68
21 | Jun | 999.99 | 0.10645 | 0.071604 | 0.08874 | 0.060827 | 999.99 | 4 | 0 | 0.10937 | 999.99 | 0.67555 | 0.71082 | 0.74409 | 0.73809 | 999.99 | 4 | 0.67555 | 0.68
22 | Jun | 999.99 | 0.073763 | 999.99 | 0.070151 | 0.065617 | 999.99 | 4 | 0 | 0.075 | 999.99 | 0.72707 | 999.99 | 0.74303 | 0.76335 | 999.99 | 4 | 0.72707 | 0.73
23 | Jun | 999.99 | 999.99 | 0.083362 | 999.99 | 0.082812 | 999.99 | 16 | 0 | 0.085187 | 999.99 | 999.99 | 0.72896 | 999.99 | 0.73396 | 999.99 | 8 | 0.72896 | 0.73
24 | Jun | 999.99 | 999.99 | 0.11208 | 0.085344 | 0.081791 | 999.99 | 8 | 0 | 0.11508 | 999.99 | 999.99 | 0.71565 | 0.74032 | 0.75398 | 999.99 | 8 | 0.71565 | 0.72
25 | Jun | 999.99 | 999.99 | 0.095689 | 0.085482 | 0.086581 | 999.99 | 8 | 0 | 0.096297 | 999.99 | 999.99 | 0.72507 | 0.75669 | 0.76617 | 999.99 | 8 | 0.72507 | 0.73
26 | Jun | 999.99 | 999.99 | 0.099379 | 0.097789 | 0.08872 | 0.095905 | 8 | 0 | 0.099379 | 999.99 | 999.99 | 0.72525 | 0.74592 | 0.75769 | 0.76729 | 8 | 0.72525 | 0.73
27 | Jun | 999.99 | 999.99 | 999.99 | 0.10533 | 0.094354 | 0.10299 | 8 | 0 | 0.14089 | 999.99 | 999.99 | 999.99 | 0.73956 | 0.75045 | 0.75976 | 20 | 0.75 | 0.75
28 | Jun | 999.99 | 999.99 | 0.11685 | 0.10878 | 0.029048 | 999.99 | 8 | 0 | 0.11899 | 999.99 | 999.99 | 0.72819 | 0.73897 | 0.75681 | 999.99 | 8 | 0.72819 | 0.73
29 | Jun | 999.99 | 999.99 | 0.055999 | 0.028047 | 0.023827 | 0.025456 | 8 | 0 | 0.061083 | 999.99 | 999.99 | 0.7117 | 0.73573 | 0.74868 | 0.7385 | 8 | 0.7117 | 0.71
30 | Jun | 999.99 | 999.99 | 0.047892 | 0.035329 | 0.031698 | 0.034799 | 8 | 0 | 0.050345 | 999.99 | 999.99 | 0.71194 | 0.71 | 0.74062 | 0.75075 | 12 | 0.71 | 0.71