## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Sep_23
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
2 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
3 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
4 | OFF | OFF | 0.03 | 0.03 | OFF | OFF | 0.03
5 | OFF | OFF | 0.03 | 0.03 | 0.02 | OFF | 0.03
6 | OFF | OFF | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
7 | OFF | OFF | OFF | 0.04 | 0.02 | OFF | 0.04
8 | OFF | OFF | 0.04 | 0.03 | 0.02 | OFF | 0.04
9 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
10 | OFF | OFF | 0.03 | 0.02 | 0.02 | OFF | 0.03
11 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
12 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
13 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.03
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
17 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
18 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
19 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
20 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
21 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
22 | OFF | OFF | 0.02 | 0.02 | 0.03 | OFF | 0.03
23 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
24 | OFF | OFF | 0.03 | 0.03 | OFF | OFF | 0.03
25 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
26 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
27 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | 0.02 | 0.03 | 0.03 | OFF | 0.03
29 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
30 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:10/02/2023
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Sep_23 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.68 | 111 | 75.48 | 19.6 | 7.33 | 10.9007 | yes | 848
2 / 12:00 | 0.73 | 111 | 81.03 | 19.8 | 7.14 | 10.0727 | YES | 885
3 / 8:00 | 0.68 | 111 | 75.48 | 19.9 | 7.16 | 10.0222 | yes | 823
4 / 8:00 | 0.68 | 111 | 75.48 | 19.7 | 7.13 | 10.0449 | YES | 871
5 / 8:00 | 0.7 | 111 | 77.7 | 19.5 | 7.25 | 10.675 | YES | 883
6 / 8:00 | 0.69 | 111 | 76.59 | 19.4 | 7.28 | 10.8563 | YES | 822
7 / 12:00 | 0.73 | 111 | 81.03 | 19.3 | 7.4 | 11.4844 | YES | 833
8 / 8:00 | 0.7 | 111 | 77.7 | 19 | 7.18 | 10.7555 | YES | 845
9 / 8:00 | 0.7 | 111 | 77.7 | 19 | 7.13 | 10.5558 | YES | 848
10 / 8:00 | 0.71 | 111 | 78.81 | 19.1 | 7 | 9.9969 | YES | 843
11 / 8:00 | 0.74 | 111 | 82.14 | 18.9 | 7.14 | 10.7165 | YES | 846
12 / 12:00 | 0.76 | 111 | 84.36 | 18.9 | 7.02 | 10.2685 | YES | 872
13 / 8:00 | 0.73 | 111 | 81.03 | 18.9 | 7.37 | 11.6661 | YES | 868
14 / 8:00 | 0.72 | 111 | 79.92 | 19 | 7.32 | 11.3603 | YES | 849
15 / 8:00 | 0.72 | 111 | 79.92 | 19 | 7.2 | 10.8613 | YES | 869
16 / 8:00 | 0.72 | 111 | 79.92 | 19 | 6.9 | 9.7046 | YES | 828
17 / 12:00 | 0.76 | 111 | 84.36 | 18.7 | 7.22 | 11.218 | YES | 843
18 / 8:00 | 0.74 | 111 | 82.14 | 18.6 | 7.42 | 12.1421 | YES | 828
19 / 8:00 | 0.79 | 111 | 87.69 | 18.5 | 7.43 | 12.3402 | YES | 838
20 / 12:00 | 0.73 | 111 | 81.03 | 18.2 | 7.45 | 12.5985 | YES | 843
21 / 8:00 | 0.71 | 111 | 78.81 | 17.9 | 7.42 | 12.6826 | YES | 830
22 / 8:00 | 0.71 | 111 | 78.81 | 17.7 | 7.43 | 12.9019 | YES | 856
23 / 12:00 | 0.72 | 111 | 79.92 | 17.7 | 6.99 | 10.9597 | YES | 820
24 / 8:00 | 0.69 | 111 | 76.59 | 17.4 | 7 | 11.1868 | YES | 876
25 / 8:00 | 0.68 | 111 | 75.48 | 16.9 | 6.95 | 11.3425 | YES | 866
26 / 12:00 | 0.75 | 111 | 83.25 | 16.8 | 7.09 | 12.1293 | YES | 847
27 / 8:00 | 0.74 | 111 | 82.14 | 16.5 | 7.38 | 13.7714 | YES | 848
28 / 8:00 | 0.73 | 111 | 81.03 | 16.1 | 7.35 | 13.9721 | YES | 832
29 / 12:00 | 0.69 | 111 | 76.59 | 15.9 | 7.13 | 12.9884 | YES | 836
30 / 12:00 | 0.64 | 111 | 71.04 | 15.8 | 7.01 | 12.4327 | YES | 841
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Sep | 999.99 | 999.99 | 0.099104 | 0.054821 | 0.051504 | 999.99 | 8 | 0 | 0.099124 | 999.99 | 999.99 | 0.67254 | 0.73973 | 0.78567 | 999.99 | 8 | 0.67254 | 0.67
2 | Sep | 999.99 | 999.99 | 999.99 | 0.061181 | 0.060219 | 999.99 | 12 | 0 | 0.063576 | 999.99 | 999.99 | 999.99 | 0.73485 | 0.76023 | 999.99 | 12 | 0.73485 | 0.73
3 | Sep | 999.99 | 999.99 | 0.14162 | 0.069562 | 0.069347 | 999.99 | 8 | 0 | 0.14162 | 999.99 | 999.99 | 0.69504 | 0.72554 | 0.76111 | 999.99 | 8 | 0.69504 | 0.7
4 | Sep | 999.99 | 999.99 | 0.15346 | 0.072978 | 999.99 | 999.99 | 8 | 0 | 0.15346 | 999.99 | 999.99 | 0.67714 | 0.73019 | 999.99 | 999.99 | 8 | 0.67714 | 0.68
5 | Sep | 999.99 | 999.99 | 0.13039 | 0.076629 | 0.071722 | 999.99 | 8 | 0 | 0.13202 | 999.99 | 999.99 | 0.6941 | 0.73367 | 0.75834 | 999.99 | 8 | 0.6941 | 0.69
6 | Sep | 999.99 | 999.99 | 0.11718 | 0.084657 | 0.076845 | 0.08026 | 8 | 0 | 0.11718 | 999.99 | 999.99 | 0.6769 | 0.72701 | 0.75228 | 0.77336 | 8 | 0.6769 | 0.68
7 | Sep | 999.99 | 999.99 | 999.99 | 0.044771 | 0.043809 | 999.99 | 12 | 0 | 0.048226 | 999.99 | 999.99 | 999.99 | 0.7385 | 0.76912 | 999.99 | 12 | 0.7385 | 0.74
8 | Sep | 999.99 | 999.99 | 0.077591 | 0.047754 | 0.045693 | 999.99 | 8 | 0 | 0.082557 | 999.99 | 999.99 | 0.70629 | 0.74203 | 0.77112 | 999.99 | 8 | 0.70629 | 0.71
9 | Sep | 999.99 | 999.99 | 0.076374 | 0.050738 | 0.042886 | 999.99 | 8 | 0 | 0.076374 | 999.99 | 999.99 | 0.71082 | 0.73826 | 0.77548 | 999.99 | 8 | 0.71082 | 0.71
10 | Sep | 999.99 | 999.99 | 0.083715 | 0.046243 | 0.038391 | 999.99 | 8 | 0 | 0.084245 | 999.99 | 999.99 | 0.70894 | 0.75016 | 0.79155 | 999.99 | 8 | 0.70894 | 0.71
11 | Sep | 999.99 | 999.99 | 0.060199 | 0.043691 | 0.041748 | 0.040825 | 8 | 0 | 0.066481 | 999.99 | 999.99 | 0.74892 | 0.7829 | 0.79526 | 0.81093 | 8 | 0.74892 | 0.75
12 | Sep | 999.99 | 999.99 | 999.99 | 0.057353 | 0.03796 | 999.99 | 12 | 0 | 0.057451 | 999.99 | 999.99 | 999.99 | 0.76299 | 0.79244 | 999.99 | 12 | 0.76299 | 0.76
13 | Sep | 999.99 | 999.99 | 0.080378 | 0.050424 | 999.99 | 999.99 | 8 | 0 | 0.081124 | 999.99 | 999.99 | 0.73555 | 0.75116 | 999.99 | 999.99 | 8 | 0.73555 | 0.74
14 | Sep | 999.99 | 999.99 | 0.071839 | 0.051896 | 0.058708 | 999.99 | 8 | 0 | 0.077394 | 999.99 | 999.99 | 0.72378 | 0.76682 | 0.78031 | 999.99 | 8 | 0.72378 | 0.72
15 | Sep | 999.99 | 999.99 | 0.13187 | 0.053839 | 0.055567 | 999.99 | 8 | 0 | 0.13259 | 999.99 | 999.99 | 0.72336 | 0.76806 | 0.78372 | 999.99 | 8 | 0.72336 | 0.72
16 | Sep | 999.99 | 999.99 | 0.12651 | 0.057118 | 0.053133 | 999.99 | 8 | 0 | 0.12886 | 999.99 | 999.99 | 0.72089 | 0.77 | 0.78449 | 999.99 | 8 | 0.72089 | 0.72
17 | Sep | 999.99 | 999.99 | 999.99 | 0.058747 | 0.054468 | 999.99 | 12 | 0 | 0.062594 | 999.99 | 999.99 | 999.99 | 0.76659 | 0.7942 | 999.99 | 12 | 0.76659 | 0.77
18 | Sep | 999.99 | 999.99 | 0.090644 | 0.065499 | 0.064891 | 999.99 | 8 | 0 | 0.090644 | 999.99 | 999.99 | 0.73373 | 0.77465 | 0.91622 | 999.99 | 8 | 0.73373 | 0.73
19 | Sep | 999.99 | 999.99 | 0.16836 | 999.99 | 0.066068 | 0.0676 | 8 | 0 | 0.17144 | 999.99 | 999.99 | 0.79621 | 999.99 | 0.80327 | 0.80051 | 8 | 0.79621 | 0.8
20 | Sep | 999.99 | 999.99 | 999.99 | 0.10986 | 0.074234 | 0.08134 | 12 | 0 | 0.10986 | 999.99 | 999.99 | 999.99 | 0.73014 | 0.76252 | 0.76246 | 12 | 0.73014 | 0.73
21 | Sep | 999.99 | 999.99 | 0.16543 | 0.089388 | 999.99 | 999.99 | 12 | 0 | 0.43119 | 999.99 | 999.99 | 0.71541 | 0.73826 | 999.99 | 999.99 | 8 | 0.71541 | 0.72
22 | Sep | 999.99 | 999.99 | 0.1088 | 0.10309 | 0.097514 | 999.99 | 8 | 0 | 0.10882 | 999.99 | 999.99 | 0.71217 | 0.74851 | 0.75057 | 999.99 | 8 | 0.71217 | 0.71
23 | Sep | 999.99 | 999.99 | 999.99 | 0.11781 | 0.12535 | 999.99 | 16 | 0 | 0.13312 | 999.99 | 999.99 | 999.99 | 0.71671 | 0.75245 | 999.99 | 12 | 0.71671 | 0.72
24 | Sep | 999.99 | 999.99 | 0.16531 | 0.12808 | 999.99 | 999.99 | 8 | 0 | 0.17228 | 999.99 | 999.99 | 0.69887 | 0.73779 | 999.99 | 999.99 | 8 | 0.69887 | 0.7
25 | Sep | 999.99 | 999.99 | 0.2677 | 0.16675 | 0.15619 | 999.99 | 8 | 0 | 0.26925 | 999.99 | 999.99 | 0.69062 | 0.72166 | 0.72943 | 999.99 | 8 | 0.69062 | 0.69
26 | Sep | 999.99 | 999.99 | 999.99 | 0.13654 | 0.11836 | 999.99 | 12 | 0 | 0.13687 | 999.99 | 999.99 | 999.99 | 0.75075 | 0.79415 | 999.99 | 12 | 0.75075 | 0.75
27 | Sep | 999.99 | 999.99 | 0.20017 | 0.14117 | 0.14207 | 999.99 | 8 | 0 | 0.20214 | 999.99 | 999.99 | 0.7342 | 0.78066 | 0.79456 | 999.99 | 8 | 0.7342 | 0.73
28 | Sep | 999.99 | 999.99 | 0.22277 | 0.17409 | 0.03794 | 999.99 | 8 | 0 | 0.22471 | 999.99 | 999.99 | 0.71618 | 0.75004 | 0.77542 | 999.99 | 8 | 0.71618 | 0.72
29 | Sep | 999.99 | 999.99 | 999.99 | 0.05698 | 0.036801 | 999.99 | 12 | 0 | 0.059846 | 999.99 | 999.99 | 999.99 | 0.69404 | 0.7289 | 999.99 | 12 | 0.69404 | 0.69
30 | Sep | 999.99 | 999.99 | 999.99 | 0.059002 | 0.03529 | 999.99 | 12 | 0 | 0.062731 | 999.99 | 999.99 | 999.99 | 0.64728 | 0.7057 | 999.99 | 12 | 0.64728 | 0.65