## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Dec_23
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | OFF | 0.01 | 0.02 | 0.02 | 0.02
2 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
3 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
4 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
5 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
6 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
7 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
9 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
10 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
11 | OFF | OFF | 0.02 | 0.02 | 0.03 | OFF | 0.03
12 | OFF | OFF | 0.03 | OFF | 0.03 | 0.02 | 0.03
13 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
14 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
17 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
18 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
19 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
20 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
21 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
22 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
24 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
25 | OFF | OFF | 0.01 | 0.01 | 0.01 | OFF | 0.01
26 | OFF | OFF | 0.01 | 0.01 | OFF | OFF | 0.01
27 | OFF | OFF | 0.01 | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
29 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
30 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
31 | OFF | OFF | 0.02 | 0.02 | 0.01 | OFF | 0.02
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:01/01/2024
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Dec_23 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 20:00 | 0.75 | 111 | 83.25 | 8.4 | 7.57 | 25.4749 | YES | 761
2 / 16:00 | 0.63 | 111 | 69.93 | 8.8 | 7.51 | 23.9495 | YES | 802
3 / 8:00 | 0.61 | 111 | 67.71 | 9.2 | 7.42 | 22.5407 | YES | 789
4 / 8:00 | 0.7 | 111 | 77.7 | 9.4 | 7.41 | 22.3934 | YES | 839
5 / 12:00 | 0.75 | 111 | 83.25 | 9.7 | 7.38 | 21.847 | YES | 834
6 / 8:00 | 0.71 | 111 | 78.81 | 9.8 | 7.33 | 21.2305 | YES | 834
7 / 12:00 | 0.74 | 111 | 82.14 | 9.8 | 7.38 | 21.679 | YES | 823
8 / 8:00 | 0.78 | 111 | 86.58 | 9.9 | 7.34 | 21.3328 | YES | 804
9 / 16:00 | 0.78 | 111 | 86.58 | 9.5 | 7.29 | 21.521 | YES | 802
10 / 12:00 | 0.73 | 111 | 81.03 | 9.6 | 7.37 | 21.865 | YES | 780
11 / 8:00 | 0.71 | 111 | 78.81 | 9.7 | 7.23 | 20.636 | YES | 848
12 / 16:00 | 0.74 | 111 | 82.14 | 9.6 | 7.28 | 21.2095 | YES | 835
13 / 8:00 | 0.72 | 111 | 79.92 | 9.6 | 7.23 | 20.795 | YES | 818
14 / 12:00 | 0.75 | 111 | 83.25 | 9.5 | 7.19 | 20.711 | YES | 881
15 / 16:00 | 0.9 | 111 | 99.9 | 10 | 7.24 | 20.7426 | YES | 776
16 / 16:00 | 0.68 | 111 | 75.48 | 9.9 | 7.27 | 20.5844 | YES | 769
17 / 8:00 | 0.65 | 111 | 72.15 | 9.7 | 7.21 | 20.3552 | YES | 769
18 / 8:00 | 0.73 | 111 | 81.03 | 9.4 | 7.37 | 22.1554 | YES | 771
19 / 8:00 | 0.84 | 111 | 93.24 | 9.7 | 7.32 | 21.6099 | YES | 779
20 / 12:00 | 0.85 | 111 | 94.35 | 9.7 | 7.31 | 21.5585 | YES | 835
21 / 12:00 | 0.81 | 111 | 89.91 | 9.7 | 7.37 | 21.9183 | YES | 819
22 / 8:00 | 0.77 | 111 | 85.47 | 9.7 | 7.32 | 21.4401 | YES | 811
23 / 8:00 | 0.85 | 111 | 94.35 | 9.7 | 7.48 | 22.8875 | YES | 829
24 / 16:00 | 0.78 | 111 | 86.58 | 9.9 | 7.66 | 23.8798 | YES | 858
25 / 16:00 | 0.72 | 111 | 79.92 | 9.9 | 7.54 | 22.7321 | YES | 826
26 / 8:00 | 0.72 | 111 | 79.92 | 9.8 | 7.46 | 22.2469 | YES | 864
27 / 8:00 | 0.76 | 111 | 84.36 | 9.6 | 7.34 | 21.7092 | YES | 852
28 / 8:00 | 0.77 | 111 | 85.47 | 9.8 | 7.37 | 21.6763 | YES | 849
29 / 8:00 | 0.77 | 111 | 85.47 | 9.9 | 7.38 | 21.6097 | YES | 883
30 / 16:00 | 0.77 | 111 | 85.47 | 10 | 7.45 | 22.0021 | YES | 860
31 / 8:00 | 0.75 | 111 | 83.25 | 9.9 | 7.41 | 21.7893 | YES | 846
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Dec | 999.99 | 999.99 | 999.99 | 0.06548 | 0.043848 | 0.041336 | 12 | 0 | 0.067914 | 999.99 | 999.99 | 999.99 | 0.77689 | 0.80728 | 0.75381 | 20 | 0.75381 | 0.75
2 | Dec | 999.99 | 999.99 | 999.99 | 0.053113 | 0.053545 | 999.99 | 16 | 0 | 0.05645 | 999.99 | 999.99 | 999.99 | 0.64622 | 0.63703 | 999.99 | 16 | 0.63703 | 0.64
3 | Dec | 999.99 | 999.99 | 0.1121 | 0.065833 | 0.065715 | 999.99 | 8 | 0 | 0.11557 | 999.99 | 999.99 | 0.61342 | 0.62037 | 0.65664 | 999.99 | 8 | 0.61342 | 0.61
4 | Dec | 999.99 | 999.99 | 0.088348 | 0.058747 | 0.029028 | 999.99 | 8 | 0 | 0.088348 | 999.99 | 999.99 | 0.69898 | 0.77224 | 0.82812 | 999.99 | 8 | 0.69898 | 0.7
5 | Dec | 999.99 | 999.99 | 0.065853 | 0.03582 | 999.99 | 999.99 | 8 | 0 | 0.071525 | 999.99 | 999.99 | 0.76576 | 0.75481 | 999.99 | 999.99 | 12 | 0.75481 | 0.75
6 | Dec | 999.99 | 999.99 | 0.05912 | 999.99 | 0.059571 | 999.99 | 16 | 0 | 0.060631 | 999.99 | 999.99 | 0.70735 | 999.99 | 0.7127 | 999.99 | 8 | 0.70735 | 0.71
7 | Dec | 999.99 | 999.99 | 999.99 | 0.053113 | 0.034583 | 999.99 | 12 | 0 | 0.053133 | 999.99 | 999.99 | 999.99 | 0.72737 | 0.78578 | 999.99 | 12 | 0.72737 | 0.73
8 | Dec | 999.99 | 999.99 | 0.053977 | 0.039648 | 0.035251 | 999.99 | 8 | 0 | 0.055115 | 999.99 | 999.99 | 0.78431 | 0.82188 | 0.83743 | 999.99 | 8 | 0.78431 | 0.78
9 | Dec | 999.99 | 999.99 | 0.064753 | 0.036998 | 0.034623 | 999.99 | 8 | 0 | 0.067796 | 999.99 | 999.99 | 0.79379 | 0.79409 | 0.78537 | 999.99 | 16 | 0.78537 | 0.79
10 | Dec | 999.99 | 999.99 | 999.99 | 0.043279 | 0.043377 | 999.99 | 16 | 0 | 0.046812 | 999.99 | 999.99 | 999.99 | 0.73002 | 0.73379 | 999.99 | 12 | 0.73002 | 0.73
11 | Dec | 999.99 | 999.99 | 0.10376 | 0.044084 | 0.041257 | 999.99 | 8 | 0 | 0.10376 | 999.99 | 999.99 | 0.70882 | 0.73008 | 0.76093 | 999.99 | 8 | 0.70882 | 0.71
12 | Dec | 999.99 | 999.99 | 0.074175 | 999.99 | 0.047264 | 0.052465 | 8 | 0 | 0.074175 | 999.99 | 999.99 | 0.74368 | 999.99 | 0.74227 | 0.74132 | 20 | 0.74132 | 0.74
13 | Dec | 999.99 | 999.99 | 0.046675 | 0.044732 | 999.99 | 0.057039 | 20 | 0 | 0.05806 | 999.99 | 999.99 | 0.71265 | 0.73014 | 999.99 | 0.73979 | 8 | 0.71265 | 0.71
14 | Dec | 999.99 | 999.99 | 999.99 | 0.054762 | 0.050385 | 999.99 | 12 | 0 | 0.05857 | 999.99 | 999.99 | 999.99 | 0.76582 | 0.90356 | 999.99 | 12 | 0.76582 | 0.77
15 | Dec | 999.99 | 999.99 | 999.99 | 0.04693 | 0.040374 | 999.99 | 12 | 0 | 0.04693 | 999.99 | 999.99 | 999.99 | 0.93624 | 0.90833 | 999.99 | 16 | 0.90833 | 0.91
16 | Dec | 999.99 | 999.99 | 0.053722 | 0.041453 | 0.049658 | 999.99 | 8 | 0 | 0.056372 | 999.99 | 999.99 | 0.80516 | 0.73997 | 0.68662 | 999.99 | 16 | 0.68662 | 0.69
17 | Dec | 999.99 | 999.99 | 0.067992 | 0.048226 | 0.05329 | 999.99 | 8 | 0 | 0.069975 | 999.99 | 999.99 | 0.66171 | 0.70517 | 0.74857 | 999.99 | 8 | 0.66171 | 0.66
18 | Dec | 999.99 | 999.99 | 0.07765 | 0.053054 | 0.053427 | 999.99 | 8 | 0 | 0.081222 | 999.99 | 999.99 | 0.73538 | 0.79791 | 0.85097 | 999.99 | 8 | 0.73538 | 0.74
19 | Dec | 999.99 | 999.99 | 0.066284 | 0.054095 | 0.072134 | 999.99 | 16 | 0 | 0.073174 | 999.99 | 999.99 | 0.83519 | 0.85945 | 0.87983 | 999.99 | 8 | 0.83519 | 0.84
20 | Dec | 999.99 | 999.99 | 999.99 | 0.06067 | 0.052505 | 0.050974 | 12 | 0 | 0.06067 | 999.99 | 999.99 | 999.99 | 0.84679 | 0.87594 | 0.87205 | 12 | 0.84679 | 0.85
21 | Dec | 999.99 | 999.99 | 0.076806 | 999.99 | 0.049443 | 999.99 | 8 | 0 | 0.078906 | 999.99 | 999.99 | 0.84785 | 999.99 | 0.81599 | 999.99 | 12 | 0.81599 | 0.82
22 | Dec | 999.99 | 999.99 | 0.091665 | 0.052937 | 0.054821 | 999.99 | 8 | 0 | 0.093274 | 999.99 | 999.99 | 0.77412 | 0.77477 | 0.77365 | 999.99 | 12 | 0.77365 | 0.77
23 | Dec | 999.99 | 999.99 | 0.084382 | 0.068149 | 0.046322 | 999.99 | 8 | 0 | 0.084382 | 999.99 | 999.99 | 0.85044 | 0.90674 | 0.87859 | 999.99 | 8 | 0.85044 | 0.85
24 | Dec | 999.99 | 999.99 | 999.99 | 0.047048 | 0.045595 | 999.99 | 12 | 0 | 0.048206 | 999.99 | 999.99 | 999.99 | 0.8167 | 0.78932 | 999.99 | 16 | 0.78932 | 0.79
25 | Dec | 999.99 | 999.99 | 0.092273 | 0.050934 | 0.06124 | 999.99 | 8 | 0 | 0.092882 | 999.99 | 999.99 | 0.74215 | 0.72254 | 0.72548 | 999.99 | 12 | 0.72254 | 0.72
26 | Dec | 999.99 | 999.99 | 0.05963 | 0.048775 | 999.99 | 999.99 | 8 | 0 | 0.060297 | 999.99 | 999.99 | 0.71824 | 0.7415 | 999.99 | 999.99 | 8 | 0.71824 | 0.72
27 | Dec | 999.99 | 999.99 | 0.073155 | 0.052053 | 0.046851 | 999.99 | 8 | 0 | 0.077277 | 999.99 | 999.99 | 0.75575 | 0.77607 | 0.78926 | 999.99 | 8 | 0.75575 | 0.76
28 | Dec | 999.99 | 999.99 | 0.073096 | 0.07814 | 0.071682 | 0.072173 | 12 | 0 | 0.082478 | 999.99 | 999.99 | 0.76553 | 0.77972 | 0.76983 | 0.79261 | 8 | 0.76553 | 0.77
29 | Dec | 999.99 | 999.99 | 0.085168 | 0.064439 | 0.065617 | 999.99 | 8 | 0 | 0.085168 | 999.99 | 999.99 | 0.77012 | 0.80645 | 0.79709 | 999.99 | 8 | 0.77012 | 0.77
30 | Dec | 999.99 | 999.99 | 999.99 | 0.080967 | 0.077689 | 999.99 | 12 | 0 | 0.080967 | 999.99 | 999.99 | 999.99 | 0.77442 | 0.7743 | 999.99 | 16 | 0.7743 | 0.77
31 | Dec | 999.99 | 999.99 | 0.12148 | 0.092823 | 0.10175 | 999.99 | 8 | 0 | 0.12174 | 999.99 | 999.99 | 0.74904 | 0.76023 | 0.77124 | 999.99 | 8 | 0.74904 | 0.75