## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Mar_24
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
2 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
3 | OFF | OFF | 0.03 | 0.03 | OFF | OFF | 0.03
4 | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03 | 0.03
5 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
6 | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
7 | OFF | OFF | 0.02 | 0.02 | 0.034681 | 0.02 | 0.03
8 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
9 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
10 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
11 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
12 | OFF | 0.02 | 0.02 | 0.02 | OFF | OFF | 0.02
13 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
14 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.02 | 0.03 | OFF | 0.03
16 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
17 | OFF | OFF | OFF | 0.03 | 0.031246 | OFF | 0.03
18 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
19 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
20 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
21 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
22 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
23 | OFF | OFF | 0.03 | 0.04 | 0.03 | OFF | 0.03
24 | OFF | OFF | 0.03 | 0.03 | 0.058963 | OFF | 0.03
25 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
26 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
27 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
28 | OFF | OFF | 0.03 | OFF | 0.03 | 0.03 | 0.03
29 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
30 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
31 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:04/01/2024
[5 empty] | PHONE #: (541) 336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Mar_24 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 12:00 | 0.69 | 111 | 76.59 | 9.3 | 7.37 | 22.2015 | YES | 775
2 / 12:00 | 0.73 | 111 | 81.03 | 9.1 | 7.1 | 20.5571 | YES | 792
3 / 8:00 | 0.78 | 111 | 86.58 | 9.1 | 6.99 | 19.8955 | YES | 793
4 / 4:00 | 0.82 | 111 | 91.02 | 8.8 | 6.98 | 20.3093 | YES | 790
5 / 8:00 | 0.93 | 111 | 103.23 | 8.7 | 7.18 | 22.1993 | YES | 827
6 / 20:00 | 0.91 | 111 | 101.01 | 9.1 | 7.39 | 23.2286 | YES | 824
7 / 8:00 | 0.88 | 111 | 97.68 | 8.9 | 7.58 | 25.0959 | YES | 798
8 / 16:00 | 0.87 | 111 | 96.57 | 8.9 | 7.76 | 26.7316 | YES | 790
9 / 12:00 | 0.83 | 111 | 92.13 | 9.1 | 7.76 | 26.2539 | YES | 804
10 / 12:00 | 0.82 | 111 | 91.02 | 9.1 | 7.7 | 25.6676 | YES | 802
11 / 8:00 | 0.8 | 111 | 88.8 | 9.2 | 7.88 | 27.1293 | YES | 788
12 / 12:00 | 0.83 | 111 | 92.13 | 9.1 | 7.76 | 26.2539 | YES | 845
13 / 8:00 | 0.79 | 111 | 87.69 | 9.1 | 7.65 | 25.1276 | YES | 837
14 / 8:00 | 0.8 | 111 | 88.8 | 9.3 | 7.52 | 23.7029 | YES | 874
15 / 8:00 | 0.8 | 111 | 88.8 | 9.4 | 7.51 | 23.4627 | YES | 850
16 / 12:00 | 0.82 | 111 | 91.02 | 9.3 | 7.48 | 23.4229 | YES | 776
17 / 12:00 | 0.79 | 111 | 87.69 | 9.6 | 7.38 | 22.0911 | YES | 776
18 / 12:00 | 0.78 | 111 | 86.58 | 9.6 | 7.25 | 21.0825 | YES | 780
19 / 8:00 | 0.78 | 111 | 86.58 | 9.7 | 7.37 | 21.8442 | YES | 819
20 / 8:00 | 0.8 | 111 | 88.8 | 9.6 | 7.3 | 21.5034 | YES | 853
21 / 8:00 | 0.79 | 111 | 87.69 | 9.5 | 7.26 | 21.3199 | YES | 862
22 / 8:00 | 0.79 | 111 | 87.69 | 9.5 | 7.23 | 21.0972 | YES | 861
23 / 8:00 | 0.79 | 111 | 87.69 | 9.5 | 7.25 | 21.2454 | YES | 778
24 / 12:00 | 0.8 | 111 | 88.8 | 9.5 | 7.3 | 21.6454 | YES | 794
25 / 8:00 | 0.78 | 111 | 86.58 | 9.5 | 7.3 | 21.5967 | YES | 752
26 / 8:00 | 0.77 | 111 | 85.47 | 9.5 | 7.28 | 21.4216 | YES | 752
27 / 8:00 | 0.78 | 111 | 86.58 | 9.6 | 7.35 | 21.8348 | YES | 792
28 / 8:00 | 0.77 | 111 | 85.47 | 9.6 | 7.32 | 21.5817 | YES | 845
29 / 8:00 | 0.77 | 111 | 85.47 | 9.6 | 7.16 | 20.4073 | YES | 835
30 / 8:00 | 0.78 | 111 | 86.58 | 9.7 | 7.12 | 20.0163 | YES | 835
31 / 8:00 | 0.8 | 111 | 88.8 | 10 | 7.12 | 19.6724 | YES | 835
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Mar | 999.99 | 999.99 | 999.99 | 0.052583 | 0.036782 | 0.038509 | 12 | 0 | 0.056234 | 999.99 | 999.99 | 999.99 | 0.69775 | 0.69998 | 0.72436 | 12 | 0.69775 | 0.7
2 | Mar | 999.99 | 999.99 | 999.99 | 0.062202 | 0.053643 | 999.99 | 12 | 0 | 0.063615 | 999.99 | 999.99 | 999.99 | 0.71906 | 0.76682 | 999.99 | 12 | 0.71906 | 0.72
3 | Mar | 999.99 | 999.99 | 0.11076 | 0.06491 | 999.99 | 999.99 | 8 | 0 | 0.11416 | 999.99 | 999.99 | 0.78979 | 0.80769 | 999.99 | 999.99 | 8 | 0.78979 | 0.79
4 | Mar | 999.99 | 0.10372 | 0.07712 | 0.075628 | 999.99 | 0.071682 | 4 | 0 | 0.10482 | 999.99 | 0.81582 | 0.85286 | 0.90432 | 999.99 | 0.94154 | 4 | 0.81582 | 0.82
5 | Mar | 999.99 | 999.99 | 999.99 | 0.090075 | 0.069523 | 999.99 | 12 | 0 | 0.090075 | 999.99 | 999.99 | 999.99 | 0.93318 | 0.94996 | 999.99 | 8 | 0.93318 | 0.93
6 | Mar | 999.99 | 999.99 | 0.09296 | 0.071447 | 0.0411 | 0.04004 | 8 | 0 | 0.093098 | 999.99 | 999.99 | 0.92676 | 0.91911 | 0.91963 | 0.91339 | 20 | 0.91339 | 0.91
7 | Mar | 999.99 | 999.99 | 0.056568 | 0.042415 | 0.034681 | 0.028479 | 8 | 0 | 0.059748 | 999.99 | 999.99 | 0.88124 | 0.88619 | 0.92364 | 0.92028 | 8 | 0.88124 | 0.88
8 | Mar | 999.99 | 999.99 | 0.044143 | 0.047362 | 0.032777 | 999.99 | 12 | 0 | 0.048893 | 999.99 | 999.99 | 0.87806 | 0.87618 | 0.86175 | 999.99 | 16 | 0.86175 | 0.86
9 | Mar | 999.99 | 999.99 | 999.99 | 0.056882 | 0.031305 | 999.99 | 12 | 0 | 0.057137 | 999.99 | 999.99 | 999.99 | 0.82624 | 0.83448 | 999.99 | 12 | 0.82624 | 0.83
10 | Mar | 999.99 | 999.99 | 999.99 | 0.04481 | 0.028655 | 999.99 | 12 | 0 | 0.048716 | 999.99 | 999.99 | 999.99 | 0.81517 | 0.81593 | 999.99 | 12 | 0.81517 | 0.82
11 | Mar | 999.99 | 999.99 | 0.060513 | 0.026614 | 999.99 | 999.99 | 8 | 0 | 0.060533 | 999.99 | 999.99 | 0.80416 | 0.82159 | 999.99 | 999.99 | 8 | 0.80416 | 0.8
12 | Mar | 999.99 | 0.040099 | 0.035231 | 999.99 | 999.99 | 999.99 | 4 | 0 | 0.041768 | 999.99 | 0.81399 | 0.83095 | 999.99 | 999.99 | 999.99 | 12 | 0.83 | 0.83
13 | Mar | 999.99 | 999.99 | 0.033661 | 0.029107 | 999.99 | 999.99 | 8 | 0 | 0.036978 | 999.99 | 999.99 | 0.80616 | 0.8177 | 999.99 | 999.99 | 8 | 0.80616 | 0.81
14 | Mar | 999.99 | 999.99 | 0.046223 | 0.029048 | 999.99 | 999.99 | 8 | 0 | 0.046282 | 999.99 | 999.99 | 0.80904 | 0.82271 | 999.99 | 999.99 | 8 | 0.80904 | 0.81
15 | Mar | 999.99 | 999.99 | 0.061279 | 0.082518 | 0.024376 | 999.99 | 12 | 0 | 0.083578 | 999.99 | 999.99 | 0.80157 | 0.80357 | 0.83101 | 999.99 | 8 | 0.80157 | 0.8
16 | Mar | 999.99 | 999.99 | 0.060847 | 0.035211 | 0.034701 | 999.99 | 8 | 0 | 0.06548 | 999.99 | 999.99 | 0.80316 | 0.81328 | 0.81635 | 999.99 | 8 | 0.80316 | 0.8
17 | Mar | 999.99 | 999.99 | 0.086915 | 0.037783 | 0.031246 | 999.99 | 8 | 0 | 0.091469 | 999.99 | 999.99 | 0.79815 | 0.80003 | 0.80857 | 999.99 | 8 | 0.79815 | 0.8
18 | Mar | 999.99 | 999.99 | 0.060317 | 0.051091 | 999.99 | 999.99 | 8 | 0 | 0.06281 | 999.99 | 999.99 | 0.78096 | 0.77748 | 999.99 | 999.99 | 12 | 0.77748 | 0.78
19 | Mar | 999.99 | 999.99 | 0.070564 | 0.05117 | 0.03792 | 999.99 | 8 | 0 | 0.070564 | 999.99 | 999.99 | 0.78225 | 0.81105 | 0.8144 | 999.99 | 8 | 0.78225 | 0.78
20 | Mar | 999.99 | 999.99 | 0.057137 | 0.039942 | 999.99 | 999.99 | 8 | 0 | 0.057216 | 999.99 | 999.99 | 0.80504 | 0.82347 | 999.99 | 999.99 | 8 | 0.80504 | 0.81
21 | Mar | 999.99 | 999.99 | 0.073056 | 0.059453 | 0.046851 | 999.99 | 12 | 0 | 0.081458 | 999.99 | 999.99 | 0.80227 | 0.81782 | 0.81187 | 999.99 | 8 | 0.80227 | 0.8
22 | Mar | 999.99 | 999.99 | 0.064596 | 0.050188 | 999.99 | 999.99 | 8 | 0 | 0.067835 | 999.99 | 999.99 | 0.79674 | 0.80498 | 999.99 | 999.99 | 8 | 0.79674 | 0.8
23 | Mar | 999.99 | 999.99 | 0.084952 | 0.052524 | 0.049423 | 999.99 | 8 | 0 | 0.08609 | 999.99 | 999.99 | 0.78255 | 0.80433 | 0.80846 | 999.99 | 8 | 0.78255 | 0.78
24 | Mar | 999.99 | 999.99 | 0.095257 | 0.07655 | 0.058963 | 999.99 | 8 | 0 | 0.095708 | 999.99 | 999.99 | 0.78384 | 0.79827 | 0.80339 | 999.99 | 12 | 0.8 | 0.8
25 | Mar | 999.99 | 999.99 | 0.084912 | 0.063536 | 0.064655 | 999.99 | 8 | 0 | 0.086542 | 999.99 | 999.99 | 0.7935 | 0.80115 | 0.80628 | 999.99 | 8 | 0.7935 | 0.79
26 | Mar | 999.99 | 999.99 | 0.10028 | 0.068149 | 0.07443 | 999.99 | 8 | 0 | 0.1005 | 999.99 | 999.99 | 0.77277 | 0.79049 | 0.80168 | 999.99 | 8 | 0.77277 | 0.77
27 | Mar | 999.99 | 999.99 | 0.10615 | 0.096454 | 0.079907 | 999.99 | 8 | 0 | 0.10853 | 999.99 | 999.99 | 0.77736 | 0.7859 | 0.79615 | 999.99 | 8 | 0.77736 | 0.78
28 | Mar | 999.99 | 999.99 | 0.10509 | 0.092038 | 0.087543 | 999.99 | 8 | 0 | 0.10698 | 999.99 | 999.99 | 0.77713 | 0.77725 | 0.78979 | 999.99 | 8 | 0.77713 | 0.78
29 | Mar | 999.99 | 999.99 | 0.12364 | 0.099791 | 999.99 | 999.99 | 8 | 0 | 0.12384 | 999.99 | 999.99 | 0.78154 | 0.79986 | 999.99 | 999.99 | 8 | 0.78154 | 0.78
30 | Mar | 999.99 | 999.99 | 0.15053 | 0.13414 | 0.11549 | 999.99 | 8 | 0 | 0.15277 | 999.99 | 999.99 | 0.79379 | 0.81028 | 0.82294 | 999.99 | 8 | 0.79379 | 0.79
31 | Mar | 999.99 | 999.99 | 0.17601 | 0.16315 | 0.12268 | 999.99 | 8 | 0 | 0.17658 | 999.99 | 999.99 | 0.78278 | 0.8147 | 0.83242 | 999.99 | 8 | 0.78278 | 0.78