## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Nov_24
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
2 | OFF | OFF | OFF | 0.02 | 0.030775 | OFF | 0.03
3 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
4 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
5 | OFF | OFF | OFF | 0.01 | 0.02 | OFF | 0.02
6 | OFF | OFF | OFF | 0.02 | 0.04 | OFF | 0.04
7 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
9 | OFF | OFF | OFF | 0.02 | 0.01 | OFF | 0.02
10 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
11 | OFF | OFF | 0.01 | OFF | OFF | OFF | 0.01
12 | 0.01 | OFF | 0.01 | 0.01 | 0.01 | OFF | 0.01
13 | OFF | OFF | 0.01 | 0.02 | 0.021942 | OFF | 0.02
14 | OFF | OFF | OFF | 0.02 | 0.022806 | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | OFF | 0.02 | 0.01 | OFF | 0.02
17 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
18 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
19 | OFF | OFF | 0.01 | 0.02 | 0.02 | OFF | 0.02
20 | OFF | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
21 | OFF | OFF | OFF | 0.02 | 0.02 | 0.02 | 0.02
22 | OFF | OFF | OFF | 0.02 | 0.01 | OFF | 0.02
23 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
24 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
25 | OFF | OFF | 0.01 | 0.01 | 0.01 | OFF | 0.01
26 | OFF | 0.01 | 0.02 | 0.02 | OFF | OFF | 0.02
27 | OFF | 0.02 | 0.02 | OFF | 0.02 | OFF | 0.02
28 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
29 | OFF | OFF | OFF | 0.02 | 0.023748 | OFF | 0.02
30 | OFF | OFF | OFF | 0.02 | 0.01 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:12/02/2024
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Nov_24 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.79 | 111 | 87.69 | 12.3 | 7.18 | 17.2908 | YES | 806
2 / 12:00 | 0.79 | 111 | 87.69 | 12.3 | 7.21 | 17.4689 | YES | 827
3 / 12:00 | 0.74 | 111 | 82.14 | 12.3 | 7.15 | 17.0214 | YES | 896
4 / 12:00 | 0.73 | 111 | 81.03 | 12.1 | 7.37 | 18.571 | YES | 863
5 / 12:00 | 0.78 | 111 | 86.58 | 12.1 | 7.29 | 18.1669 | YES | 878
6 / 12:00 | 0.81 | 111 | 89.91 | 12 | 7.34 | 18.6639 | YES | 898
7 / 12:00 | 0.81 | 111 | 89.91 | 12 | 7.44 | 19.3202 | YES | 835
8 / 12:00 | 0.82 | 111 | 91.02 | 11.9 | 7.57 | 20.3678 | YES | 835
9 / 12:00 | 0.83 | 111 | 92.13 | 11.7 | 7.45 | 19.8138 | YES | 911
10 / 16:00 | 0.83 | 111 | 92.13 | 11.5 | 7.42 | 19.8657 | YES | 871
11 / 8:00 | 0.8 | 111 | 88.8 | 11.3 | 7.55 | 20.9899 | YES | 878
12 / 8:00 | 0.79 | 111 | 87.69 | 11.3 | 7.56 | 21.0397 | YES | 872
13 / 8:00 | 0.75 | 111 | 83.25 | 11.4 | 7.48 | 20.2358 | YES | 844
14 / 12:00 | 0.75 | 111 | 83.25 | 11.4 | 7.44 | 19.9561 | YES | 840
15 / 8:00 | 0.77 | 111 | 85.47 | 11.3 | 7.3 | 19.177 | YES | 819
16 / 12:00 | 0.81 | 111 | 89.91 | 11.2 | 7.29 | 19.3211 | YES | 916
17 / 12:00 | 0.82 | 111 | 91.02 | 11.2 | 7.34 | 19.6809 | YES | 865
18 / 16:00 | 0.81 | 111 | 89.91 | 11 | 7.52 | 21.2077 | YES | 851
19 / 8:00 | 0.77 | 111 | 85.47 | 11.1 | 7.4 | 20.1144 | YES | 828
20 / 8:00 | 0.76 | 111 | 84.36 | 10.9 | 7.43 | 20.5704 | YES | 815
21 / 12:00 | 0.79 | 111 | 87.69 | 11 | 7.51 | 21.0862 | YES | 822
22 / 12:00 | 0.86 | 111 | 95.46 | 10.8 | 7.44 | 21.0127 | YES | 890
23 / 12:00 | 0.84 | 111 | 93.24 | 10.8 | 7.54 | 21.7131 | YES | 893
24 / 12:00 | 0.83 | 111 | 92.13 | 11 | 7.54 | 21.405 | YES | 866
25 / 8:00 | 0.81 | 111 | 89.91 | 10.8 | 7.47 | 21.1154 | YES | 877
26 / 4:00 | 0.79 | 111 | 87.69 | 10.7 | 7.52 | 21.5817 | YES | 829
27 / 4:00 | 0.78 | 111 | 86.58 | 10.7 | 7.59 | 22.0939 | YES | 816
28 / 8:00 | 0.76 | 111 | 84.36 | 10.7 | 7.56 | 21.8129 | YES | 848
29 / 12:00 | 0.79 | 111 | 87.69 | 10.3 | 7.6 | 22.7918 | YES | 843
30 / 12:00 | 0.8 | 111 | 88.8 | 10.1 | 7.48 | 22.1642 | YES | 819
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Nov | 999.99 | 999.99 | 0.063104 | 999.99 | 0.033091 | 999.99 | 8 | 0 | 0.063261 | 999.99 | 999.99 | 0.78867 | 999.99 | 0.81005 | 999.99 | 8 | 0.78867 | 0.79
2 | Nov | 999.99 | 999.99 | 999.99 | 0.04216 | 0.030775 | 999.99 | 12 | 0 | 0.04216 | 999.99 | 999.99 | 999.99 | 0.79397 | 0.81864 | 999.99 | 12 | 0.79397 | 0.79
3 | Nov | 999.99 | 999.99 | 999.99 | 0.047087 | 0.027124 | 999.99 | 12 | 0 | 0.050601 | 999.99 | 999.99 | 999.99 | 0.74421 | 0.7806 | 999.99 | 12 | 0.74421 | 0.74
4 | Nov | 999.99 | 999.99 | 999.99 | 0.040963 | 0.026339 | 999.99 | 12 | 0 | 0.043299 | 999.99 | 999.99 | 999.99 | 0.73002 | 0.78985 | 999.99 | 12 | 0.73002 | 0.73
5 | Nov | 999.99 | 999.99 | 999.99 | 0.048402 | 0.027772 | 999.99 | 12 | 0 | 0.051445 | 999.99 | 999.99 | 999.99 | 0.78178 | 0.83348 | 999.99 | 12 | 0.78178 | 0.78
6 | Nov | 999.99 | 999.99 | 999.99 | 0.052956 | 0.02948 | 999.99 | 12 | 0 | 0.055665 | 999.99 | 999.99 | 999.99 | 0.80657 | 0.83931 | 999.99 | 12 | 0.80657 | 0.81
7 | Nov | 999.99 | 999.99 | 999.99 | 0.035624 | 0.026064 | 999.99 | 12 | 0 | 0.036644 | 999.99 | 999.99 | 999.99 | 0.80757 | 0.84367 | 999.99 | 12 | 0.80757 | 0.81
8 | Nov | 999.99 | 999.99 | 999.99 | 0.038647 | 0.02522 | 999.99 | 12 | 0 | 0.038804 | 999.99 | 999.99 | 999.99 | 0.81664 | 0.85598 | 999.99 | 12 | 0.81664 | 0.82
9 | Nov | 999.99 | 999.99 | 999.99 | 0.038921 | 0.022551 | 999.99 | 12 | 0 | 0.038921 | 999.99 | 999.99 | 999.99 | 0.83331 | 0.84497 | 999.99 | 12 | 0.83331 | 0.83
10 | Nov | 999.99 | 999.99 | 999.99 | 0.038274 | 0.026575 | 999.99 | 12 | 0 | 0.040256 | 999.99 | 999.99 | 999.99 | 0.81982 | 0.83007 | 999.99 | 16 | 0.83 | 0.83
11 | Nov | 999.99 | 999.99 | 0.051837 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.052151 | 999.99 | 999.99 | 0.79102 | 999.99 | 999.99 | 999.99 | 8 | 0.79102 | 0.79
12 | Nov | 0.041061 | 999.99 | 0.025299 | 0.026692 | 0.024729 | 999.99 | 0 | 0 | 0.041238 | 0.79014 | 999.99 | 0.78985 | 0.79797 | 0.8081 | 999.99 | 8 | 0.78985 | 0.79
13 | Nov | 999.99 | 999.99 | 0.05908 | 0.028891 | 0.021942 | 999.99 | 8 | 0 | 0.086385 | 999.99 | 999.99 | 0.75699 | 0.76665 | 0.76676 | 999.99 | 8 | 0.75699 | 0.76
14 | Nov | 999.99 | 999.99 | 999.99 | 0.03794 | 0.022806 | 999.99 | 12 | 0 | 0.03794 | 999.99 | 999.99 | 999.99 | 0.75004 | 0.79874 | 999.99 | 12 | 0.75004 | 0.75
15 | Nov | 999.99 | 999.99 | 0.054232 | 0.028812 | 0.025417 | 999.99 | 8 | 0 | 0.05433 | 999.99 | 999.99 | 0.7743 | 0.82718 | 0.82595 | 999.99 | 8 | 0.7743 | 0.77
16 | Nov | 999.99 | 999.99 | 999.99 | 0.043888 | 0.026594 | 999.99 | 12 | 0 | 0.047813 | 999.99 | 999.99 | 999.99 | 0.81105 | 0.85015 | 999.99 | 12 | 0.81105 | 0.81
17 | Nov | 999.99 | 999.99 | 999.99 | 0.038902 | 0.027497 | 999.99 | 12 | 0 | 0.040079 | 999.99 | 999.99 | 999.99 | 0.81982 | 0.8455 | 999.99 | 12 | 0.81982 | 0.82
18 | Nov | 999.99 | 999.99 | 999.99 | 0.038117 | 0.026359 | 999.99 | 12 | 0 | 0.039648 | 999.99 | 999.99 | 999.99 | 0.8157 | 0.81381 | 999.99 | 16 | 0.81381 | 0.81
19 | Nov | 999.99 | 999.99 | 0.057471 | 0.028086 | 0.025201 | 999.99 | 8 | 0 | 0.077905 | 999.99 | 999.99 | 0.7703 | 0.78537 | 0.7869 | 999.99 | 8 | 0.7703 | 0.77
20 | Nov | 999.99 | 999.99 | 0.037312 | 999.99 | 999.99 | 0.039451 | 20 | 0 | 0.042749 | 999.99 | 999.99 | 0.76252 | 999.99 | 999.99 | 0.77312 | 8 | 0.76252 | 0.76
21 | Nov | 999.99 | 999.99 | 999.99 | 0.029283 | 0.030893 | 0.030069 | 16 | 0 | 0.030952 | 999.99 | 999.99 | 999.99 | 0.79438 | 0.84673 | 0.91704 | 12 | 0.79438 | 0.79
22 | Nov | 999.99 | 999.99 | 999.99 | 0.04903 | 0.023552 | 999.99 | 12 | 0 | 0.04905 | 999.99 | 999.99 | 999.99 | 0.86363 | 0.87288 | 999.99 | 12 | 0.86363 | 0.86
23 | Nov | 999.99 | 999.99 | 999.99 | 0.034897 | 0.02208 | 999.99 | 12 | 0 | 0.039019 | 999.99 | 999.99 | 999.99 | 0.83961 | 0.85557 | 999.99 | 12 | 0.83961 | 0.84
24 | Nov | 999.99 | 999.99 | 999.99 | 0.045124 | 0.027517 | 999.99 | 12 | 0 | 0.045634 | 999.99 | 999.99 | 999.99 | 0.82712 | 0.83207 | 999.99 | 12 | 0.82712 | 0.83
25 | Nov | 999.99 | 999.99 | 0.067717 | 0.023532 | 0.026987 | 999.99 | 8 | 0 | 0.070485 | 999.99 | 999.99 | 0.81258 | 0.82542 | 0.82518 | 999.99 | 8 | 0.81258 | 0.81
26 | Nov | 999.99 | 0.065813 | 0.049874 | 0.030324 | 999.99 | 999.99 | 4 | 0 | 0.069307 | 999.99 | 0.79379 | 0.7985 | 0.81317 | 999.99 | 999.99 | 4 | 0.79379 | 0.79
27 | Nov | 999.99 | 0.042474 | 0.029931 | 999.99 | 0.026948 | 999.99 | 4 | 0 | 0.042474 | 999.99 | 0.77613 | 0.78313 | 999.99 | 0.78932 | 999.99 | 4 | 0.77613 | 0.78
28 | Nov | 999.99 | 999.99 | 0.069366 | 0.041296 | 0.024514 | 999.99 | 8 | 0 | 0.071623 | 999.99 | 999.99 | 0.75899 | 0.78243 | 0.80451 | 999.99 | 8 | 0.75899 | 0.76
29 | Nov | 999.99 | 999.99 | 999.99 | 0.047872 | 0.023748 | 999.99 | 12 | 0 | 0.052878 | 999.99 | 999.99 | 999.99 | 0.79108 | 0.81193 | 999.99 | 12 | 0.79108 | 0.79
30 | Nov | 999.99 | 999.99 | 999.99 | 0.051072 | 0.020431 | 999.99 | 12 | 0 | 0.051072 | 999.99 | 999.99 | 999.99 | 0.80192 | 0.81246 | 999.99 | 12 | 0.80192 | 0.8