## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Apr_25
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | 0.02 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
2 | OFF | OFF | 0.02 | 0.02257 | 0.022511 | OFF | 0.02
3 | OFF | OFF | 0.02 | 0.020509 | 0.018919 | OFF | 0.02
4 | OFF | OFF | 0.02 | 0.020921 | 0.020647 | OFF | 0.02
5 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
6 | OFF | OFF | OFF | 0.01 | 0.024965 | OFF | 0.02
7 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
9 | OFF | OFF | OFF | 0.024514 | 0.022158 | OFF | 0.02
10 | OFF | OFF | 0.02 | 0.02416 | OFF | OFF | 0.02
11 | 0.023336 | 0.02 | 0.021962 | OFF | 0.020293 | OFF | 0.02
12 | OFF | OFF | OFF | 0.01 | 0.01 | OFF | 0.01
13 | OFF | OFF | 0.01 | 0.01 | 0.01 | OFF | 0.01
14 | OFF | OFF | 0.01 | 0.01 | OFF | OFF | 0.01
15 | OFF | 0.01 | 0.02 | 0.02 | OFF | OFF | 0.02
16 | 0.02 | 0.024082 | 0.023081 | 0.02 | OFF | OFF | 0.02
17 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
18 | 0.02 | OFF | OFF | OFF | 0.02 | OFF | 0.02
19 | OFF | OFF | 0.03 | 0.02 | 0.02 | OFF | 0.02
20 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
22 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
24 | 0.02 | 0.02 | OFF | OFF | 0.02 | OFF | 0.02
25 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
26 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
27 | OFF | OFF | 0.03 | 0.02 | 0.02 | OFF | 0.03
28 | OFF | OFF | 0.02 | 0.02257 | OFF | OFF | 0.02
29 | 0.02 | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
30 | OFF | 0.02 | OFF | OFF | 0.022472 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J. Dues
[5 empty] | SIGNATURE:Zachary J. Dues |  |  | DATE:05/01/2025
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Apr_25 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.78 | 111 | 86.58 | 9.7 | 7.3 | 21.3144 | YES | 789
2 / 8:00 | 0.78 | 111 | 86.58 | 9.7 | 7.2 | 20.582 | YES | 833
3 / 8:00 | 0.78 | 111 | 86.58 | 9.8 | 7.18 | 20.3057 | YES | 812
4 / 8:00 | 0.79 | 111 | 87.69 | 9.9 | 7.2 | 20.3372 | YES | 758
5 / 12:00 | 0.8 | 111 | 88.8 | 10.1 | 7.21 | 20.1656 | YES | 750
6 / 12:00 | 0.82 | 111 | 91.02 | 10.3 | 7.2 | 19.8794 | YES | 754
7 / 16:00 | 0.82 | 111 | 91.02 | 10.4 | 7.34 | 20.737 | YES | 801
8 / 20:00 | 0.8 | 111 | 88.8 | 10.2 | 7.35 | 21.0371 | YES | 844
9 / 12:00 | 0.79 | 111 | 87.69 | 10.3 | 7.4 | 21.2444 | YES | 808
10 / 8:00 | 0.78 | 111 | 86.58 | 10.7 | 7.36 | 20.3844 | YES | 803
11 / 4:00 | 0.76 | 111 | 84.36 | 10.7 | 7.3 | 19.9185 | YES | 834
12 / 12:00 | 0.76 | 111 | 84.36 | 10.4 | 7.31 | 20.3835 | YES | 769
13 / 8:00 | 0.75 | 111 | 83.25 | 10.4 | 7.34 | 20.5748 | YES | 750
14 / 8:00 | 0.78 | 111 | 86.58 | 10.7 | 7.46 | 21.1089 | YES | 741
15 / 8:00 | 0.78 | 111 | 86.58 | 10.9 | 7.38 | 20.2603 | YES | 780
16 / 4:00 | 0.78 | 111 | 86.58 | 10.9 | 7.41 | 20.4732 | YES | 822
17 / 8:00 | 0.77 | 111 | 85.47 | 10.8 | 7.36 | 20.2289 | YES | 795
18 / 0:00 | 0.77 | 111 | 85.47 | 11 | 7.32 | 19.6909 | YES | 785
19 / 8:00 | 0.76 | 111 | 84.36 | 11.1 | 7.35 | 19.7458 | YES | 839
20 / 12:00 | 0.76 | 111 | 84.36 | 11.1 | 7.34 | 19.6773 | YES | 750
21 / 8:00 | 0.76 | 111 | 84.36 | 11.1 | 7.48 | 20.6601 | YES | 721
22 / 8:00 | 0.79 | 111 | 87.69 | 10.9 | 7.47 | 20.9301 | YES | 758
23 / 8:00 | 0.76 | 111 | 84.36 | 10.9 | 7.34 | 19.9356 | YES | 777
24 / 4:00 | 0.75 | 111 | 83.25 | 11 | 7.35 | 19.8527 | YES | 799
25 / 8:00 | 0.75 | 111 | 83.25 | 11.1 | 7.3 | 19.3847 | YES | 799
26 / 12:00 | 0.8 | 111 | 88.8 | 11 | 7.3 | 19.6202 | YES | 811
27 / 8:00 | 0.79 | 111 | 87.69 | 11 | 7.28 | 19.4629 | YES | 767
28 / 8:00 | 0.78 | 111 | 86.58 | 11 | 7.4 | 20.269 | YES | 711
29 / 8:00 | 0.78 | 111 | 86.58 | 11.2 | 7.31 | 19.3905 | YES | 783
30 / 16:00 | 0.75 | 111 | 83.25 | 11.2 | 7.3 | 19.2591 | YES | 784
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Apr | 0.080378 | 999.99 | 0.071938 | 0.068679 | 999.99 | 999.99 | 8 | 0 | 0.074764 | 0.77507 | 999.99 | 0.78019 | 0.80304 | 999.99 | 999.99 | 8 | 0.78019 | 0.78
2 | Apr | 999.99 | 999.99 | 0.036468 | 0.02257 | 0.022511 | 999.99 | 8 | 0 | 0.039942 | 999.99 | 999.99 | 0.78478 | 0.80528 | 0.81222 | 999.99 | 8 | 0.78478 | 0.78
3 | Apr | 999.99 | 999.99 | 0.043573 | 0.020509 | 0.018919 | 999.99 | 8 | 0 | 0.043907 | 999.99 | 999.99 | 0.78472 | 0.80963 | 0.81311 | 999.99 | 8 | 0.78472 | 0.78
4 | Apr | 999.99 | 999.99 | 0.043299 | 0.020921 | 0.020647 | 999.99 | 8 | 0 | 0.048343 | 999.99 | 999.99 | 0.78955 | 0.81058 | 0.80952 | 999.99 | 8 | 0.78955 | 0.79
5 | Apr | 999.99 | 999.99 | 999.99 | 0.022963 | 0.019724 | 999.99 | 12 | 0 | 0.026791 | 999.99 | 999.99 | 999.99 | 0.80351 | 0.82589 | 999.99 | 12 | 0.80351 | 0.8
6 | Apr | 999.99 | 999.99 | 999.99 | 0.026673 | 0.024965 | 999.99 | 12 | 0 | 0.028066 | 999.99 | 999.99 | 999.99 | 0.82147 | 0.83254 | 999.99 | 12 | 0.82147 | 0.82
7 | Apr | 999.99 | 999.99 | 0.036291 | 0.023375 | 0.022217 | 999.99 | 8 | 0 | 0.039746 | 999.99 | 999.99 | 0.81805 | 0.8303 | 0.82636 | 999.99 | 16 | 0.81805 | 0.82
8 | Apr | 999.99 | 999.99 | 0.038156 | 999.99 | 999.99 | 0.029264 | 8 | 0 | 0.038313 | 999.99 | 999.99 | 0.80598 | 999.99 | 999.99 | 0.79556 | 20 | 0.79556 | 0.8
9 | Apr | 999.99 | 999.99 | 999.99 | 0.024514 | 0.022158 | 999.99 | 12 | 0 | 0.026948 | 999.99 | 999.99 | 999.99 | 0.78443 | 0.8021 | 999.99 | 12 | 0.78443 | 0.78
10 | Apr | 999.99 | 999.99 | 0.027144 | 0.02416 | 999.99 | 999.99 | 8 | 0 | 0.027811 | 999.99 | 999.99 | 0.77848 | 0.78066 | 999.99 | 999.99 | 8 | 0.77848 | 0.78
11 | Apr | 0.023336 | 0.026437 | 0.021962 | 999.99 | 0.020293 | 999.99 | 0 | 0 | 0.027321 | 0.76046 | 0.76235 | 0.78113 | 999.99 | 0.77354 | 999.99 | 4 | 0.76235 | 0.76
12 | Apr | 999.99 | 999.99 | 999.99 | 0.022119 | 0.022295 | 999.99 | 16 | 0 | 0.026359 | 999.99 | 999.99 | 999.99 | 0.75817 | 0.77147 | 999.99 | 12 | 0.75817 | 0.76
13 | Apr | 999.99 | 999.99 | 0.047892 | 0.02471 | 0.021196 | 999.99 | 8 | 0 | 0.048834 | 999.99 | 999.99 | 0.74939 | 0.78013 | 0.79603 | 999.99 | 8 | 0.74939 | 0.75
14 | Apr | 999.99 | 999.99 | 0.036232 | 0.022963 | 999.99 | 999.99 | 8 | 0 | 0.037076 | 999.99 | 999.99 | 0.77507 | 0.80162 | 999.99 | 999.99 | 8 | 0.77507 | 0.78
15 | Apr | 999.99 | 0.030795 | 0.028989 | 0.02312 | 999.99 | 999.99 | 4 | 0 | 0.034524 | 999.99 | 0.77848 | 0.78325 | 0.78673 | 999.99 | 999.99 | 8 | 0.77848 | 0.78
16 | Apr | 0.060121 | 0.024082 | 0.023081 | 0.028498 | 999.99 | 999.99 | 12 | 0 | 0.028734 | 0.77189 | 0.78172 | 0.7932 | 0.78785 | 999.99 | 999.99 | 4 | 0.78172 | 0.78
17 | Apr | 999.99 | 999.99 | 0.052897 | 0.034426 | 999.99 | 999.99 | 8 | 0 | 0.055351 | 999.99 | 999.99 | 0.76299 | 0.78013 | 999.99 | 999.99 | 8 | 0.76299 | 0.76
18 | Apr | 0.040315 | 999.99 | 999.99 | 999.99 | 0.031835 | 999.99 | 0 | 0 | 0.041218 | 0.77118 | 999.99 | 999.99 | 999.99 | 0.77683 | 999.99 | 16 | 0.77683 | 0.78
19 | Apr | 999.99 | 999.99 | 0.10925 | 0.031874 | 0.027006 | 999.99 | 8 | 0 | 0.11502 | 999.99 | 999.99 | 0.75681 | 0.76935 | 0.77725 | 999.99 | 8 | 0.75681 | 0.76
20 | Apr | 999.99 | 999.99 | 0.0676 | 0.032346 | 0.033366 | 999.99 | 8 | 0 | 0.074234 | 999.99 | 999.99 | 0.75687 | 0.76023 | 0.77695 | 999.99 | 12 | 0.75687 | 0.76
21 | Apr | 999.99 | 999.99 | 0.052838 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.056961 | 999.99 | 999.99 | 0.76323 | 999.99 | 999.99 | 999.99 | 8 | 0.76323 | 0.76
22 | Apr | 0.035388 | 999.99 | 0.040217 | 0.032503 | 0.036095 | 999.99 | 8 | 0 | 0.043259 | 0.78578 | 999.99 | 0.78896 | 0.80162 | 0.79391 | 999.99 | 8 | 0.78896 | 0.79
23 | Apr | 999.99 | 999.99 | 0.046164 | 0.034093 | 999.99 | 999.99 | 8 | 0 | 0.047637 | 999.99 | 999.99 | 0.75781 | 0.76588 | 999.99 | 999.99 | 8 | 0.75781 | 0.76
24 | Apr | 0.052544 | 0.040119 | 999.99 | 999.99 | 0.042828 | 999.99 | 16 | 0 | 0.042886 | 0.75198 | 0.75234 | 999.99 | 999.99 | 0.75457 | 999.99 | 4 | 0.75234 | 0.75
25 | Apr | 999.99 | 999.99 | 0.076904 | 0.049403 | 0.040747 | 999.99 | 8 | 0 | 0.083146 | 999.99 | 999.99 | 0.75016 | 0.77218 | 0.79762 | 999.99 | 8 | 0.75016 | 0.75
26 | Apr | 999.99 | 999.99 | 999.99 | 0.054114 | 0.045968 | 999.99 | 12 | 0 | 0.054154 | 999.99 | 999.99 | 999.99 | 0.80233 | 0.81434 | 999.99 | 12 | 0.80233 | 0.8
27 | Apr | 999.99 | 999.99 | 0.11705 | 0.055272 | 0.047617 | 999.99 | 8 | 0 | 0.11848 | 999.99 | 999.99 | 0.78684 | 0.78755 | 0.80051 | 999.99 | 8 | 0.78684 | 0.79
28 | Apr | 999.99 | 999.99 | 0.062202 | 0.02257 | 999.99 | 999.99 | 8 | 0 | 0.065813 | 999.99 | 999.99 | 0.7816 | 0.79367 | 999.99 | 999.99 | 8 | 0.7816 | 0.78
29 | Apr | 0.030638 | 999.99 | 0.025731 | 0.025377 | 999.99 | 999.99 | 0 | 0 | 0.031776 | 0.7703 | 999.99 | 0.7763 | 0.78567 | 999.99 | 999.99 | 8 | 0.7763 | 0.78
30 | Apr | 999.99 | 0.034191 | 999.99 | 999.99 | 0.022472 | 999.99 | 4 | 0 | 0.034191 | 999.99 | 0.75605 | 999.99 | 999.99 | 0.75128 | 999.99 | 16 | 0.75128 | 0.75