## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Jul_25
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | 0.02 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
2 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
3 | OFF | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
4 | 0.02 | OFF | 0.02 | OFF | OFF | OFF | 0.02
5 | 0.02 | OFF | OFF | OFF | 0.02 | OFF | 0.02
6 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
7 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
9 | 0.02 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
10 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
11 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
12 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
13 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
17 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
18 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
19 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
20 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
22 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
24 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
25 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
26 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
27 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
29 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
30 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
31 | OFF | 0.02 | 0.02 | 0.03 | OFF | OFF | 0.03
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:08/01/2025
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Jul_25 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 12:00 | 0.81 | 111 | 89.91 | 18.1 | 7.54 | 13.2362 | YES | 855
2 / 8:00 | 0.79 | 111 | 87.69 | 18.6 | 7.51 | 12.6287 | YES | 872
3 / 20:00 | 0.72 | 111 | 79.92 | 18.8 | 7.4 | 11.8636 | YES | 891
4 / 8:00 | 0.74 | 111 | 82.14 | 19.1 | 7.42 | 11.7408 | YES | 886
5 / 0:00 | 0.76 | 111 | 84.36 | 19.1 | 7.38 | 11.5932 | YES | 873
6 / 12:00 | 0.79 | 111 | 87.69 | 19.2 | 7.38 | 11.5552 | YES | 871
7 / 8:00 | 0.78 | 111 | 86.58 | 19.2 | 7.54 | 12.2525 | YES | 823
8 / 8:00 | 0.76 | 111 | 84.36 | 19.3 | 7.48 | 11.8737 | YES | 848
9 / 0:00 | 0.77 | 111 | 85.47 | 19.4 | 7.44 | 11.6325 | YES | 813
10 / 8:00 | 0.75 | 111 | 83.25 | 19.4 | 7.4 | 11.4336 | YES | 835
11 / 12:00 | 0.77 | 111 | 85.47 | 19.7 | 7.42 | 11.315 | YES | 815
12 / 12:00 | 0.8 | 111 | 88.8 | 19.9 | 7.41 | 11.1604 | YES | 889
13 / 12:00 | 0.82 | 111 | 91.02 | 19.5 | 7.41 | 11.4915 | YES | 860
14 / 12:00 | 0.81 | 111 | 89.91 | 20.5 | 7.56 | 11.35 | YES | 830
15 / 8:00 | 0.8 | 111 | 88.8 | 20.5 | 7.53 | 11.2105 | YES | 852
16 / 8:00 | 0.77 | 111 | 85.47 | 20.9 | 7.42 | 10.4354 | YES | 846
17 / 8:00 | 0.78 | 111 | 86.58 | 21.1 | 7.58 | 10.9444 | YES | 829
18 / 8:00 | 0.75 | 111 | 83.25 | 21 | 7.48 | 10.5766 | YES | 846
19 / 12:00 | 0.79 | 111 | 87.69 | 21.1 | 7.5 | 10.6334 | YES | 828
20 / 12:00 | 0.77 | 111 | 85.47 | 20.9 | 7.5 | 10.7531 | YES | 828
21 / 8:00 | 0.74 | 111 | 82.14 | 20.6 | 7.58 | 11.2674 | YES | 826
22 / 8:00 | 0.75 | 111 | 83.25 | 20.4 | 7.46 | 10.9313 | YES | 875
23 / 12:00 | 0.81 | 111 | 89.91 | 20.2 | 7.44 | 11.0733 | YES | 873
24 / 8:00 | 0.79 | 111 | 87.69 | 20.3 | 7.55 | 11.4346 | YES | 861
25 / 8:00 | 0.77 | 111 | 85.47 | 20 | 7.52 | 11.5113 | YES | 880
26 / 8:00 | 0.77 | 111 | 85.47 | 20.1 | 7.46 | 11.1803 | YES | 906
27 / 12:00 | 0.78 | 111 | 86.58 | 20.1 | 7.45 | 11.1514 | YES | 835
28 / 8:00 | 0.79 | 111 | 87.69 | 20.1 | 7.49 | 11.3325 | YES | 813
29 / 8:00 | 0.76 | 111 | 84.36 | 20.3 | 7.53 | 11.3104 | YES | 831
30 / 8:00 | 0.76 | 111 | 84.36 | 20.4 | 7.5 | 11.109 | YES | 814
31 / 4:00 | 0.75 | 111 | 83.25 | 20.1 | 7.47 | 11.1964 | YES | 825
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Jul | 0.062476 | 999.99 | 999.99 | 0.063144 | 0.028125 | 999.99 | 0 | 0 | 0.06544 | 0.80704 | 999.99 | 999.99 | 0.8094 | 0.85798 | 999.99 | 12 | 0.8094 | 0.81
2 | Jul | 999.99 | 999.99 | 0.026104 | 0.032836 | 999.99 | 999.99 | 12 | 0 | 0.03527 | 999.99 | 999.99 | 0.78596 | 0.79615 | 999.99 | 999.99 | 8 | 0.78596 | 0.79
3 | Jul | 999.99 | 999.99 | 0.049953 | 999.99 | 999.99 | 0.052407 | 20 | 0 | 0.053015 | 999.99 | 999.99 | 0.72937 | 999.99 | 999.99 | 0.71677 | 20 | 0.71677 | 0.72
4 | Jul | 0.036978 | 999.99 | 0.037704 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.040649 | 0.75122 | 999.99 | 0.74268 | 999.99 | 999.99 | 999.99 | 8 | 0.74268 | 0.74
5 | Jul | 0.040943 | 999.99 | 999.99 | 999.99 | 0.032424 | 999.99 | 16 | 0 | 0.032503 | 0.75828 | 999.99 | 999.99 | 999.99 | 0.76835 | 999.99 | 16 | 0.76835 | 0.77
6 | Jul | 999.99 | 999.99 | 999.99 | 0.03739 | 0.030206 | 999.99 | 12 | 0 | 0.03951 | 999.99 | 999.99 | 999.99 | 0.78602 | 0.8177 | 999.99 | 12 | 0.78602 | 0.79
7 | Jul | 999.99 | 999.99 | 0.052151 | 0.031796 | 0.027968 | 999.99 | 8 | 0 | 0.055174 | 999.99 | 999.99 | 0.78207 | 0.8177 | 0.82159 | 999.99 | 8 | 0.78207 | 0.78
8 | Jul | 999.99 | 999.99 | 0.032601 | 0.038647 | 999.99 | 999.99 | 12 | 0 | 0.039314 | 999.99 | 999.99 | 0.75822 | 0.79974 | 999.99 | 999.99 | 8 | 0.75822 | 0.76
9 | Jul | 0.052171 | 999.99 | 999.99 | 0.038254 | 0.028184 | 999.99 | 12 | 0 | 0.038725 | 0.77212 | 999.99 | 999.99 | 0.77948 | 0.81511 | 999.99 | 12 | 0.77948 | 0.78
10 | Jul | 999.99 | 999.99 | 0.039628 | 999.99 | 0.032444 | 999.99 | 8 | 0 | 0.039628 | 999.99 | 999.99 | 0.74839 | 999.99 | 0.77677 | 999.99 | 8 | 0.74839 | 0.75
11 | Jul | 999.99 | 999.99 | 999.99 | 0.042298 | 0.032581 | 999.99 | 12 | 0 | 0.042298 | 999.99 | 999.99 | 999.99 | 0.77153 | 0.82665 | 999.99 | 12 | 0.77153 | 0.77
12 | Jul | 999.99 | 999.99 | 999.99 | 0.031874 | 0.029126 | 999.99 | 12 | 0 | 0.035938 | 999.99 | 999.99 | 999.99 | 0.80056 | 0.83225 | 999.99 | 12 | 0.80056 | 0.8
13 | Jul | 999.99 | 999.99 | 999.99 | 0.039039 | 0.034642 | 999.99 | 12 | 0 | 0.040982 | 999.99 | 999.99 | 999.99 | 0.82288 | 0.8644 | 999.99 | 12 | 0.82288 | 0.82
14 | Jul | 999.99 | 999.99 | 0.05963 | 0.039118 | 0.036782 | 999.99 | 8 | 0 | 0.066206 | 999.99 | 999.99 | 0.82306 | 0.8091 | 0.85928 | 999.99 | 12 | 0.8091 | 0.81
15 | Jul | 999.99 | 999.99 | 0.067639 | 0.042298 | 0.047774 | 999.99 | 8 | 0 | 0.067639 | 999.99 | 999.99 | 0.80251 | 0.81805 | 0.80439 | 999.99 | 8 | 0.80251 | 0.8
16 | Jul | 999.99 | 999.99 | 0.039864 | 0.03633 | 0.02946 | 999.99 | 8 | 0 | 0.039883 | 999.99 | 999.99 | 0.76983 | 0.80769 | 0.83849 | 999.99 | 8 | 0.76983 | 0.77
17 | Jul | 999.99 | 999.99 | 0.045615 | 0.035231 | 999.99 | 999.99 | 8 | 0 | 0.046734 | 999.99 | 999.99 | 0.7826 | 0.82648 | 999.99 | 999.99 | 8 | 0.7826 | 0.78
18 | Jul | 999.99 | 999.99 | 0.045733 | 0.04479 | 999.99 | 0.037842 | 12 | 0 | 0.047813 | 999.99 | 999.99 | 0.75475 | 0.79644 | 999.99 | 0.77948 | 8 | 0.75475 | 0.75
19 | Jul | 999.99 | 999.99 | 999.99 | 0.043416 | 0.031757 | 999.99 | 12 | 0 | 0.044084 | 999.99 | 999.99 | 999.99 | 0.78596 | 0.81482 | 999.99 | 12 | 0.78596 | 0.79
20 | Jul | 999.99 | 999.99 | 999.99 | 0.046184 | 0.040099 | 999.99 | 12 | 0 | 0.046243 | 999.99 | 999.99 | 999.99 | 0.77012 | 0.80021 | 999.99 | 12 | 0.77012 | 0.77
21 | Jul | 999.99 | 999.99 | 0.088073 | 999.99 | 0.091724 | 999.99 | 8 | 0 | 0.09508 | 999.99 | 999.99 | 0.73756 | 999.99 | 0.74433 | 999.99 | 8 | 0.73756 | 0.74
22 | Jul | 999.99 | 999.99 | 0.079338 | 0.035094 | 0.033621 | 999.99 | 8 | 0 | 0.081929 | 999.99 | 999.99 | 0.75404 | 0.81399 | 0.83283 | 999.99 | 8 | 0.75404 | 0.75
23 | Jul | 999.99 | 999.99 | 999.99 | 0.041846 | 0.034799 | 999.99 | 12 | 0 | 0.041964 | 999.99 | 999.99 | 999.99 | 0.80145 | 0.83242 | 999.99 | 12 | 0.80145 | 0.8
24 | Jul | 999.99 | 999.99 | 0.13891 | 0.041277 | 999.99 | 999.99 | 8 | 0 | 0.13891 | 999.99 | 999.99 | 0.78678 | 0.82041 | 999.99 | 999.99 | 8 | 0.78678 | 0.79
25 | Jul | 999.99 | 999.99 | 0.079927 | 999.99 | 0.047166 | 999.99 | 8 | 0 | 0.087425 | 999.99 | 999.99 | 0.77253 | 999.99 | 0.81717 | 999.99 | 8 | 0.77253 | 0.77
26 | Jul | 999.99 | 999.99 | 0.06442 | 0.043358 | 0.039039 | 999.99 | 8 | 0 | 0.067423 | 999.99 | 999.99 | 0.76682 | 0.82294 | 0.83537 | 999.99 | 8 | 0.76682 | 0.77
27 | Jul | 999.99 | 999.99 | 999.99 | 0.047735 | 0.038725 | 999.99 | 12 | 0 | 0.047794 | 999.99 | 999.99 | 999.99 | 0.77889 | 0.83142 | 999.99 | 12 | 0.77889 | 0.78
28 | Jul | 999.99 | 999.99 | 0.060651 | 0.047048 | 0.041689 | 999.99 | 8 | 0 | 0.063733 | 999.99 | 999.99 | 0.78331 | 0.82565 | 0.84296 | 999.99 | 8 | 0.78331 | 0.78
29 | Jul | 999.99 | 999.99 | 0.056411 | 0.051484 | 999.99 | 999.99 | 8 | 0 | 0.057903 | 999.99 | 999.99 | 0.76305 | 0.81717 | 999.99 | 999.99 | 8 | 0.76305 | 0.76
30 | Jul | 999.99 | 999.99 | 0.0538 | 0.04958 | 999.99 | 999.99 | 8 | 0 | 0.055881 | 999.99 | 999.99 | 0.76241 | 0.80993 | 999.99 | 999.99 | 8 | 0.76241 | 0.76
31 | Jul | 999.99 | 0.10582 | 0.059159 | 0.057118 | 999.99 | 999.99 | 4 | 0 | 0.10686 | 999.99 | 0.75422 | 0.79892 | 0.81758 | 999.99 | 999.99 | 4 | 0.75422 | 0.75