## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Aug_25
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | 0.02 | 0.02 | OFF | 0.02 | OFF | 0.02
2 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
3 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
4 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
5 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
6 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
7 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
8 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
9 | OFF | OFF | 0.03 | 0.02 | 0.02 | OFF | 0.03
10 | OFF | OFF | 0.02 | 0.03 | 0.03 | OFF | 0.03
11 | OFF | OFF | 0.03 | 0.03 | OFF | OFF | 0.03
12 | OFF | OFF | 0.03 | 0.03 | OFF | 0.02 | 0.03
13 | OFF | OFF | 0.02 | 0.03 | 0.03 | OFF | 0.03
14 | OFF | OFF | 0.03 | OFF | 0.03 | OFF | 0.03
15 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
16 | OFF | OFF | OFF | 0.03 | OFF | OFF | 0.03
17 | OFF | OFF | 0.03 | 0.03 | 0.03 | OFF | 0.03
18 | OFF | OFF | 0.03 | 0.05 | 0.05 | OFF | 0.05
19 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
20 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
22 | 0.02 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.03 | 0.032797 | OFF | 0.03
24 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
25 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
26 | 0.02 | 0.02 | OFF | OFF | OFF | 0.02 | 0.02
27 | OFF | OFF | OFF | 0.03 | 0.04 | OFF | 0.04
28 | OFF | OFF | 0.03 | 0.03 | 0.03 | 0.02 | 0.03
29 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
30 | OFF | OFF | OFF | 0.03 | 0.03 | OFF | 0.03
31 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:09/01/2025
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Aug_25 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 4:00 | 0.75 | 111 | 83.25 | 20.3 | 7.52 | 11.2552 | YES | 886
2 / 12:00 | 0.77 | 111 | 85.47 | 20.4 | 7.46 | 10.9565 | YES | 867
3 / 12:00 | 0.76 | 111 | 84.36 | 20.4 | 7.49 | 11.0675 | YES | 881
4 / 8:00 | 0.74 | 111 | 82.14 | 20.3 | 7.56 | 11.4117 | YES | 866
5 / 8:00 | 0.72 | 111 | 79.92 | 20.3 | 7.46 | 10.9673 | YES | 840
6 / 12:00 | 0.77 | 111 | 85.47 | 20.1 | 7.41 | 10.973 | YES | 816
7 / 12:00 | 0.78 | 111 | 86.58 | 19.9 | 7.43 | 11.2184 | YES | 824
8 / 12:00 | 0.77 | 111 | 85.47 | 19.8 | 7.45 | 11.3659 | YES | 839
9 / 8:00 | 0.76 | 111 | 84.36 | 19.8 | 7.41 | 11.1842 | YES | 841
10 / 8:00 | 0.78 | 111 | 86.58 | 19.8 | 7.39 | 11.1264 | YES | 876
11 / 8:00 | 0.75 | 111 | 83.25 | 20.1 | 7.47 | 11.1964 | YES | 862
12 / 8:00 | 0.73 | 111 | 81.03 | 20.4 | 7.32 | 10.3486 | YES | 854
13 / 8:00 | 0.73 | 111 | 81.03 | 20.6 | 7.5 | 10.9225 | YES | 858
14 / 8:00 | 0.72 | 111 | 79.92 | 21.2 | 7.4 | 10.0911 | YES | 842
15 / 8:00 | 0.72 | 111 | 79.92 | 21.4 | 7.41 | 9.9929 | YES | 847
16 / 12:00 | 0.83 | 111 | 92.13 | 21.3 | 7.37 | 10.0374 | YES | 844
17 / 8:00 | 0.79 | 111 | 87.69 | 21.4 | 7.52 | 10.4987 | YES | 824
18 / 8:00 | 0.81 | 111 | 89.91 | 21 | 7.51 | 10.7704 | YES | 886
19 / 8:00 | 0.8 | 111 | 88.8 | 20.6 | 7.47 | 10.8879 | YES | 897
20 / 8:00 | 0.77 | 111 | 85.47 | 20.3 | 7.46 | 11.0306 | YES | 890
21 / 8:00 | 0.73 | 111 | 81.03 | 20 | 7.36 | 10.7925 | YES | 884
22 / 12:00 | 0.76 | 111 | 84.36 | 20 | 7.27 | 10.4706 | YES | 867
23 / 8:00 | 0.78 | 111 | 86.58 | 20.1 | 7.17 | 10.04 | YES | 907
24 / 8:00 | 0.82 | 111 | 91.02 | 20.3 | 7.28 | 10.3706 | YES | 843
25 / 8:00 | 0.84 | 111 | 93.24 | 20.4 | 7.54 | 11.3808 | YES | 829
26 / 20:00 | 0.85 | 111 | 94.35 | 20.4 | 7.55 | 11.4365 | YES | 804
27 / 12:00 | 0.78 | 111 | 86.58 | 20.8 | 7.46 | 10.6771 | YES | 893
28 / 8:00 | 0.78 | 111 | 86.58 | 20.3 | 7.51 | 11.2519 | YES | 854
29 / 8:00 | 0.8 | 111 | 88.8 | 20.1 | 7.39 | 10.9288 | YES | 868
30 / 12:00 | 0.84 | 111 | 93.24 | 20 | 7.39 | 11.0535 | YES | 887
31 / 8:00 | 0.8 | 111 | 88.8 | 19.7 | 7.37 | 11.1437 | YES | 819
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Aug | 999.99 | 0.14443 | 0.048618 | 999.99 | 0.048186 | 999.99 | 4 | 0 | 0.14445 | 999.99 | 0.74857 | 0.79721 | 999.99 | 0.78802 | 999.99 | 4 | 0.74857 | 0.75
2 | Aug | 999.99 | 999.99 | 999.99 | 0.05327 | 0.053957 | 999.99 | 16 | 0 | 0.055528 | 999.99 | 999.99 | 999.99 | 0.77442 | 0.80957 | 999.99 | 12 | 0.77442 | 0.77
3 | Aug | 999.99 | 999.99 | 999.99 | 0.064969 | 0.061632 | 999.99 | 12 | 0 | 0.069052 | 999.99 | 999.99 | 999.99 | 0.76476 | 0.81058 | 999.99 | 12 | 0.76476 | 0.76
4 | Aug | 999.99 | 999.99 | 0.1038 | 0.062339 | 0.06175 | 999.99 | 8 | 0 | 0.1038 | 999.99 | 999.99 | 0.74127 | 0.79173 | 0.78496 | 999.99 | 8 | 0.74127 | 0.74
5 | Aug | 999.99 | 999.99 | 0.096199 | 0.063556 | 0.063497 | 999.99 | 8 | 0 | 0.096219 | 999.99 | 999.99 | 0.72089 | 0.77736 | 0.80392 | 999.99 | 8 | 0.72089 | 0.72
6 | Aug | 999.99 | 999.99 | 999.99 | 0.076119 | 0.071977 | 999.99 | 12 | 0 | 0.076119 | 999.99 | 999.99 | 999.99 | 0.77495 | 0.83154 | 999.99 | 12 | 0.77495 | 0.77
7 | Aug | 999.99 | 999.99 | 999.99 | 0.098712 | 0.082105 | 999.99 | 12 | 0 | 0.10185 | 999.99 | 999.99 | 999.99 | 0.78178 | 0.82076 | 999.99 | 12 | 0.78178 | 0.78
8 | Aug | 999.99 | 999.99 | 999.99 | 0.10511 | 0.088819 | 999.99 | 12 | 0 | 0.10786 | 999.99 | 999.99 | 999.99 | 0.77171 | 0.82447 | 999.99 | 12 | 0.77171 | 0.77
9 | Aug | 999.99 | 999.99 | 0.12454 | 0.094943 | 0.10254 | 999.99 | 8 | 0 | 0.12488 | 999.99 | 999.99 | 0.75616 | 0.81429 | 0.83437 | 999.99 | 8 | 0.75616 | 0.76
10 | Aug | 999.99 | 999.99 | 0.11504 | 0.10851 | 0.1077 | 999.99 | 8 | 0 | 0.11655 | 999.99 | 999.99 | 0.77536 | 0.82147 | 0.83549 | 999.99 | 8 | 0.77536 | 0.78
11 | Aug | 999.99 | 999.99 | 0.15149 | 0.12319 | 999.99 | 999.99 | 8 | 0 | 0.15163 | 999.99 | 999.99 | 0.74998 | 0.80051 | 999.99 | 999.99 | 8 | 0.74998 | 0.75
12 | Aug | 999.99 | 999.99 | 0.16551 | 0.13408 | 999.99 | 0.1514 | 8 | 0 | 0.18306 | 999.99 | 999.99 | 0.73196 | 0.77954 | 999.99 | 0.74886 | 8 | 0.73196 | 0.73
13 | Aug | 999.99 | 999.99 | 0.14455 | 0.14904 | 0.14594 | 999.99 | 12 | 0 | 0.14994 | 999.99 | 999.99 | 0.73591 | 0.77719 | 0.79415 | 999.99 | 8 | 0.73591 | 0.74
14 | Aug | 999.99 | 999.99 | 0.1522 | 999.99 | 0.16461 | 999.99 | 16 | 0 | 0.16832 | 999.99 | 999.99 | 0.71406 | 999.99 | 0.7597 | 999.99 | 8 | 0.71406 | 0.71
15 | Aug | 999.99 | 999.99 | 0.18675 | 0.18997 | 0.18294 | 999.99 | 12 | 0 | 0.19354 | 999.99 | 999.99 | 0.71606 | 0.80045 | 0.86228 | 999.99 | 8 | 0.71606 | 0.72
16 | Aug | 999.99 | 999.99 | 999.99 | 0.21205 | 999.99 | 999.99 | 12 | 0 | 0.21299 | 999.99 | 999.99 | 999.99 | 0.82983 | 999.99 | 999.99 | 12 | 0.82983 | 0.83
17 | Aug | 999.99 | 999.99 | 0.26821 | 0.23584 | 0.23963 | 999.99 | 8 | 0 | 0.27135 | 999.99 | 999.99 | 0.78796 | 0.87229 | 0.89037 | 999.99 | 8 | 0.78796 | 0.79
18 | Aug | 999.99 | 999.99 | 0.31369 | 0.26978 | 0.27812 | 999.99 | 8 | 0 | 0.31369 | 999.99 | 999.99 | 0.81311 | 0.87288 | 0.87771 | 999.99 | 8 | 0.81311 | 0.81
19 | Aug | 999.99 | 999.99 | 0.32243 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.32329 | 999.99 | 999.99 | 0.80204 | 999.99 | 999.99 | 999.99 | 8 | 0.80204 | 0.8
20 | Aug | 0.33964 | 999.99 | 0.37544 | 0.34731 | 0.039 | 999.99 | 8 | 0 | 0.37544 | 0.77595 | 999.99 | 0.7746 | 0.81941 | 0.83448 | 999.99 | 8 | 0.7746 | 0.77
21 | Aug | 999.99 | 999.99 | 0.050208 | 0.051837 | 999.99 | 999.99 | 12 | 0 | 0.053094 | 999.99 | 999.99 | 0.72707 | 0.78207 | 999.99 | 999.99 | 8 | 0.72707 | 0.73
22 | Aug | 0.045046 | 999.99 | 999.99 | 0.032287 | 0.036448 | 999.99 | 0 | 0 | 0.047283 | 0.76376 | 999.99 | 999.99 | 0.84603 | 0.87989 | 999.99 | 12 | 0.84603 | 0.85
23 | Aug | 999.99 | 999.99 | 0.070917 | 0.040276 | 0.032797 | 999.99 | 8 | 0 | 0.071192 | 999.99 | 999.99 | 0.78101 | 0.84444 | 0.91381 | 999.99 | 8 | 0.78101 | 0.78
24 | Aug | 999.99 | 999.99 | 0.071309 | 0.035565 | 0.040217 | 999.99 | 8 | 0 | 0.072114 | 999.99 | 999.99 | 0.82424 | 0.90073 | 0.92923 | 999.99 | 8 | 0.82424 | 0.82
25 | Aug | 999.99 | 999.99 | 0.060356 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.060356 | 999.99 | 999.99 | 0.84067 | 999.99 | 999.99 | 999.99 | 8 | 0.84067 | 0.84
26 | Aug | 0.041866 | 0.042219 | 999.99 | 999.99 | 999.99 | 0.043318 | 20 | 0 | 0.045046 | 0.86882 | 0.8959 | 999.99 | 999.99 | 999.99 | 0.84591 | 20 | 0.84591 | 0.85
27 | Aug | 999.99 | 999.99 | 999.99 | 0.048422 | 0.044182 | 999.99 | 12 | 0 | 0.050365 | 999.99 | 999.99 | 999.99 | 0.78313 | 0.8243 | 999.99 | 12 | 0.78313 | 0.78
28 | Aug | 999.99 | 999.99 | 0.063929 | 0.043161 | 0.045399 | 0.04165 | 8 | 0 | 0.15416 | 999.99 | 999.99 | 0.78066 | 0.84143 | 0.87211 | 0.89714 | 8 | 0.78066 | 0.78
29 | Aug | 999.99 | 999.99 | 0.078592 | 0.065401 | 0.064989 | 999.99 | 8 | 0 | 0.07871 | 999.99 | 999.99 | 0.8021 | 0.85162 | 0.86952 | 999.99 | 8 | 0.8021 | 0.8
30 | Aug | 999.99 | 999.99 | 999.99 | 0.048127 | 0.045163 | 999.99 | 12 | 0 | 0.051759 | 999.99 | 999.99 | 999.99 | 0.84131 | 0.87889 | 999.99 | 12 | 0.84131 | 0.84
31 | Aug | 999.99 | 999.99 | 0.10611 | 0.10845 | 0.052799 | 999.99 | 12 | 0 | 0.11057 | 999.99 | 999.99 | 0.80504 | 0.8578 | 0.8846 | 999.99 | 8 | 0.80504 | 0.81