## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Sep_25
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
2 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
3 | 0.02 | OFF | 0.02 | 0.03 | OFF | OFF | 0.03
4 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
5 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
6 | OFF | OFF | OFF | 0.03 | 0.02 | OFF | 0.03
7 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
8 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
9 | OFF | OFF | 0.02 | 0.02 | 0.03 | OFF | 0.03
10 | OFF | OFF | 0.03 | 0.03 | 0.02 | OFF | 0.03
11 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
12 | 0.02 | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
13 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
16 | OFF | OFF | 0.02 | 0.02 | OFF | 0.02 | 0.02
17 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
18 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
19 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
20 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
22 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
24 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
25 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
26 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
27 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
29 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
30 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:10/01/2025
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Sep_25 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.84 | 111 | 93.24 | 19.5 | 7.44 | 11.6478 | YES | 835
2 / 8:00 | 0.85 | 111 | 94.35 | 19.3 | 7.54 | 12.2686 | YES | 829
3 / 0:00 | 0.88 | 111 | 97.68 | 19.3 | 7.53 | 12.265 | YES | 819
4 / 8:00 | 0.84 | 111 | 93.24 | 19.4 | 7.56 | 12.2636 | YES | 832
5 / 8:00 | 0.86 | 111 | 95.46 | 19.3 | 7.41 | 11.7008 | YES | 843
6 / 12:00 | 0.9 | 111 | 99.9 | 19.3 | 7.46 | 11.9763 | YES | 878
7 / 12:00 | 0.88 | 111 | 97.68 | 19.2 | 7.54 | 12.3938 | YES | 876
8 / 8:00 | 0.86 | 111 | 95.46 | 19.2 | 7.49 | 12.1369 | YES | 858
9 / 8:00 | 0.84 | 111 | 93.24 | 19.2 | 7.49 | 12.1091 | YES | 832
10 / 8:00 | 0.81 | 111 | 89.91 | 19.5 | 7.5 | 11.8708 | YES | 844
11 / 8:00 | 0.81 | 111 | 89.91 | 19.2 | 7.51 | 12.1579 | YES | 834
12 / 0:00 | 0.8 | 111 | 88.8 | 19 | 7.41 | 11.8573 | YES | 845
13 / 12:00 | 0.83 | 111 | 92.13 | 18.9 | 7.39 | 11.8894 | YES | 824
14 / 8:00 | 0.8 | 111 | 88.8 | 18.8 | 7.4 | 11.973 | YES | 860
15 / 8:00 | 0.81 | 111 | 89.91 | 18.8 | 7.49 | 12.3961 | YES | 868
16 / 8:00 | 0.83 | 111 | 92.13 | 18.5 | 7.47 | 12.5831 | YES | 885
17 / 12:00 | 0.82 | 111 | 91.02 | 18.4 | 7.38 | 12.2358 | YES | 852
18 / 8:00 | 0.78 | 111 | 86.58 | 18.5 | 7.41 | 12.2344 | YES | 856
19 / 8:00 | 0.78 | 111 | 86.58 | 18.3 | 7.32 | 11.9904 | YES | 857
20 / 12:00 | 0.79 | 111 | 87.69 | 18.4 | 7.31 | 11.8793 | YES | 832
21 / 8:00 | 0.77 | 111 | 85.47 | 18.3 | 7.32 | 11.9766 | YES | 816
22 / 8:00 | 0.8 | 111 | 88.8 | 18.2 | 7.32 | 12.099 | YES | 817
23 / 8:00 | 0.83 | 111 | 92.13 | 18.1 | 7.34 | 12.3141 | YES | 836
24 / 8:00 | 0.87 | 111 | 96.57 | 18.1 | 7.37 | 12.5098 | YES | 850
25 / 8:00 | 0.82 | 111 | 91.02 | 17.8 | 7.39 | 12.7862 | YES | 873
26 / 8:00 | 0.83 | 111 | 92.13 | 17.7 | 7.39 | 12.887 | YES | 868
27 / 8:00 | 0.8 | 111 | 88.8 | 17.5 | 7.34 | 12.776 | YES | 873
28 / 8:00 | 0.81 | 111 | 89.91 | 17.4 | 7.29 | 12.6391 | YES | 830
29 / 8:00 | 0.84 | 111 | 93.24 | 17.2 | 7.46 | 13.6933 | YES | 819
30 / 8:00 | 0.85 | 111 | 94.35 | 16.8 | 7.47 | 14.1332 | YES | 824
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Sep | 999.99 | 999.99 | 0.069955 | 0.049266 | 0.046734 | 999.99 | 8 | 0 | 0.070956 | 999.99 | 999.99 | 0.84455 | 0.88678 | 0.91051 | 999.99 | 8 | 0.84455 | 0.84
2 | Sep | 999.99 | 999.99 | 0.066422 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.067128 | 999.99 | 999.99 | 0.8412 | 999.99 | 999.99 | 999.99 | 8 | 0.8412 | 0.84
3 | Sep | 0.047028 | 999.99 | 0.041434 | 0.03951 | 999.99 | 999.99 | 0 | 0 | 0.049953 | 0.87688 | 999.99 | 0.88701 | 0.91781 | 999.99 | 999.99 | 0 | 0.88 | 0.88
4 | Sep | 999.99 | 999.99 | 0.06177 | 0.043142 | 0.039294 | 999.99 | 8 | 0 | 0.06493 | 999.99 | 999.99 | 0.84396 | 0.89478 | 0.92829 | 999.99 | 8 | 0.84396 | 0.84
5 | Sep | 999.99 | 999.99 | 0.04746 | 0.040865 | 0.035741 | 999.99 | 8 | 0 | 0.047558 | 999.99 | 999.99 | 0.85904 | 0.91116 | 0.94066 | 999.99 | 8 | 0.85904 | 0.86
6 | Sep | 999.99 | 999.99 | 999.99 | 0.058119 | 0.035938 | 999.99 | 12 | 0 | 0.058904 | 999.99 | 999.99 | 999.99 | 0.89537 | 0.92446 | 999.99 | 12 | 0.89537 | 0.9
7 | Sep | 999.99 | 999.99 | 999.99 | 0.053349 | 0.044751 | 999.99 | 12 | 0 | 0.053741 | 999.99 | 999.99 | 999.99 | 0.87889 | 0.90739 | 999.99 | 12 | 0.87889 | 0.88
8 | Sep | 999.99 | 999.99 | 0.062555 | 999.99 | 0.039589 | 999.99 | 8 | 0 | 0.063261 | 999.99 | 999.99 | 0.86793 | 999.99 | 0.87912 | 999.99 | 8 | 0.86793 | 0.87
9 | Sep | 999.99 | 999.99 | 0.051994 | 0.042965 | 0.046027 | 999.99 | 8 | 0 | 0.055174 | 999.99 | 999.99 | 0.83225 | 0.86157 | 0.87111 | 999.99 | 8 | 0.83225 | 0.83
10 | Sep | 999.99 | 999.99 | 0.054605 | 0.049816 | 0.041964 | 999.99 | 8 | 0 | 0.056803 | 999.99 | 999.99 | 0.80775 | 0.85521 | 0.87541 | 999.99 | 8 | 0.80775 | 0.81
11 | Sep | 999.99 | 999.99 | 0.1013 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.12443 | 999.99 | 999.99 | 0.80757 | 999.99 | 999.99 | 999.99 | 8 | 0.80757 | 0.81
12 | Sep | 0.055685 | 999.99 | 0.062005 | 0.049658 | 0.042258 | 999.99 | 8 | 0 | 0.063791 | 0.80215 | 999.99 | 0.81888 | 0.86293 | 0.87847 | 999.99 | 8 | 0.81888 | 0.82
13 | Sep | 999.99 | 999.99 | 999.99 | 0.056175 | 0.048677 | 999.99 | 12 | 0 | 0.056588 | 999.99 | 999.99 | 999.99 | 0.82477 | 0.86858 | 999.99 | 12 | 0.82477 | 0.82
14 | Sep | 999.99 | 999.99 | 0.081615 | 0.053781 | 0.057687 | 999.99 | 8 | 0 | 0.082675 | 999.99 | 999.99 | 0.79727 | 0.84243 | 0.85297 | 999.99 | 8 | 0.79727 | 0.8
15 | Sep | 999.99 | 999.99 | 0.084539 | 0.060435 | 0.057333 | 999.99 | 8 | 0 | 0.087955 | 999.99 | 999.99 | 0.81246 | 0.86593 | 0.87788 | 999.99 | 8 | 0.81246 | 0.81
16 | Sep | 999.99 | 999.99 | 0.085384 | 0.066991 | 999.99 | 0.081988 | 8 | 0 | 0.087778 | 999.99 | 999.99 | 0.82865 | 0.87682 | 999.99 | 0.83454 | 8 | 0.82865 | 0.83
17 | Sep | 999.99 | 999.99 | 999.99 | 0.076393 | 0.072134 | 999.99 | 12 | 0 | 0.078396 | 999.99 | 999.99 | 999.99 | 0.83119 | 0.85097 | 999.99 | 12 | 0.83119 | 0.83
18 | Sep | 999.99 | 999.99 | 0.10637 | 999.99 | 0.13393 | 0.095865 | 16 | 0 | 0.13487 | 999.99 | 999.99 | 0.7786 | 999.99 | 0.78361 | 0.81588 | 8 | 0.7786 | 0.78
19 | Sep | 999.99 | 999.99 | 1.0012 | 0.070249 | 0.071702 | 999.99 | 8 | 0 | 1.0012 | 999.99 | 999.99 | 0.77937 | 0.82683 | 0.85127 | 999.99 | 8 | 0.77937 | 0.78
20 | Sep | 999.99 | 999.99 | 999.99 | 0.085776 | 0.079181 | 999.99 | 12 | 0 | 0.088936 | 999.99 | 999.99 | 999.99 | 0.7889 | 0.83843 | 999.99 | 12 | 0.7889 | 0.79
21 | Sep | 999.99 | 999.99 | 0.14649 | 0.092077 | 0.087013 | 999.99 | 8 | 0 | 0.14996 | 999.99 | 999.99 | 0.76523 | 0.83949 | 0.87847 | 999.99 | 8 | 0.76523 | 0.77
22 | Sep | 999.99 | 999.99 | 0.15681 | 0.1066 | 0.096003 | 999.99 | 8 | 0 | 0.16357 | 999.99 | 999.99 | 0.80622 | 0.87011 | 0.89855 | 999.99 | 8 | 0.80622 | 0.81
23 | Sep | 999.99 | 999.99 | 0.13846 | 0.10892 | 0.11155 | 999.99 | 8 | 0 | 0.14294 | 999.99 | 999.99 | 0.83549 | 0.90167 | 0.91675 | 999.99 | 8 | 0.83549 | 0.84
24 | Sep | 999.99 | 999.99 | 0.13031 | 0.12908 | 999.99 | 999.99 | 8 | 0 | 0.13444 | 999.99 | 999.99 | 0.8694 | 0.88189 | 999.99 | 999.99 | 8 | 0.8694 | 0.87
25 | Sep | 999.99 | 999.99 | 0.17324 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.1734 | 999.99 | 999.99 | 0.82971 | 999.99 | 999.99 | 999.99 | 8 | 0.82971 | 0.83
26 | Sep | 999.99 | 999.99 | 0.17324 | 999.99 | 0.15114 | 999.99 | 8 | 0 | 0.1734 | 999.99 | 999.99 | 0.82971 | 999.99 | 0.85203 | 999.99 | 8 | 0.82971
27 | Sep | 999.99 | 999.99 | 0.17815 | 0.16541 | 0.17032 | 999.99 | 8 | 0 | 0.17868 | 999.99 | 999.99 | 0.80363 | 0.84903 | 0.87429 | 999.99 | 8 | 0.80363 | 0.8
28 | Sep | 999.99 | 999.99 | 0.22102 | 0.18471 | 0.18928 | 999.99 | 8 | 0 | 0.22112 | 999.99 | 999.99 | 0.80486 | 0.8591 | 0.88919 | 999.99 | 8 | 0.80486 | 0.8
29 | Sep | 999.99 | 999.99 | 0.21702 | 0.2062 | 0.21197 | 999.99 | 8 | 0 | 0.22106 | 999.99 | 999.99 | 0.8429 | 0.88165 | 0.90444 | 999.99 | 8 | 0.8429 | 0.84
30 | Sep | 999.99 | 999.99 | 0.23402 | 999.99 | 0.23504 | 999.99 | 16 | 0 | 0.23935 | 999.99 | 999.99 | 0.84567 | 999.99 | 0.85127 | 999.99 | 8 | 0.84567 | 0.85