## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Nov_25
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
2 | OFF | OFF | OFF | 0.02 | 0.03 | OFF | 0.03
3 | OFF | OFF | 0.02 | 0.04 | 0.04 | OFF | 0.04
4 | OFF | OFF | 0.03 | 0.02 | 0.039177 | OFF | 0.03
5 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
6 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
7 | OFF | OFF | 0.02 | 0.03 | OFF | OFF | 0.03
8 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
9 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
10 | OFF | OFF | 0.02 | OFF | OFF | 0.02 | 0.02
11 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.021
12 | OFF | OFF | OFF | 0.02 | OFF | OFF | 0.02
13 | OFF | 0.02 | 0.02 | 0.02 | OFF | OFF | 0.02
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
16 | OFF | OFF | 0.02 | 0.02 | 0.04006 | OFF | 0.02
17 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
18 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
19 | OFF | OFF | 0.02 | 0.03 | OFF | OFF | 0.03
20 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
22 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
24 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
25 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
26 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
27 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
29 | OFF | OFF | 0.02 | 0.03 | 0.02 | OFF | 0.03
30 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:12/01/2025
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Nov_25 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 12:00 | 0.89 | 111 | 98.79 | 12.3 | 7.59 | 20.138 | YES | 841
2 / 12:00 | 0.89 | 111 | 98.79 | 12.1 | 7.59 | 20.403 | YES | 842
3 / 8:00 | 0.88 | 111 | 97.68 | 12.1 | 7.57 | 20.2387 | YES | 877
4 / 8:00 | 0.88 | 111 | 97.68 | 12.1 | 7.59 | 20.3802 | YES | 870
5 / 8:00 | 0.89 | 111 | 98.79 | 12.1 | 7.67 | 20.981 | YES | 880
6 / 12:00 | 0.89 | 111 | 98.79 | 12.4 | 7.67 | 20.5724 | YES | 880
7 / 08:00 | 0.88 | 111 | 97.68 | 13.3 | 7.6 | 18.7889 | YES | 880
8 / 12:00 | 0.87 | 111 | 96.57 | 12.3 | 7.62 | 20.304 | YES | 832
9 / 8:00 | 0.87 | 111 | 96.57 | 12.3 | 7.63 | 20.3749 | YES | 834
10 / 20:00 | 0.87 | 111 | 96.57 | 12.3 | 7.69 | 20.806 | YES | 836
11 / 8:00 | 0.86 | 111 | 95.46 | 12.2 | 7.68 | 20.8464 | YES | 838
12 / 12:00 | 0.87 | 111 | 96.57 | 12.2 | 7.68 | 20.8698 | YES | 837
13 / 04:00 | 0.86 | 111 | 95.46 | 12.2 | 7.78 | 21.5893 | YES | 838
14 / 08:00 | 0.83 | 111 | 92.13 | 12.2 | 7.69 | 20.849 | YES | 846
15 / 12:00 | 0.82 | 111 | 91.02 | 12.2 | 7.68 | 20.753 | YES | 875
16 / 8:00 | 0.81 | 111 | 89.91 | 12.2 | 7.63 | 20.3713 | YES | 882
17 / 12:00 | 0.81 | 111 | 89.91 | 12.2 | 7.65 | 20.5138 | YES | 876
18 / 8:00 | 0.79 | 111 | 87.69 | 12.1 | 7.59 | 20.1759 | YES | 877
19 / 8:00 | 0.78 | 111 | 86.58 | 11.9 | 7.58 | 20.3475 | YES | 833
20 / 8:00 | 0.79 | 111 | 87.69 | 11.8 | 7.6 | 20.6477 | YES | 835
21 / 12:00 | 0.83 | 111 | 92.13 | 11.5 | 7.48 | 20.2848 | YES | 842
22 / 12:00 | 0.84 | 111 | 93.24 | 11.2 | 7.51 | 20.9284 | YES | 841
23 / 8:00 | 0.82 | 111 | 91.02 | 11.1 | 7.57 | 21.4653 | YES | 838
24 / 8:00 | 0.85 | 111 | 94.35 | 10.8 | 7.65 | 22.5953 | YES | 833
25 / 8:00 | 0.84 | 111 | 93.24 | 10.8 | 7.71 | 23.0527 | YES | 883
26 / 8:00 | 0.84 | 111 | 93.24 | 10.6 | 7.63 | 22.7097 | YES | 879
27 / 12:00 | 0.84 | 111 | 93.24 | 10.7 | 7.58 | 22.1662 | YES | 877
28 / 12:00 | 0.81 | 111 | 89.91 | 10.7 | 7.58 | 22.0911 | YES | 877
29 / 8:00 | 0.79 | 111 | 87.69 | 10.7 | 7.49 | 21.3559 | YES | 890
30 / 8:00 | 0.78 | 111 | 86.58 | 10.8 | 7.46 | 20.9708 | YES | 835
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Nov | 999.99 | 999.99 | 999.99 | 0.12329 | 0.11653 | 999.99 | 12 | 0 | 0.12539 | 999.99 | 999.99 | 999.99 | 0.8803 | 0.92099 | 999.99 | 12 | 0.8803 | 0.88
2 | Nov | 999.99 | 999.99 | 999.99 | 0.13514 | 0.12607 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.87794 | 0.90833 | 999.99 | 12 | 0.89 | 0.89
3 | Nov | 999.99 | 999.99 | 0.16777 | 0.13758 | 0.13092 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.87865 | 0.90527 | 0.94213 | 999.99 | 8 | 0.88 | 0.88
4 | Nov | 999.99 | 999.99 | 0.14924 | 0.03739 | 0.039177 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.88189 | 0.94431 | 0.95827 | 999.99 | 8 | 0.882 | 0.88
5 | Nov | 999.99 | 999.99 | 999.99 | 0.0612 | 0.041669 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.90968 | 0.92764 | 999.99 | 8 | 0.89 | 0.89
6 | Nov | 999.99 | 999.99 | 999.99 | 0.061848 | 0.047146 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.88077 | 0.91121 | 999.99 | 0 | 999.99 | 999.99
7 | Nov | 999.99 | 999.99 | 999.99 | 0.054016 | 0.042788 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.88236 | 0.90992 | 999.99 | 0 | 999.99 | 999.99
8 | Nov | 999.99 | 999.99 | 999.99 | 0.066912 | 0.040413 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.86399 | 0.90167 | 999.99 | 0 | 999.99 | 999.99
9 | Nov | 999.99 | 999.99 | 999.99 | 0.044869 | 0.039981 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.90109 | 0.91257 | 999.99 | 8 | 0.87 | 0.87
10 | Nov | 999.99 | 999.99 | 0.084755 | 999.99 | 999.99 | 0.065538 | 0 | 0 | 0 | 999.99 | 999.99 | 0.87023 | 999.99 | 999.99 | 0.87629 | 20 | 0.87 | 0.87
11 | Nov | 999.99 | 999.99 | 999.99 | 0.039883 | 0.035957 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.88948 | 0.9111 | 999.99 | 8 | 0.86 | 0.86
12 | Nov | 999.99 | 999.99 | 999.99 | 0.070151 | 999.99 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.86599 | 999.99 | 999.99 | 12 | 0.866 | 0.87
13 | Nov | 999.99 | 999.99 | 0.045949 | 0.043416 | 999.99 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.8684 | 0.8919 | 999.99 | 999.99 | 0 | 999.99 | 999.99
14 | Nov | 999.99 | 999.99 | 0.076943 | 0.043201 | 0.044653 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.83955 | 0.85021 | 0.85521 | 999.99 | 0 | 999.99 | 999.99
15 | Nov | 999.99 | 999.99 | 999.99 | 0.051504 | 0.042141 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.822 | 0.82818 | 999.99 | 0 | 999.99 | 999.99
16 | Nov | 999.99 | 999.99 | 0.074587 | 0.042513 | 0.04006 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.80563 | 0.83513 | 0.85091 | 999.99 | 8 | 0.81 | 0.81
17 | Nov | 999.99 | 999.99 | 999.99 | 0.080143 | 0.044045 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 999.99 | 0.8101 | 0.83519 | 999.99 | 12 | 0.81 | 0.81
18 | Nov | 999.99 | 999.99 | 0.089584 | 0.051052 | 0.040806 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.78484 | 0.8074 | 0.83213 | 999.99 | 8 | 0.79 | 0.79
19 | Nov | 999.99 | 999.99 | 0.079279 | 0.050404 | 999.99 | 999.99 | 0 | 0 | 0 | 999.99 | 999.99 | 0.77842 | 0.8074 | 999.99 | 999.99 | 8 | 0.78 | 0.78
20 | Nov | 999.99 | 999.99 | 0.063418 | 0.044476 | 0.045046 | 999.99 | 8 | 0 | 0.067914 | 999.99 | 999.99 | 0.79638 | 0.83507 | 0.84514 | 999.99 | 8 | 0.78832 | 0.79
21 | Nov | 999.99 | 999.99 | 999.99 | 0.053859 | 0.042945 | 999.99 | 12 | 0 | 0.053859 | 999.99 | 999.99 | 999.99 | 0.83195 | 0.85474 | 999.99 | 12 | 0.83195 | 0.83
22 | Nov | 999.99 | 999.99 | 999.99 | 0.049953 | 0.043063 | 999.99 | 12 | 0 | 0.050718 | 999.99 | 999.99 | 999.99 | 0.83984 | 0.85816 | 999.99 | 12 | 0.83984 | 0.84
23 | Nov | 999.99 | 999.99 | 0.073096 | 0.052151 | 0.043259 | 999.99 | 8 | 0 | 0.075078 | 999.99 | 999.99 | 0.82 | 0.85339 | 0.88672 | 999.99 | 8 | 0.82 | 0.82
24 | Nov | 999.99 | 999.99 | 0.081065 | 0.049757 | 999.99 | 999.99 | 8 | 0 | 0.081163 | 999.99 | 999.99 | 0.85539 | 0.87376 | 999.99 | 999.99 | 8 | 0.85 | 0.85
25 | Nov | 999.99 | 999.99 | 0.083499 | 0.049305 | 0.047048 | 999.99 | 8 | 0 | 0.090134 | 999.99 | 999.99 | 0.84614 | 0.87553 | 0.87812 | 999.99 | 8 | 0.84614 | 0.85
26 | Nov | 999.99 | 999.99 | 0.066795 | 999.99 | 0.052995 | 999.99 | 8 | 0 | 0.066795 | 999.99 | 999.99 | 0.84879 | 999.99 | 0.85498 | 999.99 | 8 | 0.84879 | 0.85
27 | Nov | 999.99 | 999.99 | 999.99 | 0.060612 | 0.047283 | 999.99 | 12 | 0 | 0.0623 | 999.99 | 999.99 | 999.99 | 0.84049 | 0.85945 | 999.99 | 12 | 0.84049 | 0.84
28 | Nov | 999.99 | 999.99 | 999.99 | 0.070073 | 0.052976 | 999.99 | 12 | 0 | 0.071722 | 999.99 | 999.99 | 999.99 | 0.80775 | 0.81823 | 999.99 | 12 | 0.80775 | 0.81
29 | Nov | 999.99 | 999.99 | 0.080437 | 0.052289 | 0.050287 | 999.99 | 8 | 0 | 0.081713 | 999.99 | 999.99 | 0.78419 | 0.7922 | 0.80704 | 999.99 | 8 | 0.78419 | 0.78
30 | Nov | 999.99 | 999.99 | 0.072036 | 0.055842 | 0.054546 | 999.99 | 8 | 0 | 0.075373 | 999.99 | 999.99 | 0.77689 | 0.80781 | 0.82618 | 999.99 | 8 | 0.77689 | 0.78
Note on K1: Turbidity reading of the 4-hour interval having the HIGHEST recorded turbidity value.
Note on R1: HOUR of the 4-hour interval having the LOWEST recorded CL2 value.
Note on S1: CL2 reading of the 4-hour interval having the LOWEST recorded CL2 value.