## Report
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Lincoln
Conventional or Direct Filtration | [6 empty] | Month/Year: | Feb_26
System Name: | Toledo Water Utilities |  |  | ID#: 41 00899 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
2 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
3 | 0.048579 | OFF | 0.02 | 0.02 | OFF | 0.042749 | 0.03
4 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
5 | 0.02 | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
6 | OFF | OFF | 0.02 | 0.02 | 0.06 | OFF | 0.06
7 | OFF | OFF | OFF | 0.034407 | OFF | OFF | 0.034878
8 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
9 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
10 | OFF | OFF | 0.02 | OFF | 0.039765 | 0.02 | 0.042258
11 | OFF | OFF | 0.02 | OFF | 0.02 | 0.02 | 0.02
12 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
13 | OFF | OFF | 0.02 | 0.02 | 0.04 | 0.02 | 0.04
14 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
15 | OFF | OFF | OFF | 0.02 | OFF | OFF | 0.02
16 | OFF | OFF | 0.02 | OFF | OFF | OFF | 0.02
17 | 0.02 | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
18 | OFF | OFF | 0.02 | OFF | 0.02 | OFF | 0.02
19 | OFF | OFF | 0.02 | 0.02 | OFF | OFF | 0.02
20 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
21 | OFF | OFF | OFF | 0.02 | OFF | OFF | 0.02
22 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
23 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
24 | OFF | OFF | 0.02 | 0.02 | 0.02 | OFF | 0.02
25 | OFF | OFF | 0.03 | OFF | OFF | 0.03 | 0.03
26 | OFF | OFF | 0.03 | 0.02 | OFF | OFF | 0.03
27 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
28 | OFF | OFF | OFF | 0.02 | 0.02 | OFF | 0.02
29
30
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes | Yes |  | Yes
All turbidity readings < IFE2 triggers |  |  |  | Yes
Notes: |  |  |  |  | PRINTED NAME:Zachary J Dues
[5 empty] | SIGNATURE:Zachary J Dues |  |  | DATE:03/02/2026
[5 empty] | PHONE #: (541)336-2610 |  |  | CERT #:269781
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | Toledo Water Utilities |  | ID#: 41 00899 |  | Month/Year: | Feb_26 | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 / 8:00 | 0.8 | 111 | 88.8 | 9.1 | 7.5 | 23.8506 | YES | 886
2 / 8:00 | 0.82 | 111 | 91.02 | 9.2 | 7.65 | 25.0461 | YES | 875
3 / 8:00 | 0.84 | 111 | 93.24 | 9.6 | 8 | 27.6979 | YES | 870
4 / 8:00 | 0.83 | 111 | 92.13 | 9.6 | 7.92 | 26.8832 | YES | 949
5 / 16:00 | 0.76 | 111 | 84.36 | 9.5 | 7.8 | 25.7195 | YES | 1030
6 / 8:00 | 0.76 | 111 | 84.36 | 9.5 | 7.69 | 24.7309 | YES | 1006
7 / 12:00 | 0.76 | 111 | 84.36 | 9.6 | 7.76 | 25.1861 | YES | 952
8 / 8:00 | 0.76 | 111 | 84.36 | 9.3 | 7.73 | 25.4233 | YES | 849
9 / 8:00 | 0.81 | 111 | 89.91 | 9.3 | 7.9 | 27.1726 | YES | 838
10 / 8:00 | 0.82 | 111 | 91.02 | 9.4 | 7.83 | 26.3525 | YES | 842
11 / 16:00 | 0.86 | 111 | 95.46 | 9.4 | 7.8 | 26.1915 | YES | 831
12 / 8:00 | 0.85 | 111 | 94.35 | 9.4 | 7.69 | 25.1543 | YES | 834
13 / 8:00 | 0.84 | 111 | 93.24 | 9.3 | 7.64 | 24.8477 | YES | 883
14 / 8:00 | 0.83 | 111 | 92.13 | 9.1 | 7.59 | 24.7095 | YES | 875
15 / 12:00 | 0.83 | 111 | 92.13 | 9.1 | 7.69 | 25.6056 | YES | 878
16 / 8:00 | 0.81 | 111 | 89.91 | 9.2 | 7.75 | 25.9257 | YES | 885
17 / 16:00 | 0.77 | 111 | 85.47 | 9.1 | 7.76 | 26.0735 | YES | 881
18 / 8:00 | 0.76 | 111 | 84.36 | 9 | 7.76 | 26.2189 | YES | 841
19 / 8:00 | 0.75 | 111 | 83.25 | 8.8 | 7.61 | 25.1585 | YES | 840
20 / 8:00 | 0.74 | 111 | 82.14 | 8.7 | 7.61 | 25.2983 | YES | 838
21 / 12:00 | 0.76 | 111 | 84.36 | 8.6 | 7.63 | 25.7094 | YES | 836
22 / 8:00 | 0.74 | 111 | 82.14 | 8.6 | 7.54 | 24.8409 | YES | 839
23 / 16:00 | 0.74 | 111 | 82.14 | 8.8 | 7.71 | 26.0424 | YES | 798
24 / 16:00 | 0.73 | 111 | 81.03 | 8.7 | 7.7 | 26.0942 | YES | 786
25 / 8:00 | 0.74 | 111 | 82.14 | 8.7 | 7.39 | 23.3971 | YES | 808
26 / 8:00 | 0.78 | 111 | 86.58 | 8.8 | 7.28 | 22.459 | YES | 827
27 / 12:00 | 0.81 | 111 | 89.91 | 8.5 | 7.02 | 20.98 | YES | 826
28 / 12:00 | 0.79 | 111 | 87.69 | 8.6 | 6.98 | 20.5077 | YES | 825
29 |  | 111 |  |  |  |  | NO
30 |  | 111 |  |  |  |  | NO
31 |  | 111 |  |  |  |  | NO
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised September 2016
Return by 10th of following month by email, fax, or mail to: dwp.dmce@state.or.us; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2

## DATA_1
DAY | MONTH | TURB 12 AM [NTU] | TURB 4 AM [NTU] | TURB 8 AM [NTU] | TURB NOON [NTU] | TURB 4 PM [NTU] | TURB 8 PM [NTU] | TURB HIGHEST DAILY [HOUR] | TURB HIGHEST DAILY [MIN] | TURB HIGHEST DAILY [NTU] | CHLOR 12 AM [ppm] | CHLOR 4 AM [ppm] | CHLOR 8 AM [ppm] | CHLOR NOON [ppm] | CHLOR 4 PM [ppm] | CHLOR 8 PM [ppm] | CHLOR LOWEST DAILY [HOUR] | CHLOR LOWEST DAILY [ppm] | CHLOR LOWEST DAILY (Rounded)
1 | Feb | 999.99 | 999.99 | 0.049521 | 999.99 | 0.029185 | 0.028498 | 8 | 0 | 0.0496 | 999.99 | 999.99 | 0.79697 | 999.99 | 0.81835 | 0.83425 | 8 | 0.79697 | 0.8
2 | Feb | 999.99 | 999.99 | 0.04587 | 0.033739 | 999.99 | 999.99 | 8 | 0 | 0.045929 | 999.99 | 999.99 | 0.8091 | 0.82801 | 999.99 | 999.99 | 8 | 0.8091 | 0.81
3 | Feb | 0.048579 | 999.99 | 0.031678 | 0.033994 | 999.99 | 0.042749 | 20 | 0 | 0.042749 | 0.82966 | 999.99 | 0.83925 | 0.83831 | 999.99 | 0.83866 | 8 | 0.83831 | 0.84
4 | Feb | 999.99 | 999.99 | 0.039549 | 999.99 | 0.10731 | 0.039118 | 16 | 0 | 0.10908 | 999.99 | 999.99 | 0.83107 | 999.99 | 0.83342 | 0.85604 | 8 | 0.83107 | 0.83
5 | Feb | 0.051405 | 999.99 | 0.053898 | 0.057667 | 0.041336 | 999.99 | 12 | 0 | 0.06067 | 0.82648 | 999.99 | 0.78843 | 0.77842 | 0.76111 | 999.99 | 16 | 0.76111 | 0.76
6 | Feb | 999.99 | 999.99 | 0.037979 | 0.031698 | 0.032679 | 999.99 | 8 | 0 | 0.042985 | 999.99 | 999.99 | 0.75528 | 0.76641 | 0.76541 | 999.99 | 8 | 0.75528 | 0.76
7 | Feb | 999.99 | 999.99 | 999.99 | 0.034407 | 999.99 | 999.99 | 12 | 0 | 0.034878 | 999.99 | 999.99 | 999.99 | 0.75693 | 999.99 | 999.99 | 12 | 0.75693 | 0.76
8 | Feb | 999.99 | 999.99 | 0.063242 | 0.030049 | 999.99 | 999.99 | 8 | 0 | 0.065499 | 999.99 | 999.99 | 0.76064 | 0.79197 | 999.99 | 999.99 | 8 | 0.76064 | 0.76
9 | Feb | 999.99 | 999.99 | 0.051602 | 0.03317 | 999.99 | 999.99 | 8 | 0 | 0.053329 | 999.99 | 999.99 | 0.80722 | 0.84202 | 999.99 | 999.99 | 8 | 0.80722 | 0.81
10 | Feb | 999.99 | 999.99 | 0.038431 | 999.99 | 0.039765 | 0.034721 | 16 | 0 | 0.042258 | 999.99 | 999.99 | 0.83018 | 999.99 | 0.87082 | 0.89325 | 8 | 0.83018 | 0.83
11 | Feb | 999.99 | 999.99 | 0.045144 | 999.99 | 0.042219 | 0.029107 | 8 | 0 | 0.045144 | 999.99 | 999.99 | 0.8538 | 999.99 | 0.84944 | 0.85727 | 16 | 0.84944 | 0.85
12 | Feb | 999.99 | 999.99 | 0.030127 | 0.025338 | 0.02838 | 999.99 | 8 | 0 | 0.030206 | 999.99 | 999.99 | 0.85362 | 0.86469 | 0.86228 | 999.99 | 8 | 0.85362 | 0.85
13 | Feb | 999.99 | 999.99 | 0.032876 | 0.026732 | 0.030657 | 0.034308 | 8 | 0 | 0.034858 | 999.99 | 999.99 | 0.84732 | 0.84803 | 0.84514 | 0.8558 | 16 | 0.84514 | 0.85
14 | Feb | 999.99 | 999.99 | 0.039118 | 0.030226 | 0.0284 | 999.99 | 8 | 0 | 0.042671 | 999.99 | 999.99 | 0.83537 | 0.83743 | 0.85598 | 999.99 | 8 | 0.83537 | 0.84
15 | Feb | 999.99 | 999.99 | 999.99 | 0.033936 | 999.99 | 999.99 | 12 | 0 | 0.037626 | 999.99 | 999.99 | 999.99 | 0.83389 | 999.99 | 999.99 | 12 | 0.83389 | 0.83
16 | Feb | 999.99 | 999.99 | 0.055586 | 999.99 | 999.99 | 999.99 | 8 | 0 | 0.057392 | 999.99 | 999.99 | 0.81158 | 999.99 | 999.99 | 999.99 | 8 | 0.81158 | 0.81
17 | Feb | 0.048854 | 999.99 | 0.038274 | 999.99 | 0.03796 | 999.99 | 0 | 0 | 0.051307 | 0.80634 | 999.99 | 0.79526 | 999.99 | 0.78366 | 999.99 | 16 | 0.78366 | 0.78
18 | Feb | 999.99 | 999.99 | 0.057962 | 999.99 | 0.046616 | 999.99 | 8 | 0 | 0.059532 | 999.99 | 999.99 | 0.75345 | 999.99 | 0.76588 | 999.99 | 8 | 0.75345 | 0.75
19 | Feb | 999.99 | 999.99 | 0.045909 | 0.04112 | 999.99 | 999.99 | 8 | 0 | 0.049855 | 999.99 | 999.99 | 0.75157 | 0.76494 | 999.99 | 999.99 | 8 | 0.75157 | 0.75
20 | Feb | 999.99 | 999.99 | 0.069032 | 0.047224 | 0.04163 | 999.99 | 8 | 0 | 0.070603 | 999.99 | 999.99 | 0.72866 | 0.75116 | 0.7657 | 999.99 | 8 | 0.72866 | 0.73
21 | Feb | 999.99 | 999.99 | 999.99 | 0.044633 | 999.99 | 999.99 | 12 | 0 | 0.047911 | 999.99 | 999.99 | 999.99 | 0.75569 | 999.99 | 999.99 | 12 | 0.75569 | 0.76
22 | Feb | 999.99 | 999.99 | 0.07708 | 0.046243 | 0.053663 | 999.99 | 8 | 0 | 0.0771 | 999.99 | 999.99 | 0.73691 | 0.74974 | 0.76294 | 999.99 | 8 | 0.73691 | 0.74
23 | Feb | 999.99 | 999.99 | 0.070642 | 0.057569 | 0.060769 | 999.99 | 8 | 0 | 0.070858 | 999.99 | 999.99 | 0.73809 | 0.73756 | 0.73502 | 999.99 | 16 | 0.73502 | 0.74
24 | Feb | 999.99 | 999.99 | 0.058609 | 0.046832 | 0.047597 | 999.99 | 8 | 0 | 0.06071 | 999.99 | 999.99 | 0.75275 | 0.73184 | 0.73791 | 999.99 | 16 | 0.73184 | 0.73
25 | Feb | 999.99 | 999.99 | 0.053467 | 999.99 | 999.99 | 0.054154 | 20 | 0 | 0.057922 | 999.99 | 999.99 | 0.73125 | 999.99 | 999.99 | 0.77672 | 8 | 0.73125 | 0.73
26 | Feb | 999.99 | 999.99 | 0.060474 | 0.057706 | 999.99 | 999.99 | 12 | 0 | 0.061554 | 999.99 | 999.99 | 0.78478 | 0.82141 | 999.99 | 999.99 | 8 | 0.78478 | 0.78
27 | Feb | 999.99 | 999.99 | 999.99 | 0.060788 | 0.059022 | 999.99 | 12 | 0 | 0.064164 | 999.99 | 999.99 | 999.99 | 0.80598 | 0.8101 | 999.99 | 12 | 0.80598 | 0.81
28 | Feb | 999.99 | 999.99 | 999.99 | 0.069386 | 0.066324 | 999.99 | 12 | 0 | 0.07339 | 999.99 | 999.99 | 999.99 | 0.79185 | 0.79102 | 999.99 | 16 | 0.79102 | 0.79
Note on K1: Turbidity reading of the 4-hour interval having the HIGHEST recorded turbidity value.
Note on R1: HOUR of the 4-hour interval having the LOWEST recorded CL2 value.
Note on S1: CL2 reading of the 4-hour interval having the LOWEST recorded CL2 value.