## Turbidity and CTs
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Douglas
Conventional or Direct Filtration | [6 empty] | Month/Year: | 2025-06-01
System Name: | City of Yoncalla |  |  | ID#: 41 00958 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM [NTU] | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | NIS | NIS | 0.059 | 0.08 | 0.07 | 0.07 | 0.08
2 | 0.06 | 0.06 | 0.06 | 0.069 | 0.07 | NIS | 0.06
3 | NIS | 0.06 | 0.063 | 0.06 | 0.074 | 0.07 | 0.07
4 | 0.08 | NIS | 0.061 | 0.065 | 0.086 | 0.09 | 0.09
5 | NIS | NIS | 0.061 | 0.065 | 0.065 | 0.065 | 0.07
6 | 0.08 | NIS | 0.07 | 0.08 | 0.04 | 0.05 | 0.08
7 | NIS | NIS | 0.04 | 0.037 | 0.042 | 0.05 | 0.05
8 | 0.05 | NIS | 0.036 | 0.05 | 0.05 | 0.06 | 0.05
9 | 0.05 | NIS | 0.039 | 0.042 | 0.075 | 0.05 | 0.08
10 | 0.05 | NIS | 0.04 | 0.044 | 0.088 | 0.06 | 0.09
11 | 0.05 | 0.04 | 0.04 | 0.072 | 0.04 | 0.05 | 0.07
12 | 0.05 | NIS | 0.05 | 0.048 | 0.05 | NIS | 0.05
13 | NIS | 0.05 | 0.045 | 0.046 | 0.04 | 0.05 | 0.05
14 | 0.05 | 0.05 | NIS | NIS | NIS | NIS | 0.05
15 | 0.06 | 0.04 | 0.04 | 0.05 | NIS | NIS | 0.06
16 | 0.05 | 0.04 | 0.04 | 0.044 | 0.05 | 0.06 | 0.06
17 | 0.05 | 0.05 | 0.05 | 0.04 | 0.05 | 0.05 | 0.05
18 | 0.05 | 0.05 | 0.04 | NIS | NIS | NIS | 0.05
19 | NIS | 0.04 | 0.04 | 0.05 | 0.045 | 0.05 | 0.05
20 | 0.05 | NIS | 0.034 | 0.045 | NIS | NIS | 0.05
21 | NIS | NIS | 0.038 | 0.04 | 0.04 | 0.04 | 0.04
22 | 0.04 | NIS | NIS | 0.06 | 0.04 | 0.04 | 0.06
23 | 0.04 | NIS | 0.04 | 0.04 | NIS | NIS | 0.04
24 | NIS | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
25 | 0.04 | 0.04 | NIS | NIS | NIS | NIS | 0.04
26 | NIS | 0.04 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05
27 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | NIS | 0.04
28 | NIS | NIS | NIS | 0.04 | 0.04 | 0.05 | 0.05
29 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05
30 | 0.05 | NIS | 0.04 | NIS | 0.09 | 0.05 | 0.09
31
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes / No | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes / No | Yes / No |  | Yes / No
All turbidity readings < IFE2 triggers |  |  |  | Yes / No
Notes: |  |  |  |  | PRINTED NAME: Anthony D. Rogers
[5 empty] | SIGNATURE: |  |  | 2025-07-02
[5 empty] | PHONE #: ( 541 ) 419-7958 |  |  | CERT #:6714
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | City of Yoncalla |  | ID#: 41 00958 |  | Month/Year: | 2025-06-01 | Disinfection Giardia Log Inactive: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | 1.14 | 63 | 71.82 | 21.2 | 8.5 | 15.9548 | YES | 300
2 | 1.12 | 63 | 70.56 | 20.9 | 8.4 | 15.6497 | YES | 300
3 | 1.1 | 63 | 69.3 | 20.8 | 8.4 | 15.7186 | YES | 300
4 | 0.95 | 63 | 59.85 | 21.6 | 8.8 | 16.9876 | YES | 300
5 | 1.1 | 63 | 69.3 | 21.2 | 8.9 | 18.4129 | YES | 300
6 | 1.13 | 63 | 71.19 | 21.6 | 8.9 | 17.9911 | YES | 300
7 | 1.1 | 63 | 69.3 | 22 | 8.9 | 17.4592 | YES | 300
8 | 0.99 | 63 | 62.37 | 23.1 | 8.9 | 16.0245 | YES | 300
9 | 0.99 | 63 | 62.37 | 23.8 | 8.9 | 15.2935 | YES | 300
10 | 1.06 | 63 | 66.78 | 23.8 | 8.8 | 14.8549 | YES | 300
11 | 1.04 | 63 | 65.52 | 23.9 | 8.8 | 14.7224 | YES | 300
12 | 0.92 | 63 | 57.96 | 23.6 | 9 | 15.9561 | YES | 300
13 | 0.88 | 63 | 55.44 | 22.4 | 9.1 | 17.8527 | YES | 300
14 | 1.12 | 63 | 70.56 | 21.6 | 8.6 | 16.0842 | YES | 300
15 | 0.74 | 63 | 46.62 | 22.3 | 9 | 17.0467 | YES | 300
16 | 1.11 | 63 | 69.93 | 22.2 | 8.9 | 17.2481 | YES | 300
17 | 1.05 | 63 | 66.15 | 22.6 | 8.9 | 16.6807 | YES | 300
18 | 0.96 | 63 | 60.48 | 22.5 | 9.1 | 17.8962 | YES | 300
19 | 0.85 | 63 | 53.55 | 22.9 | 9.1 | 17.21 | YES | 300
20 | 0.97 | 63 | 61.11 | 21.9 | 9 | 17.9697 | YES | 300
21 | 1.05 | 63 | 66.15 | 21.4 | 9 | 18.7462 | YES | 300
22 | 0.84 | 63 | 52.92 | 20.9 | 8.9 | 18.2376 | YES | 300
23 | 1.15 | 63 | 72.45 | 21.2 | 8.7 | 17.1994 | YES | 300
24 | 1.07 | 63 | 67.41 | 22.2 | 8.9 | 17.1698 | YES | 300
25 | 1.18 | 63 | 74.34 | 21.9 | 9 | 18.4031 | YES | 300
26 | 0.94 | 63 | 59.22 | 22 | 9 | 17.79 | YES | 300
27 | 1.14 | 63 | 71.82 | 22.2 | 9 | 17.9582 | YES | 300
28 | 1.05 | 63 | 66.15 | 23.5 | 9 | 16.3022 | YES | 300
29 | 1.11 | 63 | 69.93 | 23.8 | 8.7 | 14.3957 | YES | 300
30 | 1.08 | 63 | 68.04 | 23.5 | 9 | 16.3579 | YES | 300
31
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised November 2022
Return by 10th of following month by email, fax, or mail to: dwp.dmce@oha.oregon.gov; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2